Supplementary Methods S2

Details about implementation of sFlt-1/PlGF test for the serum samples.

After blood draw, serum samples had been immediately separated in the service laboratory (United Laboratories, Tartu University Hospital) using routine procedures according to manufacturer’s instructions (centrifugation at 1,800 g for 10 min at room temperature). Serum samples were kept at -80°C before further aliquoting and subsequent analysis and stored at -80°C with no thawing for maximum 1.5 years. For retrospective measuring of the sFlt-1 and PlGF levels, the serum samples were thawed, aliquoted to smaller subsamples and frozen at -80°C. The aliquots were sent on dry ice to the Synlab Germany service laboratory (Leinfelden, Germany) within one week after preparation. Freeze-thaw stability of serum sFlt-1 and PlGF concentrations has been previously reported.1,2

Concentrations of serum sFlt-1 and PlGF were analyzed using the BRAHMS sFlt-1 Kryptor/BRAHMS PlGF plus Kryptor PE ratio test developed by Thermo Fisher Scientific. The test combines measurement outcomes of two separate immunofluorescent automated sandwich assays implemented on KRYPTOR compact PLUS platform (#BM0106172) and using B·R·A·H·M·S reagents for sFlt-1 (#845.075) and PlGF plus (#859.075) assays. All serum samples were delivered to the external service provider simultaneously. No information regarding the pregnancy course and outcome was disclosed.

Reportable measurement values of both biomarkers were derived from the service provider for 247/252 (98%) serum samples (failure rate 2%; S2 Table). The final analyzed set of 247 sera represented 42 samples (17%) from women who were eventually diagnosed with PE, 29 samples (12%) representing a later diagnosis of GH or proteinuria and 176 samples (71%) from normotensive and non-proteinuric pregnant women thorought the index pregnancy.

Prediction of the PE development was based on the estimated sFlt-1/PlGF ratio. As no validated cut-offs are published specially for Kryptor, Elecsys® assay validated cut-offs were used as recommended by Stepan et al (2015).3 Serum samples were classified as ‘Rule-out PE at least within 1 week’ when the calculated sFlt-1/PlGF ratio was < 38. ‘Rule-in PE’ decision alerting to the disease was applied for the samples exhibiting sFlt-1/PlGF ratio >85 when drawn before 34 gestational weeks; and > 110 when drawn from 34 gestational weeks onwards. Values of the sFlt-1/PlGF within these thresholds (38-85/110) were considered as inconclusive (Stepan, 2015).3

References to Supplementary Materials

1. Cowans NJ, Alfthan H, Stenman UH, Spencer K. Stability of first trimester placental growth factor in serum and whole blood. Prenat Diagn 2011; 31: 1193-1197

# 2. Wa Law L, Sahota DS, Wai Chan L, Chen M, Kin Lau T, Leung TY. Effect of long-term storage on placental growth factor and fms-like tyrosine kinase 1 measurements in samples from pregnant women. J Matern Fetal Neonatal Med 2010; 23: 1475-80

3. Stepan H, Herraiz I, Schlembach D, Verlohren S, Brennecke S, Chantraine F, Klein E, Lapaire O, Llurba E, Ramoni A, Vatish M, Wertaschnigg D, Galindo A. Implementation of the sFlt-1/PlGF ratio for prediction and diagnosis of pre-eclampsia in singleton pregnancy: implications for clinical practice. Ultrasound Obstet Gynecol 2015; 45: 241–246