Additional File Text 1. Determination of the consumption of carbon sources.

It was carried out by evaluating the carbohydrate content (maltose and glucose) using the phenol-sulfuric spectrophotometric method (Jasso-Chávez et al., 2010). The content of methanol, glycerol, glyceryl triacetate, sodium pyruvate and sodium acetate, in the cell-free culture medium, acidifying to pH0, was evaluated by injecting 2 µL of the sample in a Shimadzu brand gas chromatograph, using the column DB-1701 (30m, 0.250mm, 0.25µm. Agilent-Crawford) using He2 as carrier gas at a flow of 4 mL ∙ min-1, and a temperature gradient.

The concentration of each carbon source was obtained by interpolation in a standard curve of each substrate.