Supplementary Material

Table 1.  Requirements for discharges from urban wastewater treatment plants subject to Articles 8 of the Urban Wastewater Treatment Directive of Turkey.

| Parameter | Concentration, mg/L | Minimum Percentage of Reduction |
| --- | --- | --- |
| 5-day Biochemical Oxygen Requirement, BOD5, mg/L | 25 | 70-90 |
| Chemical Oxygen Demand, COD, mg/L | 125 | 75 |
| Total Suspended Solids, TSS, mg/L | 35 35 (more than 10,000 p.e.) 60 (2,000-10,000 p.e.) | 90 90 70 |

Table 2.  Requirements for discharges from urban waste water treatment plants to sensitive areas which are subject to eutrophication as identified in Article 4 of the Urban Wastewater Treatment Directive of Turkey. One or both parameters may be applied depending on the local situation. The values for concentration or for the percentage of reduction shall apply.

| Parameter | Concentration, mg/L | Minimum Percentage of Reduction |
| --- | --- | --- |
| Total nitrogen, mg/L | 15 mg/1 N (10 000 - 100 000 p.e.) 10 mg/1 N (more than 100 000 p.e) | 70-80 |
| Total phosphorus, mg/L | 2 mg/1 P (10 000 - 100 000 p.e.) 1 mg/1 P (more than 100 000 p.e.) | 80 |