Supplementary Tables

Table S1. CRM recovery values (CRM023–50G), LOD and LOQ for respective elements.

| Elements | Certified values (mg kg–1, dw) |  |  | Observed values (mg kg–1, dw) (n=5) |  |  | Recovery (%) | Method validation |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Mean | Std |  | Mean | Std | RSD (%) |  | LOD (mg L–1) | LOQ (mg L–1) |
| Ca | 5420 | 240 |  | 5,539 | 626 | 11.30 | 102.19 | 0.0868 | 0.0924 |
| Cd | 0.92 | 0.31 |  | 0.90 | 0.06 | 6.35 | 98.10 | 0.0171 | 0.0206 |
| Co | 4.68 | 0.21 |  | 3.92 | 0.14 | 3.50 | 83.77 | 0.0340 | 0.0686 |
| Cr | 31.00 | 2.23 |  | 31.01 | 1.12 | 3.61 | 100.02 | 0.1223 | 0.1939 |
| Cu | 8.90 | 0.52 |  | 10.83 | 0.32 | 5.64 | 121.71 | 0.0352 | 0.0440 |
| K | 2,230 | 262 |  | 2,359 | 341 | 14.47 | 105.79 | 0.0037 | 0.0064 |
| Fe | 10,700 | 592 |  | 11,569 | 1,163 | 10.06 | 108.12 | 0.2922 | 0.3965 |
| Mg | 3,060 | 156 |  | 2,971 | 176 | 5.93 | 97.11 | 0.5152 | 0.6853 |
| Mn | 206.00 | 7.38 |  | 184.21 | 7.98 | 4.33 | 89.42 | 0.0493 | 0.0763 |
| Na | 296.00 | 25.00 |  | 310.10 | 40.81 | 13.16 | 104.76 | 0.0077 | 0.0119 |
| Ni | 11.00 | 0.57 |  | 12.32 | 0.69 | 5.64 | 112.00 | 0.0616 | 0.0778 |
| Pb | 213.00 | 6.97 |  | 216.27 | 7.30 | 3.38 | 101.54 | 0.1304 | 0.2017 |
| Zn | 93.80 | 4.77 |  | 91.09 | 2.12 | 2.33 | 97.11 | 0.0141 | 0.0220 |

Table S2. Parameters for CDI estimation in adults and children.

| Parameter | Unit | Value |  |
| --- | --- | --- | --- |
|  |  | Adult | Children |
| Ingestion rate (IngR) | mg day–1 | 100 | 200 |
| Exposure frequency (EF) | days | 350 | 350 |
| Exposure duration (ED) | years | 25 | 6 |
| Average body weight (BW) | kg | 70 | 15 |
| Averaging time (AT) for non–carcinogens | days | 365 x ED | 365 x ED |
| Averaging time (AT) for carcinogens | days | 365 x 70 | 365 x 70 |
| Conversion factor (CF) | kg mg–1 | 1 x 10–6 | 1 x 10–6 |
| Inhalation rate (InhR) | m3 day–1 | 20 | 10 |
| Particle emission factor (PEF) | m3 kg–1 | 1.36 x 109 | 1.36 x 109 |
| Surface area of the skin (SA) | cm2 event–1 | 5700 | 2800 |
| Skin adherence factor (AFsoil) | mg cm–2 | 0.07 | 0.2 |
| Dermal absorption factor (ABS) | – | 0.01 | 0.01 |

Table S3. Reference dose and the cancer slope factor (CSF) for metal exposure.

| Metal | RfDoral | RfDinhalation | RfDdermal | CSF |
| --- | --- | --- | --- | --- |
| Pb | 3.50E–03 | 3.52E–03 | 5.25E–04 | 8.50E–03 |
| Zn | 3.00E–01 | 3.00E–01 | 6.00E–02 |  |
| Cd | 1.00E–03 | 1.00E–05 | 1.00E–05 | 6.30E+00 |
| Ni | 2.00E–02 | 2.06E–02 | 5.40E–03 | 9.10E–01 |
| Cu | 3.71E–02 | 4.02E–03 | 1.20E–02 |  |
| Cr | 3.00E–03 | 2.86E–05 | 6.00E–05 | 5.00E–01 |
| Mn | 3.50E–03 | 5.00E–05 | 5.25E–04 |  |
| Co | 2.00E–02 | 5.70E–06 | 5.70E–06 |  |
| Fe | 7.00E–01 | 7.00E–01 | 7.00E–02 |  |