| Item | Value |
| --- | --- |
| Enzyme | Trypsin |
| Max Missed Cleavages | 2 |
| Max Missed Cleavages | 2 |
| Main search | 6 ppm |
| First search | 20 ppm |
| MS/MS Tolerance | 20 ppm |
| Fixed modifications | Carbamidomethyl (C) |
| Variable modifications | Oxidation (M) , Acetyl (Protein N-term) |
| Database | See the project report |
| Database pattern | Reverse |
| Peptide FDR | ≤0.01 |
| Protein FDR | ≤0.01 |
| Time window (match between runs) | 2min |
| Protein Quantification | Razor and unique peptides were used for protein quantification. |
| LFQ[8] | True |
| LFQ min. ratio count | 1 |