Electronic Supplementary Information

Table. S-1. Pesticides selected for validation study along with their MRL

| Sr.no | Compounds | Classes | Chemical formula | MRLs mg/kg | Structure | Endocrine Disruptor Effects |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Lindane | Organochlorine | C6H6Cl6 | 0.01 |  | 1Reduction of oestrous cycles and luteal progesterone concentrations. Increase of insulin and estradiol blood serum concentrations, decrease thyroxine concentrations. Competitive binding to AR, ER and PR |
| 2 | Heptachlor | Organochlorine | C10H5Cl7 | 0.01 |  | 2Binding to cellular estrogen and androgen receptors |
| 3 | Chlorpyrifos | Organophosphorus | C9H11Cl3NO3PS | 0.01 |  | 1Antagonist to androgen activity |
| 4 | Triadimenol | Triazoles | C14H18ClN3O2 | 0.3 |  | 3Estrogenic effect, inhibition of aromatase activity, decrease of estrogens production and increase androgens availability |
| 5 | Heptachlor exoepoxide A | Organochlorine | C10H5Cl7O | 0.01 |  | 2Binding to cellular estrogen and androgen receptors |
| 6 | Heptachlor endoepoxide B | Organochlorine | C10H5Cl7O | 0.01 |  | 2Binding to cellular estrogen and androgen receptors |
| 7 | α-Endosulfan | Organochlorine | C9H6Cl6O3S | 0.05 |  | 4Competitive binding to androgen receptors, estrogenic effect, stimulation of estrogen receptor production, inhibition of aromatase activity |
| 8 | β-Endosulfan | Organochlorine | C9H6Cl6O3S | 0.05 |  | 4Competitive binding to androgen receptors, estrogenic effect, stimulation of estrogen receptor production, inhibition of aromatase activity |
| 9 | Endosulfan sulfate | Organochlorine | C9H6Cl6O4S | 0.05 |  | 4Competitive binding to androgen receptors, estrogenic effect, stimulation of estrogen receptor production, inhibition of aromatase activity |
| 10 | Bifenthrin | Pyrethroid | C23H22ClF3O2 | 0.3 |  | 5hormone signaling of the endocrine−nervous−reproductive system communication in trophoblast cells Enantiospecific binding to ER |
| 11 | Cypermethrin | Pyrethroid | C22H19Cl2NO3 | 0.5 |  | 4Estrogenic effect |
| 12 | λ-cyhalothrin | Pyrethroid | C23H19ClF3NO3 | 0.3 |  | 6Inhibited thyroid hormone production |
| 13 | Deltamethrin | Pyrethroid | C22H19Br2NO3 | 0.4 |  | 6Weak estrogenic activity |

1Rawlings NC, Cook SJ, Waldbillig D. Effects of the pesticides carbofuran; chlorpyrifos; dimethoate; lindane; triallate; trifluralin; 2;4-D; and pentachlorophenol on the metabolic endocrine and reproductive endocrine system in ewes. J. Toxicol. Environ. Health A. 1998; 54:21–36.

2Oduma, J.A.; Wango, E.O.; Oduor-Okelo, D.; Makawiti, D.W.; Odongo, H. In vivo and In vitro effects of graded doses of the pesticide heptachlor on female sex steroid production in rats. Comp.

Biochem. Physiol. C Pharmacol. Toxicol. Endocrinol. 1995, 111, 191-196

3Trosken, E.E.; Scholz, K.; Lutz, R.W.; Volkel, W.; Zarn, J.A.; Lutz, W.K. Comparative assessment of the inhibition of recombinant human CYP19 (aromatase) by azoles used in

agriculture and as drugs for humans. Endocr. Res. 2004, 30, 387-394.

4Beard AB, Rawlings NC. Thyroid function and effects on reproduction in ewes exposed to the organochlorine pesticides lindane or pentachlorophenol (PCP) from conception. J. Toxicol. Environ. Health A. 1999;58: 509–530.

5Zhao, M., Zhang, Y., Zhuang, S., Zhang, Q., Lu, C., & Liu, W. (2014). Disruption of the Hormonal Network and the Enantioselectivity of Bifenthrin in Trophoblast: Maternal–Fetal Health Risk of Chiral Pesticides. Environmental Science & Technology, 48(14), 8109–8116. doi:10.1021/es501903b

6Sugiyama S, Shimada N, Miyoshi H, Yamauchi K (2005) Detection of thyroid system-disrupting chemicals using in vitro and in vivo screening assays in Xenopus laevis Toxicol Sci. 88(2):367-74.

Table S-2. Collection points and origin of the samples

| Sample Code | Market | Growing Area |
| --- | --- | --- |
| PwFm 1-3 | Pir wadai, Fruit Market Islamabad | Swabi, Mansehra, Huzro |
| KpFm 1-3 | Khana Pull, Fruit Market Islamabad | Hari pur, Kaghan, Sawabi |
| JbRs 1-3 | Jummah Bazar, Rawalpindi Stadium | Mansehra, Gilgit, Huzro |
| BkWm 1-3 | Barakho Wednesday Market Islamabad | Multan, Sawat, Rawat |
| AbSm 1-3 | Abpara, SundayMarket Islamabad | Sawabi, Huzro, Sawat |
| G9Sm 1-3 | G9 Sunday Market Islamabad | Islamabad(local), Chak Shahzad, Sawat |
| C-20m 1-3 | Chungi no.20, Rawalpindi | Adiyala Road, Haripur, Sawabi |
| C-22m 1-3 | Chungi no.22, Rawalpindi | Northern Area Sawat, Abbottabad |

Table.S-3 GC-MSD method parameters for selected pesticides in brinjal and cauliflower

| Pesticides | RT | Target ion | Q1 | Q2 |
| --- | --- | --- | --- | --- |
| Lindane | 6.7 | 181 | 183 | 219 |
| Heptachlor | 8.4 | 272 | 100 | 274 |
| Chlorpyrifos | 9.6 | 197 | 199 | 314 |
| Heptachlor exo-epoxide B | 10.4 | 353 | 355 | 351 |
| Heptachlor epoxide A | 10.5 | 237 | 135 | 81 |
| Triadimenol | 10.9 | 112 | 128 | 168 |
| α-Endosulfan | 11.3 | 241 | 195 | 239 |
| β-Endosulfan | 12.6 | 195 | 237 | 207 |
| Endosulfan sulfate | 13.4 | 272 | 274 | 229 |
| Bifenthrin | 14.5 | 181 | 165 | 166 |
| λ-Cyhalothrin | 15.3 | 181 | 197 | 208 |
| α-cypermethrin | 16.6 | 181 | 163 | 165 |
| Deltamethrin | 18.1 | 181 | 253 | 251 |

Table.S-4 Linearity of the calibration curve for selected pesticides in cauliflower and brinjal

| Pesticides | Linearity |  |  |
| --- | --- | --- | --- |
|  | Solvent | Cauliflower (MMS) | Brinjal (MMS) |
| Lindane | 0.955 | 0.990 | 0.971 |
| Heptachlor | 0.956 | 0.950 | 0.987 |
| Chlorpyrifos | 0.912 | 0.999 | 0.915 |
| Heptachlor-endoepoxide B | 0.952 | 0.936 | 0.988 |
| Heptachlor-exoepoxide A | 0.948 | 0.999 | 0.986 |
| Triadimenol | 0.953 | 0.977 | 0.980 |
| α-Endosulfan | 0.952 | 0.997 | 0.984 |
| β-Endosulfan | 0.952 | 0.999 | 0.984 |
| Endosulfan sulfate | 0.951 | 0.992 | 0.987 |
| Bifenthrin | 0.954 | 0.919 | 0.996 |
| λ-Cyhalothrin | 0.947 | 0.988 | 0.988 |
| Cypermethrin | 0.956 | 0.993 | 0.981 |
| Deltamethrin | 0.959 | 0.974 | 0.972 |

Table.S-5 Method recovery for selected pesticides at 1×MRL, 2×MRL and 4×MRL spiking levels in cauliflower and brinjal

| Pesticides | Cauliflower |  |  | Brinjal |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Average %Recovery (RSD) |  |  | Average %Recovery (RSD) |  |  |
|  | (1×MRL) | (2×MRL) | (4×MRL) | (1×MRL) | (2×MRL) | (4×MRL) |
| Lindane | 94(20.6) | 93.4(18.1) | 100.6(6.0) | 70(15.0) | 92.1(20.7) | 99.7(10.3) |
| Heptachlor | 90.1(17.0) | 97.4(19.1) | 108.7(4.0) | 81.7(11) | 85.8(12.9) | 73.8(18.3) |
| Chlorpyrifos | 88.9(20.9) | 73.8(18.3) | 84.2(23) | 92.6(29.2) | 89.8(11.6) | 75.6(8.4) |
| Heptachlor-endoepoxide B | 86.3(26.4) | 88.8(20.0) | 93.8(11.1) | 87(17.0) | 91.4(17.9) | 74.6(21.5) |
| Heptachlor-exoepoxide A | 70.7(12.0) | 94.9(18.5) | 109.5(9.0) | 68.1(13.0) | 70.4(1.4) | 91.0(18.8) |
| Triadimenol | 99.5(21.0) | 81.7(22.2) | 89.0(16) | 96.7(21.7) | 75.4(12.9) | 94.2(7.2) |
| α-Endosulfan | 96.0(18.9) | 106(18.8) | 107(13.9) | 76.8(2.9) | 73.0(2.8) | 85.6(7.6) |
| β-Endosulfan | 83.7(7.4) | 73.6(10.5) | 76.1(4.3) | 83.9(13.6) | 89.2(5.6) | 77.8(20.3) |
| Endosulfan sulfate | 91.8(24.5) | 137.1(23) | 109 (13.1) | 55.7(26.3) | 89.8(14.9) | 94.2(19.7) |
| Bifenthrin | 115.2(3.3) | 117.9(6.6) | 108.8(16) | 65.8(7.2) | 76.3(7.4) | 96.8(10.5) |
| λ-Cyhalothrin | 76.4(14.4). | 105(14.4) | 114.8(4.3) | 127.2(15.5) | 94.5(9.8) | 83.2(22.0) |
| α-Cypermethrin | 66.5(11.8) | 104(22.4) | 117.0(1.7) | 78.8(6.5) | 95.5(4.5) | 73.6(2.7) |
| Deltamethrin | 76.5(1.6) | 72.1(11.6) | 89.4(13.7) | 78.4(4.0) | 94.6(4.2) | 83.1(14.5) |