| Supplementary Table 6. Diagnostic performance based on image |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | tubular adenoma vs. serrated Lesions* |  |  | SSAP vs. MVHP |  |  |
| Reader | CADx1 | Expert 1 | Expert 2 | CADx2 | Expert 1 | Expert 2 |
| Sensitivity, % [95%CI] | 70.1 [62.1-78.0] | 73.2 [65.5-80.9] | 74.8 [67.3-82.4] | 17.9 [11.0-24.9] | 60.7 [51.8-69.5] | 88.0 [82.2-93.9] |
| Specificity, % [95%CI] | 92.3 [89.1-95.5] | 89.4 [85.7-93.0] | 63.0 [57.3-68.7] | 90.4 [85.8-95.0] | 68.6 [61.3-75.9] | 40.4 [32.7-48.1] |
| PPV, % [95%CI] | 80.9 [73.6-88.3] | 76.2 [68.7-83.8] | 48.5 [41.5-55.5] | 58.3 [42.2-74.4] | 59.2 [50.4-68.0] | 52.6 [45.6-59.5] |
| NPV, % [95%CI] | 86.9 [83.0-90.8] | 87.8 [83.9-91.6] | 84.3 [79.3-89.3] | 59.5 [53.2-65.7] | 69.9 [62.7-77.2] | 81.8 [73.2-90.4] |
| Accuracy, % [95%CI] | 85.3 [85.2-85.3] | 84.3 [84.2-84.3] | 66.7 [66.6-66.9] | 59.3 [59.2-59.5] | 65.2 [65.0-65.4] | 60.8 [60.6-61.0] |
| AUC, % [95%CI] | 84.1 [79.8-88.5] | 86.6 [82.6-90.7] | 73.1 [68.0-78.3] | 52.0 [45.0-59.0] | 65.6 [59.2-72.0] | 66.7 [60.6-72.8] |
| SSAP: sessile serrated adenoma/polyp; MVHP: microvesicular hyperplastic polyp |  |  |  |  |  |  |
| CADx1: computer-aided diagnosis for differentiaing tubular adenoma from serrated lesions |  |  |  |  |  |  |
| CADx2: computer-aided diagnosis for differentiaing SSAP from MVHP |  |  |  |  |  |  |
| CI: confidence interval; PPV: positive predictive value; NPV: negative predictive value; AUC: area under curve |  |  |  |  |  |  |
| * Serrated lesions include SSAP and MVHP. |  |  |  |  |  |  |