An Interlaboratory Method Comparison Study of GB 4789.40-2016 and ISO 22964:2017

Detection of Cronobacter spp. in Infant Formula Products

Supplementary Information

1. Materials

Table S1. Formula of culture media used in the study

| Medium | g/L |
| --- | --- |
| Druggan-Forsythe-Iversen Agar (DFI, pH 7.3±0.2) | 15 |
| Tryptone | 5 |
| Soy peptone | 5 |
| Sodium chloride | 1 |
| Ferric ammonium citrate | 1 |
| Sodium desoxycholate | 1 |
| Sodium thiosulphate | 0.1 |
| Chromogen | 15 |
| Agar |  |
| Chromogenic Cronobacter Isolation Agar (CCI, pH 7.3±0.2) | 0.3 |
| Yeast extract | 5 |
| Sodium chloride | 7 |
| Tryptone | 1 |
| Sodium thiosulphate | 0.25 |
| Sodium desoxycholate | 1 |
| Ferric ammonium citrate | 0.15 |
| 5-bromo-4-chloro-3-indolyl-α, D-glucopyranoside | 13.2 |
| Agar |  |
| Cronobacter Screening Broth Base (CSB, pH 7.4±0.2) | 10 |
| Peptone | 3 |
| Meat extract | 5 |
| Sodium chloride | 0.04 |
| Bromocresol purple | 10 |
| Sucrose |  |
| Modified Lauryl Sulphate Trypyose Broth Base (mLST, pH 6.6±0.2) | 34 |
| Sodium chloride | 20 |
| Enzymatic digest of animal and plant tissue | 5 |
| Lactose | 2.75 |
| Potassium dihydrogen phosphate | 2.75 |
| Dipotassium hydrogen phosphate | 0.1 |
| Sodium lauryl sulphate |  |
| Buffered Peptone Water (BPW, pH 7.4±0.2) | 10 |
| Enzymatic digest of casein | 5 |
| Sodium chloride | 3.5 |
| Anhydrous di-sodium hydrogen phosphate | 1.5 |
| Potassium dihydrogen phosphate |  |

2. Data analysis

2.1 Summary of results categories

Table S2. Summary of results obtained with the reference and alternative methods for each category [1]

|  | Reference-method positive (R+) | Reference-method negative (R-) |
| --- | --- | --- |
| Alternative-method positive (A+) | +/+ Positive Agreement (PA) | -/+ Positive Deviation (PD) |
| Alternative-method negative (A) | +/- Negative Deviation (ND) | -/- Negative Agreement (NA) |

2.2 Calculation of acceptability limits (AL) for sensitivity in the interlaboratory study [1]

The AL is defined as [(ND – PD)max] and calculated per level where fractional recovery was obtained as described below using the following three parameters:

p+ref=PxNx						(S1)

where

Px = number of samples with a positive result obtained with the reference method at level x

(L1 or L2) for all laboratories;

Nx = number of samples tested at level x (L1 or L2) with the reference method by all laboratories.

p+alt=CPxNx						(S2)

where

CPx = number of samples with a confirmed positive result obtained with the alternative method at level x (L1 or L2) for all laboratories;

Nx = number of samples tested at level x (L1 or L2) with the alternative method by all laboratories.

ND-PDmax=3Nx×p+ref+p+alt-2p+ref×p+alt		(S3)

where

Nx = number of samples tested at level x (L1 or L2) with the reference method by all laboratories

3. Matrix background microbial load

Table S3. Single laboratory study - Background microbial load of blank product matrices

|  | Replicate |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 | 5 |
| Matrix 1: Dehydrated base milk powder |  |  |  |  |  |
| APC (CFU/g) | <10 | <10 | <10 | <10 | <10 |
| Enterobacteriaceae (CFU/g) | <10 | <10 | <10 | <10 | <10 |
| Cronobacter spp. /100 g | ND* | ND | ND | ND | ND |
| Matrix 2: Non-probiotic infant milk formula |  |  |  |  |  |
| APC (CFU/g) | <10 | <10 | <10 | <10 | <10 |
| Enterobacteriaceae (CFU/g) | <10 | <10 | <10 | <10 | <10 |
| Cronobacter spp. /100 g | ND | ND | ND | ND | ND |
| Matrix 3: Probiotic infant milk formula |  |  |  |  |  |
| APC (CFU/g) | 20 | 70 | 70 | 60 | 10 |
| Enterobacteriaceae (CFU/g) | <10 | <10 | <10 | <10 | <10 |
| Cronobacter spp. (/100 g) | ND | ND | ND | ND | ND |
| Lactic acid bacteria (CFU/g) | 4.8×106 | 3.9×106 | 4.9×106 | 3.4×106 | 4.9×106 |

*ND: Not detected.

Table S4. Single laboratory study - Thermal stress efficiency of test cultures

|  |  | Colony count |  | Stress efficiency |
| --- | --- | --- | --- | --- |
| Strain | Medium | CFU/mL | Log10 CFU/mL | Log10 CFU/mL reduction |
| C. sakazakii (ATCC 29544) | TSA | 1.6×108 | 8.20 | 0.70 |
|  | DFI | 3.2×107 | 7.51 |  |
| C. malonaticus (DSM 18702) | TSA | 4.2×108 | 8.62 | 1.30 |
|  | DFI | 2.1×107 | 7.32 |  |

Table S5. Single laboratory study - Results summary per matrix type/strain/method at the low contamination level (L1)

| Method | Strain | Matrix Type | Number of results |  | Total |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Positive | Negative |  |
| Reference method GB 4789.40-2016 | C. sakazakii ATCC 29544 | Non-probiotic ingredient | 21 | 19 | 40 |
|  |  | Non-probiotic infant formula | 9 | 31 | 40 |
|  |  | Probiotic infant formula | 36 | 24 | 60 |
|  | C. malonaticus DSM 18702 | Non-probiotic ingredient | 8 | 12 | 20 |
|  |  | Non-probiotic infant formula | 6 | 14 | 20 |
|  |  | Probiotic infant formula | 15 | 5 | 20 |
|  | Total |  | 95 (47.5%) | 105 (52.5%) | 200 (100%) |
| Alternative method ISO 22964:2017 | C. sakazakii ATCC 29544 | Non-probiotic ingredient | 14 | 26 | 40 |
|  |  | Non-probiotic infant formula | 12 | 28 | 40 |
|  |  | Probiotic infant formula | 36 | 24 | 60 |
|  | C. malonaticus DSM 18702 | Non-probiotic ingredient | 13 | 7 | 20 |
|  |  | Non-probiotic infant formula | 8 | 12 | 20 |
|  |  | Probiotic infant formula | 18 | 4 | 20 |
|  | Total |  | 99 (49.5%) | 101 (50.5%) | 200 (100%) |

Figure S6 Single laboratory study -Presentation of the RLOD of the alternative method

| Matrix/Strain | RLOD | RLODL | RLODU | B=ln(RLOD) | Sn(d) | Z-test | p-value |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ingredient /ATCC29544 | 1.871 | 0.916 | 3.819 | 0.626 | 0.357 | 1.755 | 0.079 |
| Non-probiotic infant formula/ATCC29544 | 0.717 | 0.296 | 1.739 | -0.332 | 0.443 | 0.750 | 1.547 |
| Probiotic infant formula/ATCC29544 | 1.570 | 0.804 | 3.064 | 0.451 | 0.335 | 1.348 | 0.178 |
| Combine | 1.343 | 0.882 | 2.045 | 0.295 | 0.210 | 1.404 | 0.160 |
| Ingredient /DSM18702 | 0.487 | 0.194 | 1.222 | -0.720 | 0.460 | 1.565 | 1.882 |
| Non-probiotic infant formula/DSM18702 | 0.698 | 0.235 | 2.074 | -0.359 | 0.544 | 0.660 | 1.491 |
| Probiotic infant formula/DSM18702 | 0.861 | 0.392 | 1.894 | -0.149 | 0.394 | 0.379 | 1.295 |
| Combine | 0.689 | 0.414 | 1.146 | -0.373 | 0.255 | 1.464 | 1.857 |
| Ingredient /ATCC29544&DSM18702 | 1.124 | 0.649 | 1.947 | 0.1175 | 0.2752 | 0.425 | 0.671 |
| Non-probiotic infant formula/ATCC29544&DSM18702 | 0.710 | 0.357 | 2.1.410 | -0.343 | 0.343 | 0.999 | 1.682 |
| Probiotic infant formula/ATCC29544&DSM18702 | 1.232 | 0.737 | 2.031 | 0.202 | 0.253 | 0.795 | 0.427 |
| Acceptance Limit | 2.5 |  |  |  |  |  |  |

- RLOD: the estimated relative level of detection value

- RLODU: the upper limit of the 95% confidence interval for RLOD

- RLODL: the lower limit of the 95% confidence interval for RLOD

- b=ln(RLOD): logarithm of the RLOD value

- sd(b): standard deviation of b

- z-Test statistic: absolute value of the test statistic of the z-Test with the null hypothesis H0: b=0

- p-value: p-value of the z-Test

Figure S1. Single laboratory study - Changes in Cronobacter count of the seed inocula during the sample stabilization period

Figure.S2 gyrB sequencing result of ATCC29544 and dsm18702

Table S7. Interlaboratory study - Thermal stress efficiency of the test culture

|  |  | Colony count |  | Stress efficiency |
| --- | --- | --- | --- | --- |
| Strain | Medium | CFU/mL | Log10 CFU/mL | Log10 CFU/mL reduction |
| C. sakazakii (ATCC 29544) | TSA | 1.7×108 | 8.23 | 1.26 |
|  | DFI | 9.4×106 | 6.97 |  |

Figure S3. Interlaboratory study - Changes in Cronobacter count of the seed inocula during the sample stabilization period

Table S8. Interlaboratory study – Sample condition upon receipt and analysis dates

| Collaborator | Sample shipment date | Temperature upon shipping (°C) | Sample receipt date | Temperature upon receipt (°C) | Sample analysis date |
| --- | --- | --- | --- | --- | --- |
| 1 | 5/20/2019 | 4 | 5/22/2019 | 24 | 5/29/2019 |
| 2 | 5/20/2019 | 4 | 5/22/2019 | 6 | 5/27/2019 |
| 3 | 5/20/2019 | 4 | 5/22/2019 | 4 | 5/27/2019 |
| 4 | 5/20/2019 | 4 | 5/22/2019 | 8.2 | 5/22/2019 |
| 5 | 5/20/2019 | 4 | 5/21/2019 | 8 | 5/26/2019 |
| 6 | 5/20/2019 | 4 | 5/22/2019 | Not measured | 5/22/2019 |
| 7 | 5/20/2019 | 4 | 5/21/2019 | 20 | 5/21/2019 |
| 8 | 5/20/2019 | 4 | 5/21/2019 | 4 | 5/21/2019 |
| 9 | 5/20/2019 | 4 | 5/21/2019 | 6 | 5/21/2019 |
| 10 | 5/20/2019 | 4 | 5/23/2019 | 6 | 5/23/2019 |
| 11 | 5/20/2019 | 4 | 5/21/2019 | Not measured | 5/21/2019 |
| 12 | 5/20/2019 | 4 | 5/21/2019 | 15.8 | 5/27/2019 |

Table S9. Interlaboratory Study - Results reported by collaborating laboratories (reference & alternative methods)

| Collaborator | Contamination Level |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Reference Method |  |  | Alternative Method |  |  | Alternative Method Confirmed by Reference |  |  |
|  | L0 0 MPN/10g | L1 1.30 MPN/10g | L2 2.21 MPN/10g | L0 0 MPN/10g | L1 1.30 MPN/10g | L2 2.21 MPN/10g | L0 0 MPN/10g | L1 1.30 MPN/10g | L2 2.21 MPN/10g |
| Laboratory 1 | 0/8 | 3/8 | 5/8 | 0/8a | 4/8b | 6/8a | 0/8a | 4/8b | 6/8a |
| Laboratory 2 | 0/8 | 3/8 | 4/8 | 0/8 | 3/8 | 5/8 | 0/8 | 3/8 | 5/8 |
| Laboratory 3 | 0/8 | 1/8 | 6/8 | 1/8 | 2/8 | 8/8 | 0/8 | 2/8 | 8/8 |
| Laboratory 4 | 0/8 | 3/8 | 6/8 | 0/8 | 3/8 | 7/8 | 0/8 | 38 | 7/8 |
| Laboratory 5 | 0/8 | 2/8 | 6/8 | 0/8 | 1/8 | 5/8 | 0/8 | 1/8 | 5/8 |
| Laboratory 6c | 0/8 | 1/8 | 6/8 | 0/8 | 3/8 | 7/8 | 0/8 | 3/8 | 7/8 |
| Laboratory 7 | 0/8 | 3/8 | 5/8 | 0/8 | 3/8 | 7/8 | 0/8 | 3/8 | 7/8 |
| Laboratory 8 | 0/8 | 3/8 | 6/8 | 0/8 | 3/8 | 8/8 | 0/8 | 3/8 | 8/8 |
| Laboratory 9 | 0/8 | 2/8 | 5/8 | 0/8 | 4/8 | 8/8 | 0/8 | 4/8 | 8/8 |
| Laboratory10 | 1/8 | 6/8 | 5/8 | 0/8 | 6/8 | 6/8 | 0/8 | 6/8 | 5/8 |
| Laboratory 11c | 0/8 | 2/8 | 4/8 | 0/8 | 0/8 | 3/8 | 0/8 | 3/8 | 6/8 |
| Laboratory 12 | 0/8 | 3/8 | 7/8 | 0/8 | 1/8 | 6/8 | 0/8 | 1/8 | 6/8 |
| Total | P0 = 1 | P1= 32 | P2 = 65 | P0 = 1 | P1 = 33 | P2 =76 | CP0 = 0 | CP1 =36 | CP2 =78 |

a. Number of positive alternative-method results.

b. Number of positive alternative-method results confirmed by the reference method.

c. Data from Laboratory 6 and 11 are excluded from analysis due to lack of temperature measurement upon arrival.

Table S10. Interlaboratory Study – RLOD Calculations

| Method | Method effect Fi | Log method effect fi | SD of log method effect Sfi | LOD50%a |  |  | LOD95%b |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Detection limit d0.5,i | Lower conf. limit d0.5,i,L | Upper conf. limit d0.5,i,U | Detection limit d0.5,i | Lower conf. limit d0.5,i,L | Upper conf. limit d0.5,i,U |
| Reference | 0.406 | -0.901 | 0.114 | 1.71 | 1.36 | 2.15 | 7.38 | 5.87 | 9.28 |
| Alternative | 0.477 | -0.741 | 0.110 | 1.45 | 1.17 | 1.81 | 6.28 | 5.05 | 7.82 |
| Conclusions | The methods are not significantly different at the 5% significance level (change in deviance of the model with method effects to the null model Dmethod=1 with 1degree of freedom, p-value=0.32). |  |  |  |  |  |  |  |  |
|  | The relative limit of detection (RLOD) of the alternative method, as compared to the reference method, is 0.85 with a 90% confidence interval of 0.66-1.11. |  |  |  |  |  |  |  |  |

a. LOD50% : 50% limit of detection in MPN/sample size

b. LOD95% : 95% limit of detection in MPN/sample size

References

1.	International Organization for Standardization, ISO 16140-2:2016 Microbiology of the food chain-Method validation-Part 2: Protocol for the validation of alternative (proprietary) methods against a reference method. 2016.