## Slide 1
Supplementary Figure 1. Testing set of Mokobio SARS-CoV2 IgM & IgG Quantum Dot immunoassay
loading buffer
Quantum Dot Immunofluorescence Analyzer
Mokobio SARS-CoV2 IgM & IgG Quantum Dot immunoassay test kit
Package for the test kit

## Slide 2
Supplementary Figure 2. Procedure of fingertip whole blood test
(A)
(B)
(C)
(D)
(E)
(A) Puncture a fingertip with a lancet
(B) Squeeze blood
(C) Applying 30 µL of whole blood sample and the loading buffer into the testing kit (Mokobio SARS-CoV2 IgM & IgG Quantum Dot immunoassay)
(D) Reacting for 15 minutes in a room temperature
(E) Insert the testing kit into the Mokosensor Q100 (Quantum Dot Immunofluorescence Analyzer)
(F) Quantitative antibody titer data will be available within 1 min.