Table S1. Residual carbon contents and residual acidities for different sample masses in milk.

| Experiment | Sample mass (g) | Conc. HNO₃ (mL) | H2O (mL) | Total volume (mL) | Final volume (mL) | RCC (mg L-1) | RA (mol L-1) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 0.1 | 1 | 7 | 8 | 10 | 89.4 | 4.4 |
| 2 | 0.25 | 1 | 7 | 8 | 10 | 356.7 | 1.4 |
| 3 | 0.5 | 1 | 7 | 8 | 10 | 511.2 | 0.7 |

RCC = residual carbon content; RA = residual acidity.

Table S2. Residual carbon contents and residual acidities for different volumes of H2O2 with 0.25 g of sample mass.

| Experiment | H₂O₂ (mL) | H2O (mL) | Total volume (mL) | Final volume (mL) | RCC (mg L-1) | RA (mol L-1) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 7 | 8 | 10 | 1180 | 0.022 |
| 2 | 2 | 6 | 8 | 10 | 1100 | 0.017 |
| 3 | 3 | 5 | 8 | 10 | 1053 | 0.015 |
| 4 | 4 | 4 | 8 | 10 | 880 | 0.018 |
| 5 | 5 | 3 | 8 | 10 | 627 | 0.015 |
| 6 | 6 | 2 | 8 | 10 | 447 | 0.015 |

RCC = residual carbon content; RA = residual acidity.

Table S3. Residual carbon contents and residual acidities for volumes of HNO3 with 0.25 g of sample mass.

| Experiment | H₂O₂ (mL) | H2O (mL) | Total volume (mL) | Final volume (mL) | RCC (mg L-1) | RA (mol L-1) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 7 | 8 | 10 | 356.67 | 1.40 |
| 2 | 2 | 6 | 8 | 10 | 340.00 | 3.02 |
| 3 | 3 | 5 | 8 | 10 | 280.00 | 4.63 |
| 4 | 4 | 4 | 8 | 10 | 206.67 | 7.07 |
| 5 | 5 | 3 | 8 | 10 | 66.67 | 9.30 |
| 6 | 6 | 2 | 8 | 10 | 33.33 | 10.22 |

RCC = residual carbon content; RA = residual acidity.