Supplementary material

Table 4. Summary AI performance in men and women. There were no sex-based differences in performance of different AI models. (Key: number of CXR – n, Area Under the Curve – AUC, confidence interval – CI)

| Sub-categories | Sex | n | Sensitivity | Specificity | Accuracy | AUC | 95% CI (AUC) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Anatomy not included | Women | 105 | 76% | 99% | 96% | 0.88 | 0.83-0.92 |
|  | Men | 242 | 84% | 98% | 93% | 0.89 | 0.86-0.92 |
| Suboptimal exposure | Women | 247 | 91% | 97% | 95% | 0.94 | 0.92-0.96 |
|  | Men | 193 | 92% | 97% | 95% | 0.94 | 0.92-0.97 |
| Low lung volume | Women | 422 | 94% | 96% | 95% | 0.95 | 0.94-0.97 |
|  | Men | 344 | 91% | 95% | 93% | 0.93 | 0.91-0.95 |
| Overlying anatomy | Women | 202 | 93% | 98% | 97% | 0.96 | 0.94-0.98 |
|  | Men | 142 | 91% | 98% | 97% | 0.95 | 0.92-0.98 |
| Patient rotation | Women | 126 | 91% | 99% | 98% | 0.95 | 0.92-0.98 |
|  | Men | 101 | 94% | 100% | 99% | 0.97 | 0.94-0.995 |
| Optimal | Women | 641 | - | - | - | - | - |
|  | Men | 513 | - | - | - | - | - |

Table 5. Summary of AI performance according to the radiographic projection. Note the lack of substantial change in AUC based on PA versus AP CXRs. Some differences between the sensitivity and specificity of different models can be related to lack of sufficient number of optimal AP CXR (Key: number of CXR – n, Anteroposterior – AP, Posteroanterior – PA, Area Under the Curve – AUC, confidence interval – CI)

| Sub-categories | Category | n | Sensitivity | Specificity | Accuracy | AUC | 95% CI (AUC) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Anatomy not included | PA | 193 | 70% | 99% | 95% | 0.84 | 0.80-0.88 |
|  | AP | 154 | 96% | 73% | 94% | 0.84 | 0.68-1.00 |
| Suboptimal exposure | PA | 237 | 84% | 98% | 96% | 0.91 | 0.89-0.94 |
|  | AP | 203 | 96% | 73% | 94% | 0.84 | 0.68-1.00 |
| Low lung volume | PA | 622 | 91% | 96% | 94% | 0.93 | 0.92-0.95 |
|  | AP | 144 | 100% | 73% | 98% | 0.86 | 0.70-1.00 |
| Overlying anatomy | PA | 112 | 87% | 98% | 96% | 0.93 | 0.90-0.95 |
|  | AP | 112 | 97% | 91% | 97% | 0.94 | 0.84-1.00 |
| Patient rotation | PA | 139 | 89% | 99% | 98% | 0.99 | 0.995-1.0 |
|  | AP | 88 | 99% | 82% | 97% | 0.90 | 0.77-1.00 |
| Optimal | PA | 1143 | - | - | - | - | - |
|  | AP | 11 | - | - | - | - | - |

Table 6. Performance of AI models in different age groups (<40 years, 40-60 years, >60 years). The overall performance accuracy and AUCs across patients of different groups was similar. Variations in sensitivity and specificity in evaluating non-inclusion of entire anatomic region of interest could be related to smaller sample size in patients < 40 years of age relative to other age group.  (Key: number of CXR – n, Area Under the Curve – AUC, confidence interval – CI)

| Sub-categories | Category | n | Sensitivity | Specificity | Accuracy | AUC | CI |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Anatomy not included | <40 years | 45 | 71% | 100% | 97% | 0.85 | 0.77-0.93 |
|  | 40-60 years | 109 | 82% | 99% | 95% | 0.90 | 0.86-0.95 |
|  | >60 years | 193 | 83% | 95% | 90% | 0.89 | 0.86-0.93 |
| Suboptimal exposure | <40 years | 51 | 88% | 99% | 98% | 0.94 | 0.89-0.989 |
|  | 40-60 years | 162 | 96% | 98% | 97% | 0.97 | 0.95-0.99 |
|  | >60 years | 227 | 89% | 91% | 90% | 0.90 | 0.87-0.93 |
| Low lung volume | <40 years | 103 | 84% | 98% | 96% | 0.91 | 0.87-0.95 |
|  | 40-60 years | 198 | 89% | 98% | 95% | 0.94 | 0.91-0.96 |
|  | >60 years | 465 | 96% | 86% | 93% | 0.91 | 0.89-0.94 |
| Overlying anatomy | <40 years | 13 | 92% | 100% | 100% | 0.96 | 0.88-1.00 |
|  | 40-60 years | 65 | 88% | 99% | 97% | 0.93 | 0.89-0.98 |
|  | >60 years | 266 | 91% | 93% | 92% | 0.92 | 0.89-0.95 |
| Patient rotation | <40 years | 19 | 90% | 100% | 99% | 0.95 | 0.87-1.00 |
|  | 40-60 years | 55 | 95% | 100% | 99% | 0.97 | 0.94-1.00 |
|  | >60 years | 153 | 92% | 98% | 96% | 0.95 | 0.92-0.98 |
| Optimal | <40 years | 527 | - | - | - | - | - |
|  | 40-60 years | 369 | - | - | - | - | - |
|  | >60 years | 258 |  | - | - | - | - |