| Supplement table 1: the basic character of subjects |  |
| --- | --- |
| Variables | subjects (n=15) |
| Gender |  |
| Male | 15(100%) |
| Type of skin |  |
| Neutral | 4(27%) |
| Dry | 5(33%) |
| Oily | 5(33%) |
| Hybrid | 1(7%) |
| Type of contact detergent |  |
| Shampoo | 15(100%) |
| Number of contacts per day |  |
| 4-6 times | 3(20%) |
| 7-9 times | 1(7%) |
| ＞10 times | 11(73%) |
| Time per contact |  |
| 1-3 min | 7(47%) |
| 4-6 min | 3(20%) |
| 7-9 min | 2(13%) |
| ＞10 min | 3(20%) |
| Using habit of hand cream |  |
| Never | 5(33%) |
| Sometimes | 6(40%) |
| 1 time/day | 1(7%) |
| >5 times/day | 3(20%) |
| Wear gloves while working |  |
| Never | 8(53%) |
| Sometimes | 7(47%) |

| Supplement table 2: the gradient elution conditions with the mobile phase |  |  |  |
| --- | --- | --- | --- |
| Time (min) | Flow Rate (ml/min) | Composition A (%) | Composition B (%) |
| 0.0 | 0.3 | 80 | 20 |
| 1.0 | 0.3 | 80 | 20 |
| 5.0 | 0.3 | 40 | 60 |
| 11.0 | 0.3 | 20 | 80 |
| 18.0 | 0.3 | 10 | 90 |
| 19.0 | 0.3 | 0 | 100 |
| 21.0 | 0.3 | 0 | 100 |
| 21.1 | 0.3 | 80 | 20 |
| 22.0 | 0.3 | 80 | 20 |

| Supplement table 3: the detailed ion source conditions |  |
| --- | --- |
| Parameters | value |
| Sample temperature | 10.0 °C |
| Column temperature | 50.0 °C |
| Analyzer mode | sensitivity |
| Capillary voltage | 3.0 kV |
| Source temperature | 120 °C |
| Desolvation temperature | 500 °C |
| Cone gas | 50 L/h |
| Desolvation gas | 900 L/h |

| Supplement table 4：Metabolite Set Enrichment Analysis with MetPA from Differential Lipid Species between 1-week intervention and exposed |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Total compounds | Hits | Statistic Q | Expected Q | Raw p | Holm p | FDR |
| Fatty Acyls | 8124 | 7 | 20.091 | 1.6949 | 0.000283 | 0.001982 | 0.001722 |
| Sterol Lipids | 2384 | 4 | 18.735 | 1.6949 | 0.000492 | 0.002952 | 0.001722 |
| Lipids and lipid-like molecules | 82977 | 12 | 11.637 | 1.6949 | 0.004773 | 0.023866 | 0.011138 |
| Glycerolipids | 41515 | 2 | 6.3503 | 1.6949 | 0.029095 | 0.11638 | 0.050916 |
| Glycerophospholipids | 26970 | 13 | 4.7142 | 1.6949 | 0.08673 | 0.26019 | 0.095869 |
| Sphingolipids | 27240 | 2 | 4.7077 | 1.6949 | 0.094729 | 0.26019 | 0.095869 |
| Polyketides | 5544 | 4 | 4.6803 | 1.6949 | 0.095869 | 0.26019 | 0.095869 |

| Supplement table 5：Metabolite Set Enrichment Analysis with MetPA from Differential Lipid Species between 2 week and 1-week intervention |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Total compounds | Hits | Statistic Q | Expected Q | Raw p | Holm p | FDR |
| Glycerophospholipids | 26970 | 15 | 4.8052 | 1.7241 | 0.062743 | 0.31372 | 0.27128 |
| Fatty Acyls | 8124 | 1 | 4.2194 | 1.7241 | 0.11858 | 0.47434 | 0.27128 |
| Lipids and lipid-like molecules | 82977 | 4 | 2.4301 | 1.7241 | 0.23651 | 0.70952 | 0.27128 |
| Sphingolipids | 27240 | 1 | 2.2071 | 1.7241 | 0.26146 | 0.70952 | 0.27128 |
| Glycerolipids | 41515 | 1 | 2.1192 | 1.7241 | 0.27128 | 0.70952 | 0.27128 |

Supplement figure 1: The flow chart of this research