List of supplementary figures:
Supplementary Figure 1: Validation luminex assay. Coupling confirmation and limits of detection of anti–SARS-CoV-2 Spike S1, nucleocapsid N protein IgG, anti–SARS-CoV-2 Spike S1 IgG and anti–SARS-CoV-2 Spike RBD IgM antibodies by luminex. (A) Confirmation of the coupling step. A plateau of MFI was reached for dilutions 2μg/mL. (B) A calibration curve was obtained after serial dilutions of capture antibodies specific of each targeted protein. Lower and upper limit of quantifications are represented by dashed grey lines. PE: Phycoerithryn; MFI: Median of Fluorescence Intensity; Ab: Antibody.

[bookmark: _GoBack]Supplementary Figure 2: cross-reactivity with HCoV. Red dots pre-epidemic patients who cross-react with seasonal coronavirus.

Supplementary Figure 3: Comparison of the in-house luminex assay and 2 ELISA commercial assay. Patients with negative ELISA ID.vet (n=78) and Wantai (n=42) results. All timepoints combined were surveyed for SARS-CoV-2 antibodies using the luminex assay. (A) Represents IDVET tested IgM and IgG. (B) Represents Wantai tested IgM and IgG. Pre_epidemic samples were used to set the cut off wich is indicated with dashed line and orange area. Each dot represent a sample. Red squares represent targets of Elisa tests

Supplementary Figure 4: Percentage of explained variances of each dimension of the PCA. Dim1 and Dim2, used to represent the PCA graphs, together explain 75.5% of the variances. Numbers are eigenvalues in percent.
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Supplementary Figure 1 : Validation luminex assay. Coupling confirmation and limits of detection of anti–SARS-CoV-2 Spike S1, nucleocapsid N protein IgG, anti–SARS-CoV-2 Spike S1 IgG and anti–SARS-CoV-2 Spike RBD IgM antibodies by luminex. (A) Confirmation of the coupling step. A plateau of MFI was reached for dilutions 2µg/mL. (B) A calibration curve was obtained after serial dilutions of capture antibodies specific of each targeted protein. Lower and upper limit of quantifications are represented by dashed grey lines. PE: Phycoerithryn; MFI: Median of Fluorescence Intensity; Ab: Antibody.





Supplementary Figure 2: Cross-reactivity with HCoV. The negative pre-epidemic sera were tested for seasonal coronaviruses. Red dots represent patients who cross-react with specific seasonal coronavirus antigens.


[image: ]
Supplementary Figure 3: Comparison of the in-house luminex assay and 2 ELISA commercial assay. Patients with negative ELISA ID.vet (n=78) and Wantai (n=42) results. all timepoints combined were surveyed for SARS-CoV-2 antibodies using the luminex assay. (A) represents IDVET tested IgM and IgG. (B) represents Wantai tested IgM and IgG. Pre_epidemic samples were used to set the cut off wich is indicated with dashed line and orange area. Each dot represent a sample. Red squares represent targets of Elisa tests.


[image: ]Supplementary Figure 4: Percentage of explained variances of each dimension of the PCA. Dim1 and Dim2, used to represent the PCA graphs, together explain 75.5% of the variances. Numbers are eigenvalues in percent.
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