Feist et al. Suppl. File: Modifications to the Qiagen PowerSoil extraction
For each soil-based eDNA sample, we began with 1 mL soil. We then vortexed each sample with 5 mL of Longmire’s buffer and allowed the mixture to sit overnight at room temperature. Modifications to the Qiagen PowerSoil extraction: at Step 1, we added 400 µl of the eDNA sample (soil + Longmire mixture) instead of 0.25 g of soil; at Step 3, we added an incubation step (70 ⁰C for 10 min), then instead of vortexing for 10 min we used a bead beater (two bursts at 20 sec each); at Step 6 we transferred 800 µl instead of 500 µl; at Step 19, we used 60 µl of C6 instead of 100 µl.
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