sTable 1. Style adaptation between different radiation oncologists.

| Training setting number | Senior 1 to senior 2 |  |  | Senior 1 to senior 3 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Senior 2 |  |  | Senior 3 |  |  |  |
|  | VD | MSD | HD95 |  | VD | MSD | HD95 |  |
| 0 | 0.78 | 1.68 | 6.52 |  | 0.70 | 2.26 | 7.74 |  |
| 10 | 0.82 | 1.27 | 3.09 |  | 0.79 | 1.08 | 4.03 |  |
| 20 | 0.84 | 1.11 | 2.06 |  | 0.83 | 0.94 | 2.93 |  |
| 30 | 0.85 | 0.98 | 1.84 |  | 0.83 | 0.95 | 2.06 |  |

VD: volumetric Dice; MSD: mean surface distance; HD95: 95th percentile Hausdorff distance.