Table 3: Design parameters values selected and sensitivity levels for included variables (black). Low level (green, corresponding to net changes below 10%) and medium level (orange, corresponding to net changes between 10% and 50%)

Variable

Units

BC

GR

Surface

120.00

0.10

RG

IT

PP

RB

VS

Berm Height

Vegetation Volume

mm

mm

300.00

0.40

150.00

0.00

0.00

0.00

100.00

0.00

n Manning	mm	0.16	0.09	0.11	0.24	0.03	0.20

Slope	%	1.00	1.00	1.00	1.00	1.00	1.00

Swale Side Slope

%	5.00

30.00	500.00

100.00

Soil

Thickness		mm Porosity			%

Field Capacity	%

Wilting Point		% Conductivity	mm/h

0.50	0.47	0.40

0.22	0.24	0.17

0.09	0.07	0.11

92.32	265.67	167.99

150.00

0.43

0.10

0.02

115.00

Conductivity Slope

-	8.75	10.00	21.09	10.00

Suction Head	mm/h	77.70	65.00	37.31	65.00

Storage

Thickness		mm	 	10.00		200.00	500.00	10.00	800.00

Void Ratio	%	0.59	0.58	0.75	0.54

Seepage Rate	mm/h	40.00	101.10	24.00	172.00

Bottom Area (RB)

m2	0.00	0.00	0.45

9

Table 3: Design parameters values selected and sensitivity levels for included variables (black). Low level(green, corresponding to net changes below 10%) and medium level (orange, corresponding to net changes between 10% and 50%)

| Variable | Units | BC | GR | RG | IT | PP | RB | VS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Clogging Factor | - | 0.00 |  | 0.00 |  | 0.00 |  |  |

Drain

Flow

| Offset | mm | 0.00 | 0.00 0.00 0.00 |
| --- | --- | --- | --- |
| Open Level | mm |  |  |
| Closed Level | mm |  |  |
| Control Curve | - |  |  |

Coefficient Flow Exponent

-	2.00	2.00	2.00	2.00

-	0.50	0.50	0.50	0.50

Drain Delay (RB)

h	5.90

Pavement

Thickness		mm	50.00

Void Ratio	%	0.37

Impervious Surface Fraction

%	0.08

Permeability	mm/h	745.33

Clogging Factor	-

Regeneration Interval Regeneration Fraction

Days

%

10

11

Table 3: Design parameters values selected and sensitivity levels for included variables (black). Low level(green, corresponding to net changes below 10%) and medium level (orange, corresponding to net changes between 10% and 50%)

Drainage Mat (Green Roofs)

VS

RB

PP

IT

RG

GR

BC

Units

Variable

Thickness		mm	10.00

Void Fraction	%	0.47

n Manning	mm	0.07

Medium Level

Low Level

Included

variable