Online methods

U-Pb Geochronology

Zircons were analyzed for their U-Th-Pb age with the University of Rochester Cetac (formerly Photon Machines) Analyte G2 193 nm excimer Laser Ablation (LA) system coupled to an Agilent 7900 quadrupole ICP-MS (Inductively Coupled Plasma Mass Spectrometer). The LA system has a HelEx sample chamber that uses a He as a carrier gas. The He flow rates were set at 0.6 L/min in the sample chamber and in the carrier gas tube upon exiting the chamber at 0.2 L/min for a total flow rate of 0.8 L/min.  The laser energy set point was 7 mJ and a spot size of 25 µm which results in a fluence of 11.81 J/cm2. The laser beam was pulsed at 10 Hz. Each ablation included a collection of background counts for 20s, followed by an ablation period of 20s and finally, a washout period of ~30s to clear out the lines for the next analysis. The isotopes that were analyzed were 91Zr, 202Hg, 204Pb, 206Pb, 207Pb, 208Pb, 232Th and 238U. The integration time for 206Pb and 207Pb was 30ms and the for the rest of the isotopes, it was 10ms for each cycle.

An initial population of zircon grains (~2000) were first mounted on double-sided sticky tape without mounting them on epoxy or polishing. These grains were screened for their 207Pb/206Pb ratio, and the zircons with a 207Pb/206Pb corresponding to an age of 3.6 Ga or older were hand-picked and mounted along with Si and O isotopic standards using epoxy and polished to expose the cores of the grains. These older grains were then analyzed for their Si and O isotopes (details in the next section).  They were analyzed again after the stable isotopic measurements using the same LA-ICP-MS and this age value is reported in this manuscript, where the subsequent LA-ICP-MS spot is placed directly on top of the stable isotope data acquired by ion microprobe. We used the natural AS3 zircon53 as an age standard and we used the Iolite 3.32 software package54 to derive the final age values. After the second round of age measurements, all the grains we measured had a degree of concordance (206238 age207235 age*100) between 90 and 110% and therefore were selected for discussion in the manuscript; in fact, most of our concordance values were between 98 and 101%.

Si and O isotopes

For the stable isotope measurements, we used the CAMECA-ims1290 Secondary Ion Mass Spectrometer (SIMS) housed at the University of California, Los Angeles.  We used a 3-nA Cs+ primary beam, rastering over 20 × 20 μm on the samples, that yielded secondary ion signals (O18− and Si30- ≧ 6 × 106 and 3 × 106 counts per second, respectively) that were collected with Faraday cups (FCs) in dynamic multicollection mode. This configuration allows for simultaneous measurement of 16O− and 18O− on the L′2 and H′2 FCs, respectively, followed by that of 28Si− and 30Si− on C and H1 (all FCs) after only one mass jump. We used a mass resolution (M/ΔM) of 2,400 to separate molecular interferences from peaks of interest. Each spot analysis comprised 14 cycles, each of which includes a counting time of 10s for oxygen isotopes, and of 15s for Si isotopes. The backgrounds of FCs were determined during the 90s pre-sputtering before each analysis. In some cases, the JH zircons were large enough to contain multiple SIMS spots and so individual analyses are reported rather than individual zircons. The zircons were standard-sample bracketed; we measured three standard analyses after every five unknown analyses. KIM55, a mantle-derived zircon from Kimberley Pool, South Africa, was used as a drift-correcting standard and to derive the δ- values for both isotopic systems. For the δ30Si derivation, each unknown was calibrated against the average 30Si/28Si of KIM analyses immediately preceding and succeeding the unknown.

After our SIMS analyses, the zircons were imaged using an SEM at UCLA and the grains with visible cracks in the SIMS sputtering pit were flagged and not considered in the discussion. The JH Si and O isotopic values are reported as δ30SiNBS28 ‰ and δ18OVSMOW ‰ where, δ 30Si=(( 30Si 28Si)sample( 30Si 28Si)standard-1)*1000 and δ 18O=(( 18O 16O)sample( 18O 16O)standard-1)*1000. The derived Si and O δ-values were adjusted to account for the δ30Si and δ18O offset between KIM and NBS28 (-0.38 ‰) as well as between KIM and VSMOW (5.35 ‰)55.

To better understand the internal zoning characteristics of the zircons – e.g., to interrogate whether a particular grain or grain region comprises what is characteristically interpreted to be igneous zoning – we collected cathodoluminescence (CL) (Fig. S3).  These images also help understand the context of the acquired Si and O isotopes results.  The CL images were taken using a Cameca SXFive Electron Microprobe housed at Syracuse University.

We have also calculated the Si and O isotopic content of purported parent melts of the JH zircons by using Δ30Simelt-zircon and Δ18Omelt-zircon values obtained from two sources19, 20 and using the crystallization temperatures and the derived melt SiO2 wt. % for the zircons reported here. [19] propose a relationship between Δ30Simelt-zircon, SiO2 weight percent of parent melt and the crystallization T based on whole rock and zircon measurements on tonalites from Western Australia while [20] proposes an empirical relationship between melt SiO2 wt. % and Δ18Omelt-zircon derived from samples from the Sierra Nevada batholith.

ODP Serpentinites (methods)

To assess the degree of Si isotope fractionation that is associated with the bulk-rock serpentinisation of mafic and ultramafic rocks, a suite of variably serpentinised abyssal peridotites have been analysed for their whole-rock Si isotope compositions. The samples were taken from cores drilled on the Ocean Drilling Program Leg 209 cruise, whose main aim was to drill mantle peridotites and associated mafic rocks from fracture zones along the Mid-Atlantic Ridge56. The samples were taken from two cores, Holes 1274A and 1268A. Briefly, Hole 1274A is composed of harburgites, dunites and gabbroic rocks, all of which had undergone 60-100% serpentinisation at low temperatures (100-200°C). Major element analyses suggests that the serpentinisation was isochemical, i.e. the rocks from Hole 1274A were hydrated, but no other metasomatism took place. Hole 1268A also returned a mixture of harzburgites, dunites and gabbros; in contrast to Hole 1274A, the rocks from 1268A were 100% serpentinised before undergoing a late-stage, high temperature (>200°C) metasomatic event (associated with a gabbroic intrusion) which resulted in the variable desilicification of some rocks to form talc (steatisation).

To specifically study the potential effect of serpentisation (both isochemical and metasomatic) on the Si isotope composition of ultramafic rocks, only variably altered, serpentinised harzburgites were chosen from both cores for analysis. Six samples were taken from Hole 1274A and eleven samples were taken from Hole 1268A. Samples were provided in powder form, and prepared for Si isotope analysis via solution MC-ICP-MS following the methods first described in [57] and further detailed in [58].

Sample powders were dissolved using alkali fusion, whereby approximately 10mg of sample powder was weighed into silver crucibles along with approximately 200mg of NaOH flux (semiconductor grade, Merck). The crucibles were placed into a muffle furnace heated to 720°C for 15 minutes to perform the fusion. Subsequently, the crucibles and fusion cake were placed into individual PFA vials filled with 20ml of MQ-e water and left overnight to equilibrate. The fusion cake was then transferred via pipette to precleaned PP bottles, diluted with enough MQ-e to reach a final Si concentraction of between 10 and 25ppm, and acidified with enough conc. HNO3 to bring the pH of the solution to ~2. Final Si concentrations of the sample solutions were ascertained via the Heteropoly Blue method using a photospectrometer.

Samples were purified for Si isotopes using a single stage cation exchange procedure. Samples were loaded into BioRad Polyprep columns filled with 1.8ml of AG50W X12 cation exchange resin (200-400 mesh, BioRad; the resin was cleaned in the column before samples were loaded – see [59] for the cleaning method). Silicon is in either anionic or neutral forms in solution at low pH and so can be directly eluted using 5ml of MQ-e water. Post-column, the samples were acidified to ~0.22M HNO3. Total procedural blanks of the whole chemical preparation procedure were measured at less than 100 ng of Si, which is approximately 0.35% of the total measured Si signal and considered negligible.

Silicon isotopes were measured on a Neptune Plus MC-ICM-MS instrument (ThermoFischer Scientific, Bremen, Germany), running at medium resolution (M/∆M ~ 7500) to avoid significant molecular interferences on the 29Si and 30Si beams. Samples were introduced into the instrument using a 100 μl min-1 PFA ESI (Elemental Scientific, Omaha, USA) microflow nebulizer running into the SIS spray chamber. Silicon isotopes were measured in the L3 (28Si), C (29Si) and H3 (30Si) Faraday cups, and depending on instrumental conditions, a 2ppm Si beams typically gave a total analyte signal of ~7V. Isotope ratios were measured in static mode with each measurement consisting of 25 cycles with a ~8 sec integration time.

Silicon isotope measurements were calculated using the standard-sample bracketing protocol relative to the NBS28 standard. Variations in Si isotopes are defined using the delta notation (δ30Si NBS28) as described before. Each measurement session consisted of 10 samples, two of which were always the external standards BHVO-2 and Diatomite. Long-term error on the NBS28 bracketing standard over the analytical sessions is δ30Si= 0.00 ± 0.10 ‰ (2s.d.).

The δ18O values used in this study are those from different serpentinite samples but of the same ODP holes measured by [37].

TE and REE measurements in zircon

We used the same LA-ICP-MS instrument to analyze for TE and REE as we did for the U-Pb geochronology. The instrumental parameters were mostly the same except for the fluence, ablation period and washout time which were at 6.72 J/cm2, 20s and 35s respectively. The isotopes analyzed were 27Al, 29Si, 31P, 45Sc, 49Ti, 58Fe, 88Sr, 89Y, 91Zr, 93Nb, 181Ta, 232Th, 238U, 139La, 142Ce, 141Pr, 147Sm, 153Eu, 157Gd, 164Dy and 172Yb. We took care to select areas as close to the igneous cores of each of the zircons of interest which we identified from CL images. We also plotted the REE values of our zircons (Fig. S4) to make sure they were igneous in nature. We calibrated the elemental raw data for all elements but Ti using NIST 610 as the primary standard and NIST 612 and Kuehl Lake (KL) zircon (similar to 91500 [59]) as a secondary standard while for Ti we used KL as the primary standard. Iron-58(>1 ppm), 139La(> 5 ppm) and Th/U (0.1<Th/U<1) were used as markers to reject analyses that might contain significant contributions possibly from inclusions. One analysis was rejected that had [Al]=420 ppm which is much higher than the values reported by [60] and [61] for JHZs. Titanium-49 was used to derive the crystallization temperature of the zircons using the [18] calibration and by assuming a unity activity for SiO2 and TiO2. We used 93Nb, 232Th, 164Dy and 172Yb to create discrimination diagrams to determine the JH formational environment. Melt [Th]/[Y] was used to derive the SiO2 content of the parent melts of the JHZs using the calibration mentioned in [6]. There are two analyses with a derived SiO2 content of 99.5 and 91 wt. % which have not been plotted in Fig. 1. We might be dealing with an inclusion for which we did not account.  The melt values of Th, Y, Nb, Dy and Yb were derived using the partition coefficients experimentally derived (see next section for the experimental methods) and used in discrimination diagrams.  They were also compared to JH melt data derived from zircon data reported by [6].

TE/REE Partitioning experiments and measurements.

To augment the zircon-melt partition coefficients for trace and rare-earth elements reported by [34] who derived the same for anhydrous experiments conducted at 1300 °C and 1 atm in alkali-free melts – and used by [6] along with those of [61], to characterize JH parent melts – we conducted new zircon-melt experiments. The D-values have been listed in Table ST1 and compared in Fig. S6.

We measured zircon-melt partition coefficients of Sr, Nb, Th, Y, Dy and Yb, at 1300 °C and 1100 °C and 1 GPa, where the silicate melt was alkali- and H2O-bearing.  The temperature was chosen to be high enough to produce synthetic zircon crystals that are large enough to be measured by LA-ICP-MS. The experiments were designed with sufficient differences when compared to the study of [34]. We wanted to evaluate whether temperature, pressure, water, and alkali-content of the melt could yield different D values for the selected elements.

The starting mix for our experiments and the experimental details are given in Table ST5. All the elements were added as reagent grade oxides except for Al which was added as Al(OH)3 ; the SrO component was made in the lab by decarbonating SrCO3 at 1200 °C for 2 hours in a muffle furnace. We followed the same mix creating procedure and experimental assembly as in [7]. The experimental assembly was run by first pressurizing the assembly to 1 GPa, displayed on a 20cm Heise pressure gauge, and heated up to the temperature of interest at 100 °C/min. The temperature was monitored using a W75Re25 and W97Re3 thermocouple wire procured from Concept Alloys Inc. (with an accuracy of ±3 °C) encased in Al2O3. Once the experiment had run its course (48-168h.), the melt in the capsule was quenched by shutting off power to the instrument.

After the completion of each experiment, the capsule was sliced in half and mounted on a 1” epoxy round and polished using 1µm alumina powder and colloidal silica to be made ready for LA-ICP-MS measurements. We followed the same analytical procedures employed by [7] to analyze experimental zircons and glasses and used the same instrument that we did to measure the natural zircons. We collected 23Na, 27Al, 29Si, 88Sr, 89Y, 91Zr, 93Nb, 232Th, 164Dy and 172Yb for the zircons and added 27Al, 39K and 48Ca for the glasses.

Statistical tests

t-test comparisons between Hadean and Archean melt δ30Si values and the MORB reference (δ30Si = -0.27 ‰)

H0 (Null hypothesis): µH or µA = -0.27

Ha (Alternate hypothesis): µH or µA ≠ -0.27

Where, µH = Hadean mean value

µA = Archean mean value

For Hadean melts,		For Archean melts,

|  | δ30Si-Hadean |  |
| --- | --- | --- |
| Mean (µH) | -0.13 |  |
| Std. error | 0.03 |  |

|  | δ30Si-Archean |  |
| --- | --- | --- |
| Mean (µA) | -0.14 |  |
| Variance | 0.04 |  |

α = 0.05                                                                       α=0.05

Hypothesized mean = -0.27				Hypothesized mean = -0.27

t-statistic = 4.93					t-statistic = 3.05

P (t = 4.93) = 6.69 × 10-6				P (t = 3.05) = 0.004

Since P< α, Ha is accepted			Since P< α, Ha is accepted

z-test comparisons

Between Hadean and Archean melt values

For δ30Si and δ18O

H0 : µH = µA

Ha : µH ≠ µA

For δ30Si,		For δ18O,

|  | δ30Si-Hadean | δ30Si- Archean |
| --- | --- | --- |
| Mean | -0.13 | -0.14 |
| Variance | 0.05 | 0.10 |

|  | δ18O-Hadean | δ18O- Archean |
| --- | --- | --- |
| Mean | 7.72 | 7.70 |
| Variance | 0.40 | 0.77 |

α = 0.05                                                                       α = 0.05

z-statistic = 0.217					z-statistic = 0.179

P (z = 0.225) = 0.83					P (z= 1.102) = 0.86

Since P> α, H0 cannot be rejected			Since P> α, H0 cannot be rejected

Calibration equations used in the study

To derive SiO2 %: (ThY)melt=0.0269×(SiO2)melt-1.3169 (R2 = 0.9812) [6]

This equation was derived by regressing whole-rock data from over 40,000 analyses for rocks between 50-70 % SiO2. The calibration is unfiltered for age. [6] refrain from using an Archean-only dataset even though having a sample set that is as old as possible would be appropriate when creating a calibration that is to be applied to Hadean zircons. Since a lot of Archean terrain is TTGs, having an Archaean-only dataset would lead to a TTG-bias and TTGs might not be an appropriate parent melt for JHZs.

To derive Δ30Si: 1000lnαmelt-zrc 30/28Si=A×106T2K [19]

Where,	 A= -0.25×SiO2 %+0.01 – (1)

Data used to derive equation (1)

To derive Δ18O: 1000lnαWR-zrc 18/16O= 0.0612×SiO2 %-2.5[20]

Error calculations in the manuscript

σSilica %= σmelt Th/Y0.0269

Where, σmelt Th/Y= DYDTh* σThYZrc2+ThYZrc* σDYDTh2

Where, σDYDTh=DYDTh ×  σDYDY2+σDThDTh2

σδ30Simelt= (σΔ30Si)2+σδ30SiZrc2

Where, σΔ30Si=106T2(K) × σA2+ 2AσTT (K)2

Where, , σA= σSiO2(%) ×0.0081

σδ18Omelt= (0.0612 ×σSiO2(%))2+σδ18OZrc2

References not in the main document

- Paces, J. B. & Miller, J. D. Precise U-Pb Ages of Duluth Complex and Related Mafic Intrusions, Northeastern Minnesota - Geochronological Insights to Physical, Petrogenetic, Paleomagnetic, and Tectonomagmatic Processes Associated with the 1.1 Ga Midcontinent Rift System. J Geophys. Res.-Sol. Ea. 98, 13997-14013 (1993).

- Paton, C., Hellstrom, J., Paul, B., Woodhead, J. & Hergt, J. Iolite: Freeware for the visualisation and processing of mass spectrometric data. J. Anal. Atom. Spectrom. 26, 2508-2518 (2011).

- Trail, D., P. Boehnke, P. S. Savage, M.-C. Liu, M. L. Miller & I. Bindeman. Origin and significance of Si and O isotope heterogeneities in Phanerozoic, Archean, and Hadean zircon. Proc. Natl. Acad. Sci.115: 10287-10292 (2018).

- Kelemen, Peter et al., Leg 209 summary: processes in a 20-km-thick conductive boundary layer beneath the Mid-Atlantic Ridge, 14°–16°N. 10.2973/odp.proc.sr.209.001.2007. (2007).

- Georg, R. B., Reynolds, B. C., Frank, M. & Halliday, A. N. New sample preparation techniques for the determination of Si isotopic compositions using MC-ICPMS. Chem. Geol. 235, 95-104 (2006).

- Savage, P. S. & Moynier, F. Silicon isotopic variation in enstatite meteorites: Clues to their origin and Earth-forming material. Earth Planet. Sc. Lett. 361, 487-496 (2013).

- Wiedenbeck, M., et al., Further characterisation of the 91500 zircon crystal. Geostand. Geoanal. Res. 28, 9-39 (2004).

- Padilla, A. J. & Gualda, G. A. R. Crystal-melt elemental partitioning in silicic magmatic systems: An example from the Peach Spring Tuff high-silica rhyolite, Southwest USA. Chem. Geol. 440, 326-344 (2016).

- Ackerson, M. R., Trail, D. & Buettner, J. Emergence of peraluminous crustal magmas and implications for the early Earth. Geochem. Perspect. Let. 17, 50-54 (2021).

Acknowledgements We would like to thank Dr. Ming-Chang Liu for their help in collecting Si and O isotope data, and Jacob Buettner for his support while collecting U-Pb age data.  This work was supported by NSF EAR-1650033, and NASA PC3 grant 80NSSC19M0069.

Author Contributions The study was conceived of by DT and PSS. MM, DT, and WC participated in the stable isotope measurements and data reduction.  LA-ICP-MS measurements and data reduction was completed by WC with assistance from MM.  WC conducted the high T/P experiments and took measurements. The serpentinite analyses were done PSS.  WC wrote the manuscript with significant input from DT and PSS.

Competing Interests The authors declare no competing interests.

Additional information

Supplementary information Supplementary information is available for this paper

Correspondence and requests for materials should be addressed to Wriju Chowdhury.

Reprints and permissions information is available at www.nature.com/reprints