## spike
| BD55-1239/S6P(B.1.1.529) | BD55-3546/S6P(B.1.617.2) | BD55-5840/S6P(B.1.1.529) | BD55-3500/S6P(B.1.1.529) | BD55-3372/S6P(B.1.617.2) | BD55-4637/S6P(B.1.1.529) | BD55-3152/S6P(B.1.1.529) | BD55-3152/S2P(SARS-CoV) | BD55-5840/S6P(BA.2) | S6P(BA.2) Open | S6P(BA.2) Closed | S6P(BA.3) Closed | S6P(BA.4) Closed | S6P(BA.2.13) | S6P(BA.2.12.1) Closed
Data collection
Voltage (kV) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
Microscope | FEI Titan Krios G3i | FEI Titan Krios G3i | FEI Titan Krios G3i | FEI Titan Krios G3i | FEI Titan Krios G3i | FEI Titan Krios G3i | FEI Titan Krios G2 | FEI Titan Krios G2 | FEI Titan Krios | FEI Titan Krios | FEI Titan Krios | FEI Titan Krios | FEI Titan Krios | FEI Titan Krios | FEI Titan Krios
Camera | K3 (Gatan) | K3 (Gatan) | K3 (Gatan) | K3 (Gatan) | K3 (Gatan) | K3 (Gatan) | K2 (Gatan) | K2 (Gatan) | K3 (Gatan) | K3 (Gatan) | K3 (Gatan) | K2 (Gatan) | K2 (Gatan) | K3 (Gatan) | K3 (Gatan)
Magnification (calibrated) | 64,000X | 64,000X | 64,000X | 81,000X | 81,000X | 81,000X | 130,000X | 130,000X | 81,000X | 81,000X | 81,000X | 81,000X | 81,000X | 81,000X | 81,000X
Electron exposure (e–/Å2) | 50 | 50 | 50 | 59 | 59 | 59 | 50 | 50 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Exposure rate (e–/Å2/s) | 19.76 | 19.76 | 19.76 | 18.34 | 18.34 | 18.34 | 9.77 | 9.77 | 16.02 | 16.02 | 16.02 | 16.02 | 16.02 | 16.02 | 16.02
Number of frames collected per micrograph | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 32 | 32 | 32 | 32 | 32 | 32 | 32
Energy filter slit width | 20 eV | 20 eV | 20 eV | 20 eV | 20 eV | 20 eV | 20 eV | 20 eV | - | - | - | -
Automation software | EPU | EPU | EPU | EPU | EPU | EPU | SerialEM | SerialEM | SerialEM | SerialEM | SerialEM | SerialEM | SerialEM | SerialEM | SerialEM
Defocus range (μm) | –1.0 to –1.5 | –1.0 to –1.5 | –1.0 to –1.5 | –1.0 to –1.5 | –1.0 to –1.5 | –1.0 to –1.5 | –1.0 to –1.5 | –1.0 to –1.5 | –1.0 to –1.8 | –1.2 to –1.8 | –1.2 to –1.8 | –1.2 to –1.8 | –1.2 to –1.8 | –1.2 to –1.8 | –1.2 to –1.8
Pixel size (Å) | 1.08 | 1.08 | 1.08 | 1.07 | 1.07 | 1.07 | 1.04 | 1.04 | 1.07 | 1.07 | 1.07 | 1.04 | 1.04 | 1.07 | 1.07
Overall map processing
Micrographs used | 3552 | 3355 | 2765 | 3446 | 3795 | 3279 | 4518 | 3517 | 6608 | 3675 | 3675 | 3651 | 3625 | 3752 | 4683
Symmetry imposed | C1 | C1 | C1 | C1 | C1 | C1 | C1 | C1 | C1 | C1 | C3 | C3 | C3 | C1 | C1
Initial particle images | 1361413 | 1521547 | 511391 | 1358154 | 727044 | 1832719 | 1585792 | 1067449 | 3359149 | 1449818 | 1449818 | 953672 | 625843 | 1827318 | 1554387
Final particle images | 285686 | 303444 | 190432 | 95595 | 343234 | 192163 | 282833 | 222513 | 355445 | 167642 | 182332 | 185916 | 129691 | 346286 | 364517
Resolution at 0.143 FSC of masked reconstruction (Å) | 2.77 | 2.63 | 2.95 | 3.21 | 2.92 | 3.17 | 3.04 | 3.05 | 3.59 | 3.62 | 3.25 | 3.07 | 3.52 | 3.49 | 3.48
Map sharpening B factor (Å2) | –84.9 | –77.5 | –83.1 | -57 | -70.3 | -70.9 | -67.9 | -65 | -150.2 | -128.4 | -148.9 | -120.3 | -159 | -159 | -145.7
Local map processing
Final particle images | 285686 | 303444 | 190432 | 95595 | 343234 | 192163 | 282833 | 222513 | - | - | - | 85941
Resolution at 0.143 FSC of masked reconstruction (Å) | 3.51 | 3.28 | 3.26 | 3.87 | 3.43 | 4.08 | 3.5 | 3.24 | - | - | - | 3.72
Map sharpening B factor (Å2) | -99.7 | -107.7 | -86.8 | -118 | -87.5 | -159 | -104.7 | -74.4 | - | - | - | -124.4
Local map refinement
Initial model used (PDB code) | 7E8F | 7E8F | 7E8F | 7E8F | 7E8F | 7E8F | 7E8F | 7E8F | 7WEE | 7XIW | 7XIX | 7XIY,7XYZ
Refinement package | Phenix v1.18 | Phenix v1.18 | Phenix v1.18 | Phenix v1.18 | Phenix v1.18 | Phenix v1.18 | Phenix v1.18 | Phenix v1.18 | Phenix v1.18 | Phenix v1.18 | Phenix v1.18 | Phenix v1.18 | Phenix v1.19 | Phenix v1.19 | Phenix v1.19
Model composition
Non-hydrogen atoms | 3251 | 3267 | 3270 | 3306 | 3179 | 3289 | 3286 | 3266 | 31907 | 26663 | 26586 | 26119 | 26463 | 26460 | 26595
Protein residues | 419 | 413 | 414 | 413 | 412 | 418 | 417 | 411 | 3994 | 3310 | 3285 | 3255 | 3267 | 3285 | 3285
Ligands | 0 | BMA:1 | 0 | NAG:2 | 0 | NAG:2 | FUC:1 | FUC:1,BMA:1 | NAG:56 | NAG:56 | NAG:66 | NAG:47 | NAG:69 | NAG:57 | NAG:66
|  | NAG:2 |  |  |  |  | NAG:2 | NAG:3
R.m.s. deviations
Bond lengths (Å) | 0.006 | 0.005 | 0.003 | 0.008 | 0.007 | 0.009 | 0.008 | 0.005 | 0.002 | 0.004 | 0.003 | 0.005 | 0.002 | 0.004 | 0.004
Bond angles (°) | 1.026 | 0.897 | 0.625 | 1.342 | 1.009 | 1.306 | 1.124 | 0.934 | 0.539 | 0.946 | 0.563 | 0.83 | 0.544 | 0.592 | 0.603
B factors (Å2)
Protein | 137.39 | 97.53 | 77.44 | 129.14 | 109.61 | 127.13 | 44.17 | 43.14 | 105.64 | 96.62 | 34.56 | 92.02 | 120.03 | 63.98 | 90.06
Ligands | N/A | 71.74 | 58.97 | 97.05 | N/A | 151.62 | 31.14 | 31.14 | 108.2 | 114.31 | N/A | 102.37 | 130.55 | 90.98 | 125.16
Validation
MolProbity score | 1.94 | 1.5 | 1.78 | 1.93 | 1.83 | 2.21 | 1.9 | 1.69 | 1.8 | 1.8 | 1.69 | 1.81 | 1.93 | 1.92 | 1.68
Clashscore | 5.68 | 2.81 | 6.9 | 6.64 | 7.1 | 12.35 | 5.44 | 3.61 | 6.77 | 6.66 | 5.94 | 5.82 | 10.44 | 8.67 | 6.38
Poor rotamers (%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03 | 0 | 0.28 | 0.04 | 0 | 0
Ramachandran plot
Favored (%) | 86.62 | 93.33 | 94.09 | 89.58 | 93.1 | 87.8 | 87.53 | 90.37 | 93.39 | 93.32 | 94.61 | 91.97 | 94.2 | 92.78 | 95.26
Allowed (%) | 13.38 | 6.67 | 5.91 | 10.42 | 6.9 | 11.46 | 12.47 | 9.63 | 6.28 | 6.29 | 5.39 | 7.69 | 5.8 | 7.22 | 4.74
Disallowed (%) | 0 | 0 | 0 | 0 | 0 | 0.73 | 0 | 0 | 0.33 | 0.39 | 0 | 0.34 | 0 | 0 | 0
Cb outliers (%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CaBLAM outliers (%) | 6.25 | 2.77 | 4.02 | 4.07 | 2.25 | 6.97 | 5.74 | 6.52 | 4.98 | 5.16 | 3.45 | 6.12 | 3.88 | 4.22 | 3.66

## antibody
| BD55-1239/S6P(B.1.1.529) | BD55-5840/S6P(B.1.1.529) | BD55-3372/S6P(B.1.617.2) | BD55-3152/S6P(B.1.1.529) | BD55-5840/S6P(BA.2)
Data collection
Voltage (kV) | 300 | 300 | 300 | 300 | 300
Microscope | FEI Titan Krios G3i | FEI Titan Krios G3i | FEI Titan Krios G3i | FEI Titan Krios G2 | FEI Titan Krios
Camera | K3 (Gatan) | K3 (Gatan) | K3 (Gatan) | K2 (Gatan) | K3 (Gatan)
Magnification (calibrated) | 64,000X | 64,000X | 81,000X | 130,000X | 81,000X
Electron exposure (e–/Å2) | 50 | 50 | 59 | 50 | 60
Exposure rate (e–/Å2/s) | 19.76 | 19.76 | 18.34 | 9.77 | 16.02
Number of frames collected per micrograph | 40 | 40 | 40 | 40 | 32
Energy filter slit width | 20 eV | 20 eV | 20 eV | 20 eV | -
Automation software | EPU | EPU | EPU | SerialEM | SerialEM
Defocus range (μm) | –1.0 to –1.5 | –1.0 to –1.5 | –1.0 to –1.5 | –1.0 to –1.5 | –1.0 to –1.8
Pixel size (Å) | 1.08 | 1.08 | 1.07 | 1.04 | 1.07
Overall map processing
Micrographs used | 3552 | 2765 | 3795 | 4518 | 6608
Symmetry imposed | C1 | C1 | C1 | C1 | C1
Initial particle images | 1361413 | 511391 | 727044 | 1585792 | 3359149
Final particle images | 285686 | 190432 | 343234 | 282833 | 355445
Resolution at 0.143 FSC of masked reconstruction (Å) | 2.77 | 2.95 | 2.92 | 3.04 | 3.59
Map sharpening B factor (Å2) | –84.9 | –83.1 | -70.3 | -67.9 | -150.2
Local map processing
Final particle images | 285686 | 190432 | 343234 | 282833 | -
Resolution at 0.143 FSC of masked reconstruction (Å) | 3.51 | 3.26 | 3.43 | 3.5 | -
Map sharpening B factor (Å2) | -99.7 | -86.8 | -87.5 | -104.7 | -
Local map refinement
Initial model used (PDB code) | 7E8F | 7E8F | 7E8F | 7E8F | 7WEE
Refinement package | Phenix v1.18 | Phenix v1.18 | Phenix v1.18 | Phenix v1.18 | Phenix v1.18
Model composition
Non-hydrogen atoms | 3251 | 3270 | 3179 | 3286 | 31907
Protein residues | 419 | 414 | 412 | 417 | 3994
Ligands | 0 | 0 | 0 | FUC:1 | NAG:56
NAG:2
R.m.s. deviations
Bond lengths (Å) | 0.006 | 0.003 | 0.007 | 0.008 | 0.002
Bond angles (°) | 1.026 | 0.625 | 1.009 | 1.124 | 0.539
B factors (Å2)
Protein | 137.39 | 77.44 | 109.61 | 44.17 | 105.64
Ligands | N/A | 58.97 | N/A | 31.14 | 108.2
Validation
MolProbity score | 1.94 | 1.78 | 1.83 | 1.9 | 1.8
Clashscore | 5.68 | 6.9 | 7.1 | 5.44 | 6.77
Poor rotamers (%) | 0 | 0 | 0 | 0 | 0
Ramachandran plot
Favored (%) | 86.62 | 94.09 | 93.1 | 87.53 | 93.39
Allowed (%) | 13.38 | 5.91 | 6.9 | 12.47 | 6.28
Disallowed (%) | 0 | 0 | 0 | 0 | 0.33
Cb outliers (%) | 0 | 0 | 0 | 0 | 0
CaBLAM outliers (%) | 6.25 | 4.02 | 2.25 | 5.74 | 4.98