Supplementary Materials for

High Resolution Cryo-TEM Structure of Fiber-like Micelles with a Crystalline Core

Jia Tian,1,5 Song-Hai Xie,3 Ufuk Borucu4, Shixing Lei,1 Yifan Zhang,1 and Ian Manners1,2*

Affiliations:

*Correspondence to: imanners@uvic.ca

This PDF file includes:

Materials and Methods

Polymer Synthesis and Characterization

Block Copolymer Self-Assembly

Supplementary Figs. 1 to 17

References

# Materials and Methods

All reagents and solvents used for polymers syntheses were of reagent grade unless otherwise stated were used as received. Solvents for self-assembly were of HPLC grade and filtered using 0.2 µm syringe filters prior to use.

Nuclear magnetic resonance (NMR)

1H NMR spectra were recorded using Varian VNMR 400 MHz and JEOL ECS 400 MHz instruments. Chemical shifts are given in ppm and referenced to the residual protio solvent peaks as internal standards.

Gel permeation chromatography (GPC)

GPC was performed on a Viscotek GPCmax chromatograph using THF containing [n-Bu4N]Br (0.1% w/w) as the eluent at a flow rate of 1 mL/min. Samples were prepared at 1 mg/mL in the eluent and filtered using Ministart SRP 15 polytetrafluoroethylene membrane filters (0.45 µm pore size). Fractionation was achieved using two T5000 columns (Malvern, UK) at a temperature of 35C. The molecular weights were calculated based on signals from refractive index (RI) detectors, and using a calibration curve prepared from nine monodisperse polystyrene standards (2,330 – 994,000 g mol-1).

Atomic-force microscopy (AFM)

AFM analyses were performed in ambient conditions using a Bruker Multimode VIII atomic force microscope equipped with a ScanAsyst-HR fast scanning module and a ScanAsyst-Air-HR probe (tip radius, 2 nm), utilizing peak force feedback control. Samples for AFM were prepared by drop casting 7 µL of micelle colloidal solution onto ultra-flat silicon wafer from Electron Microscopy Sciences before drying with a gentle stream of nitrogen.

X-ray diffraction

X-ray diffraction for structural analysis was carried out on an AXS D8 Discover (Bruker) diffractometer with a Si low background sample holder, equipped with a LynxEye strip detector and a Ge (111) focusing monochromator, providing CuKα1 (λ = 1.5406 Å) radiation. Reciprocal space maps were collected with a Pixcel 3D detector on an Empyrean diffractometer (Panalytical) equipped with a Cu Kα1 (λ = 1.5406 Å) source powered at 45 kV and 40 mA, and a primary Barthels monochromator.

Cryo-TEM image analysis using DigitalMicrograph

The cryo-TEM image analysis were performed using the Gatan DigitalMicrograph software (Gatan Inc. ver 2.3.1, 64bit free). A typical procedure to obtain the lattice spacing of PFS core or the adjacent strand distance of P4VP corona was described briefly below: (1) a high resolution cryo-TEM image was calibrated according to the known length of the scale bar; (2) a specific region of interest was selected in the image and a fast Fourier transform (FFT) was processed to obtain the reflection points of ordered structures; (3) a spot or an array was applied on the reflection points to remove the noise signals, and then a filtered FFT pattern was obtained; (4) the “Inverse FFT” function was applied to the filtered FFT pattern to obtain a computational simulation of the ordered structure; (5) the line profile of the simulated pattern was analyzed to give the lattice spacing of the PFS core or the adjacent strand distance of the P4VP corona.

Polymer Synthesis and Characterization

The synthesis of PFS24 and PFS24-b-P4VP192 has been reported1 and is not described here.

Synthesis of P4VP173 homopolymer

To a solution of PMVS173 homopolymer (100 mg, 6.0 μmol) in dry THF (2 mL) in a Schlenk flask, PMVS173 homopolymer was synthesized according to the reported procedure,2 2,2-dimethoxy-2-phenylacetophenone (DMPA) (2.0 mg, 7.8 μmol) and 4-pyridylethylmercaptan (321 mg, 2.3 mmol) was added under N2 atmosphere. After freeze-pump-thaw three times, the reaction mixture was irradiated by Luzchem LZC-ICH2 photoreactor with 16 UV lamps centered at approx. 350nm (8 Watt each) for 3 h at 23 °C. The reaction solution was dried and washed by diethyl ether (5 × 30 mL). The product was dried under vacuo to afford the polymer as a transparent viscous oil (214 mg, 84%). 1H NMR (500 MHz, Chloroform-d): δ 8.48 (d, 346H, PyH), 7.16 – 6.89 (m, 346H, PyH), 2.85 – 2.52 (m, 1039H, CH2-S-CH2-CH2), 0.87 (t, 346H, CH3Si-CH2CH2-S), 0.57 (d, 2H, CH3CH2CH2CH2-Si), 0.49 (d, 3H, CH3CH2CH2CH2-Si), 0.11 (s, 520H, CH3Si-CH2CH2-S). GPC (1% v/v Triethylamine/THF, PS standard): Mn = 63,430 g/mol, PDI = 1.28.

Block Copolymer Self-Assembly

Preparation of polydisperse nanofibers from PFS24-b-P4VP192

To 0.2 mL of a solution of PFS24-b-P4VP192 copolymer (2.0 mg/mL in THF) was dropwise added 1.8 ml of isopropanol (IPA), resulting in a solution with a final concentration of 0.2 mg/ml (THF/IPA = 1:9). This was then shaken by a vortex agitator for 10 s and aged for 24 h at 23 °C to yield the polydisperse PFS24-b-P4VP192 nanofibers (Supplementary Fig. 3).

Preparation of seed micelles of PFS24-b-P4VP192

A solution of polydisperse PFS24-b-P4VP192 micelles (0.2 mg/mL, THF:IPA =1:9) was sonicated at 0 °C for 2.5 h (five 30-min periods) using an ultrasonic bath (Bandelin Sonorex Digitec DT 225H, 35 kHz, 160 W output). The solution was then aged at 23 °C for 24 h. This resulted in monodisperse seeds micelles (Ln = 29 nm, Lw/Ln = 1.09) (Supplementary Fig. 4b).

Formation of length-controlled PFS24-b-P4VP192 nanofibers by seeded growth

A specified amount of the solution of the seed micelles derived from PFS24-b-P4VP192 with an average length of 29 nm (100 μL, 50 μL, 33.3 μL, 25 μL, 16.7 μL, 0.2 mg/mL) was firstly diluted by isopropanol to 0.9 mL in a screw-cap vial. After the solution was manually shaken for a few seconds, PFS24-b-P4VP192 in THF (100 μL, 1 mg/ml) was quickly added, followed by manual shaking for another 20 s. The solutions were then allowed to age at 23 °C for 1 day resulting in solutions of PFS24-b-P4VP192 nanofibers of various lengths (Supplementary Fig. 4).

Supplementary Fig. 1. 1H NMR spectrum of the “P4VP173” homopolymer (a polysiloxane with grafted P4VP groups) in CDCl3. By comparing the proton integrals of CH3 of the n-Bu group (δ = 0.49 ppm, integration of 3.00) to the unique protons g (δ = 8.48 ppm, integration of 346.18) on the pyridine units, the degree of polymerization (DP) of the P4VP was estimated to be 173.

Supplementary Fig. 2. GPC chromatograms of P4VP173 using a refractive index detector and THF containing Triethylamine (1% v/v) as the eluent.

Supplementary Fig. 3. TEM image of polydisperse PFS24-b-P4VP192 nanofibers formed by homogeneous nucleation in THF: IPA (1:9) over 24 h at 23°C after solvent evaporation.

Supplementary Fig. 4. Uniform nanofibers of controlled length prepared by seeded growth of PFS24-b-P4VP192. (a) Schematic representation of the generation of length-controlled PFS24-b-P4VP192 nanofibers by seeded growth. (b) TEM images of uniform PFS24-b-P4VP192 seed micelles (Ln = 29 nm). TEM images of PFS24-b-P4VP192 nanofibers with (c) munimer/mseed values of 5:1 (Ln = 199 nm), (d) 10:1 (Ln = 381 nm), (e) 15:1 (Ln = 555 nm), (f) 20:1 (Ln = 759 nm), (g) 30:1 (Ln = 1096 nm). Further details are given in Supplementary Fig. 5. (h) Dependence of the Ln on munimer/mseeds.

Supplementary Fig. 5. Contour length distributions for PFS24-b-P4VP192 nanofibers of controlled length (PDI = Lw/Ln; standard deviation = ).

Supplementary Fig. 6. AFM images of (a) nanofibers (Ln= 759 nm, ÐL = 1.03) and (b) seeds (Ln= 29 nm, ÐL = 1.09) of PFS24-b-P4VP192 and the AFM height profiles of (c) nanofibers and (d) seeds of PFS24-b-P4VP192. The ultra-flat silicon wafers were used as substrate for sample preparation. (e) Graphical representation of a nanofiber of PFS24-b-P4VP192 on a ultra-flat silicon wafer substrate. The much larger overall width (~83 nm) for the nanofibers was observed by AFM in (c) compared to that (~62 nm) determined by cryo-TEM (Fig. 2b) is believed to be caused by image drift during the movement of AFM probe. Widths measurements are often subject to significant errors in AFM experiments.

Supplementary Fig. 7. (a) A schematic model to display three possible orientations of the seeds in the frozen IPA solution (i, ii and, iii) of PFS24-b-P4VP192 seed micelles in the Cryo-TEM experiments. (b) The Cryo-TEM images of the seed micelles of PFS24-b-P4VP192 (Ln = 29 nm, Lw/Ln = 1.09) in frozen isopropanol on an ultra-thin (< 3 nm) supported carbon film. It was difficult to observe the corona domain of the seed micelles as the contrast is low with respect to the supported carbon film. As the TEM images are projections of the PFS24-b-P4VP192 seed micelles the goniometer (stage) tilt angle was optimized to provide the cross-section of seed-2 and seed-3 in orientation (iii). The results gave an oval shape for the PFS core cross-section (major axis = ca. 9.1 nm and a minor axis = ca. 7.9 nm).

Supplementary Fig. 8. (a) A schematic of the formation of PFS24-b-P4VP192 nanofibers by seeded growth. (b) The Cryo-TEM images of the PFS24-b-P4VP192nanofibers (Ln= 759 nm, ÐL = 1.03) in frozen isopropanol.

Supplementary Fig. 9. (a) Contrast-enhanced cryo-TEM image of the PFS24-b-P4VP192 nanofiber (Ln= 759 nm, ÐL = 1.03) in solution of isopropanol. (b) The color-inverted image of (a).

Supplementary Fig. 10. (a) Model of the nanofiber (left) and corona (right) to show the gap between two strands of corona-forming block of PFS24-b-P4VP192. (b) High resolution cryo-TEM images of PFS24-b-P4VP192 nanofibers (Ln= 759 nm, ÐL = 1.03 in a frozen solution of isopropanol at ~90 K. Right: Magnified image with a selected coronal area highlighted by yellow. Inset: FFT image of the selected square-area highlighted by dashed line. (c) Inverse-FFT image obtained from the selected square area in (b) to display the gap between two strands of the P4VP corona-forming block. Inset: FFT pattern of (c). (d) Intensity profile obtained from the yellow highlighted area in (c) to measure the gap between two strands of the corona-forming block of PFS24-b-P4VP192. The corresponding area was also highlighted in (b).

Supplementary Fig. 11. (a) The chemical structure of PFS24-b-P4VP192 in this study. (b) The fully-extended chain length demonstrated by modeling of P4VP192 homopolymer. (c) The energy-minimized model of the monomer of P4VP192 homopolymer. (d) A cross-section view, (e) a perspective view and (f) a side-on view of the P4VP192 corona strand based on the simulated model of the P4VP192 corona chain. (Atom coloring: gray = C, white = H, red = O, blue = N, yellow = S, dark yellow = Si).

Supplementary Fig. 12. (a) The simulated model of P4VP corona chains of PFS24-b-P4VP192 nanofibers (b) X-ray diffraction profiles of a powder sample of PFS24-b-P4VP192 block copolymer in the bulk state (black line), a PFS24-b-P4VP192 nanofiber film prepared by drop-casting the nanofibers (Ln= 759 nm, ÐL = 1.03) in isopropanol solution (80 mg/mL) on a low-background Si wafer substrate (red line), and a solution of PFS24-b-P4VP192 nanofibers in isopropanol (80 mg/mL) (blue line).

Supplementary Fig. 13. X-ray diffraction profiles of PFS24 and P4VP173 homopolymers. A powder sample of PFS24 (black line) and a viscous fluid sample of P4VP173 (red line) were studied in the bulk state on a low-background Si wafer substrate.

Supplementary Fig. 14. An overview of cryo-TEM sample preparation and an illustration of the orientation of the selected PFS24-b-P4VP192 nanofibers within the thin layer of vitreous isopropanol. The corona chains are included here for completeness, and their depiction is not intended to represent their likely arrangement relative to the PFS chains in the core or in 3D space in the frozen solution.

Supplementary Fig. 15. (a) The chemical structure of the linear pentamer of PFS.3 (b) Pseudo-hexagonal packing viewed parallel to the linear pentamer chains in the crystal lattice of the linear pentamer of PFS.3

Supplementary Fig. 16. (a) High-resolution Cryo-TEM image of a selected nanofiber (Ln= 759 nm, ÐL = 1.03) of PFS24-b-P4VP192 in a frozen solution of isopropanol displaying a highly-ordered core with measurements of the lattice distances.  (b) FFT image obtained from (a) showing the hexagonal pattern with labels of the lattice space of the PFS core of the PFS24-b-P4VP192 nanofibers. (c) The simulated lattice created by inverse-FFT with an mask applied on the reflection points of the pattern in (b). (Inset: FFT pattern of the simulated lattice). The PFS polymer chains in the core region are oriented perpendicular to the horizontal plane of the image. (d) The proposed PFS chains in the core of PFS24-b-P4VP192 nanofibers that are packed in a 2D lattice with pseudo-hexagonal symmetry, perpendicular to the growth direction of the nanofiber (long axis of the nanofiber). The lattice parameters from (a) and (b) are labeled on the model structure of the PFS core.

Supplementary Fig. 17. (a) High-resolution Cryo-TEM of PFS24-b-P4VP192 nanofibers (Ln= 759 nm, ÐL = 1.03) in a frozen solution of isopropanol displaying a highly-ordered core. The PFS polymer chains in the core region are arranged perpendicular to the horizontal plane of the image. (b) A proposed modeling of the cross-section perpendicular to the long axis of PFS24-b-P4VP192 nanofibers. (c) Magnified image of the selected area of (b) and measurements of lattice distances. The PFS polymer chains in the core region are arranged perpendicular to the horizontal plane of the image. The coronal chains shown in (b) actually emanate perpendicular to the plane of the figure from the PFS chain termini at the core surface (as described in Figure 4).

References

1	Tian, J. et al. Tailored self-assembled photocatalytic nanofibres for visible-light-driven hydrogen production. Nat. Chem. 12, 1150-1156 (2020).

2	Boehm, P., Mondeshki, M. & Frey, H. Polysiloxane-Backbone Block Copolymers in a One-Pot Synthesis: A Silicone Platform for Facile Functionalization. Macromol. Rapid Commun. 33, 1861-1867 (2012).

3	Rulkens, R. et al. Linear Oligo(ferrocenyldimethylsilanes) with between Two and Nine Ferrocene Units:  Electrochemical and Structural Models for Poly(ferrocenylsilane) High Polymers. J. Am. Chem. Soc. 118, 12683-12695 (1996).