Supplementary Materials and Methods

### Preparation of purified, high-titer phage stocks

### Preparation of purified, high-titer phage stocks was based on Bonilla and Barr (2016)’s “Phage on tap” protocol. The bacterial host was incubated overnight in ~25 mL of nutrient broth (ATCC Medium 129) at 37C for E. coli, 25C for P. syringae, and shaking at 80 RPM for both. A ~20-mL aliquot of the overnight culture was spiked into 250 mL of nutrient broth and incubated at the same conditions for 1 hour, after which 200 L of phage stock (~108 phage/mL) was added. The mixture was left for 5 hours at the same incubation conditions, then stored overnight at 4C. The next day, the mixture was aliquoted into sterile 50-mL Falcon tubes. Tubes were centrifuged at 3,200 rcf for 20 minutes, after which the supernatant was removed and passed through an 0.2 m syringe filter. For φ6, the supernatants were immediately combined. For T4, an additional bacterial lysis step was performed: 0.1 volume of chloroform was added to each tube, tubes were incubated for 10 minutes at room temperature, tubes were centrifuged at 3,200 rcf for 5 minutes, and the resulting supernatants were then combined. The combined supernatants were concentrated by transferring 15 mL of solution at a time to the upper reservoir of a 100 kDa Amicon® Ultra-15 Centrifugal Filter Unit and centrifuging at 3,200 rcf for 5 minutes. A wash step was performed by adding an additional 15 mL of Tris-EDTA (TE) buffer to the upper reservoir. The washed retentate was then reserved.

### Phage stock quantification via plate-based culturing

### 100 mm x 15 mm plates were prepared with 15 mL of nutrient agar (ATCC Medium 129) each, and glass tubes were prepared with 7 mL of soft agar “stabs”; plates and stabs were stored at 4C. 10x dilutions of the phage stocks were prepared in TE buffer, and overnight host cultures were prepared as described above. During plating, plates were allowed to come to room temperature, and stabs were melted in a 100C water bath for at least 2 hours. Stabs were immersed in room-temperature water until cool to touch, after which 200 L of host and 100 L of stock dilution were immediately added. Stabs were vortexed gently, poured onto plates, allowed to set at room temperature, and incubated at temperature overnight without shaking. Three replicates of each dilution were plated. Stock titers were determined as plaque-forming units (PFU)/mL by counting visually distinct plaques, averaging replicate results, and performing appropriate back-calculations.

### Phage stock quantification via qPCR/RT-qPCR

We diluted the initial stocks to an appropriate concentration in TE buffer, then extracted the diluted stock using the PureLinkTM Viral RNA/DNA Mini Kit (InvitrogenTM), per the manufacturer’s instructions but without the use of carrier RNA. Extracts were then analyzed using qPCR for the DNA phage T4 and one-step RT-qPCR for the RNA phage φ6. qPCR/RT-qPCR amplifications were performed on StepOnePlus qPCR thermocyclers (Applied Biosystems). For the T4 qPCR assay, each 12-L reaction contained the following components: 0.5 M forward and reverse primers, 0.2 M probe, 0.48 L RNAse-free water, 6 L TaqMan Universal PCR Master Mix (Applied Biosystems), and 5 L sample extract. For the φ6 RT-qPCR assay, each 25-L reaction contained the following components: 1 M forward and reverse primers, 0.15 M probe, 0.625 L bovine serum albumin (BSA; 25 mg/mL), 12.5 L RNAse-free water, 2.5 L 10x Multiplex Enzyme Mix from the Path-IDTM Multiplex One-Step Kit (Applied Biosystems), 12.5 L of 2x Multiplex RT-PCR Buffer from the Path-IDTM kit, and 5 L sample extract. Mastermix preparation and plating were carried out in a separate location from sample loading to avoid contamination. Each stock was assayed in triplicate, and titers were determined as gene copies (gc)/mL using six-point standard curves constructed from serially diluted plasmids. Table S8 summarizes primers, probes, and cycling conditions for the two qPCR assays performed as part of this work and Table S9 details the master standard curves used for each target.

Figure S1. Graphical comparison of optimization results for glutaraldehyde-treated runs in the T4 optimization. Shaded red region denotes one standard deviation of average.

Supplementary figures

Figure S2. Illustration of pitfalls of setting a single global threshold to extract clusters from OPTICS-ordered data. For samples containing clusters of varying densities, setting a single global threshold results in either missed clusters (top plot) and/or noise points incorrectly categorized as clusters (bottom plot).

Figure S3. Two options for extracting clusters from OPTICS-ordered data. In manual extraction (A), clusters are designated by selecting “knees” in the reachability plot curves through visual inspection. In opticskxi-based extraction (B), an algorithm defines up to x (a user-defined parameter) clusters by searching for “steep up” and “steep down” regions of the reachability plot—regions identified by examining the relative reachability distances between consecutive points.

Figure S4. Representative plots showing output from manual identification/extraction of clusters from OPTICS-ordered data collected from environmental-spike experiments, not including the FSC dimension. Cluster colors are not necessarily consistent across plots. Some clusters are not visually apparent on the scatterplots because they include low-SSC points collapsed onto the y-axis.

Figure S5. Representative plots showing output from opticskxi-based identification/extraction of clusters from the same OPTICS-ordered data shown in Figure S4. Cluster colors are not necessarily consistent across plots.

Supplementary tables

Table S1. Main and two-way effects estimation from optimization experiments.

| Factor | All runs |  |  | Glutaraldehyde-treated runs |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Effect on total event count (p-value) | Effect on MFI (p-value) | Effect on FITC CV (p-value) | Effect on target event count (p-value) | Effect on MFI (p-value) | Effect on FITC CV (p-value) |
| Glutaraldehyde | 65,402 (0.000)*** | 360 (0.000)*** | -9.0 (0.000)*** | — | — | — |
| Staining temperature | 868 (0.696) | -47 (0.058)† | 0.0 (0.988) | -1,860 (0.570) | -38 (0.635) | -2.7 (0.000)*** |
| Stain type | 10,330 (0.000)*** | 14 (0.568) | 5.9 (0.000)*** | 4,576 (0.169) | -116 (0.156) | 1.5 (0.011)* |
| Staining time | -3,040 (0.175) | 13 (0.597) | -1.9 (0.005)** | -3,286 (0.319) | -11 (0.890) | -1.2 (0.044)* |
| Stain concentration | -3,052 (0.173) | -54 (0.029)* | -0.5 (0.441) | 2,325 (0.478) | -64 (0.424) | 1.8 (0.004)** |
| Diluent | 1,999 (0.370) | 64 (0.010)* | -1.2 (0.059)** | -7,807 (0.023)* | 122 (0.135) | -4.4 (0.000)*** |
| Glutaraldehyde/ Staining temperature | -5,290 (0.020)* | 62 (0.013)* | -2.3 (0.001)*** | — | — | — |
| Glutaraldehyde/ Stain type | -1,924 (0.388) | 28 (0.258)* | -2.6 (0.000)*** | — | — | — |
| Glutaraldehyde/ Stain time | -320 (0.885) | 51 (0.039)* | 0.3 (0.632) | — | — | — |
| Glutaraldehyde/ Stain concentration | 624 (0.778) | -84 (0.001)*** | 0.5 (0.447) | — | — | — |
| Glutaraldehyde/ Diluent | -3,895 (0.084) | 113 (0.000)*** | -0.8 (0.205) | — | — | — |
| Staining temperature/ Staining time | -428 (0.847) | 2 (0.938) | -0.3 (0.639) | -2,309 (0.481) | -56 (0.485) | -0.8 (0.173) |
| Staining temperature/ Diluent | -181 (0.935) | 3 (0.886) | -0.4 (0.555) | -2,734 (0.405) | 85 (0.293) | 0.1 (0.888) |
| Significance levels: † = 0.05–0.1; * = 0.01–0.05; ** = 0.001–0.01; *** = 0–0.001 |  |  |  |  |  |  |

Table S2. Expected event counts for targets in mixed-target and environmental-spike experiments, per effective volume (10 L) analyzed via FCM.

| Target | Approximate expected event counts |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Mixed target |  |  |  |  | Environmental spike |  |
|  | 1x | 2x | 4x | 8x | 16x | Positive | Negative |
| φ6* | 100,000 | 50,000 | 25,000 | 12,500 | 6,250 | – | – |
| T4* | 20,000 | 10,000 | 5,000 | 2,500 | 2,500 | 20,000 | – |
| 0.2 m beads** | 20,000 | 10,000 | 5,000 | 2,500 | 1,250 | 20,000 | 20,000 |
| 0.5 m beads** | 40,000 | 20,000 | 10,000 | 5,000 | 625 | – | – |
| 0.8 m beads** | 80,000 | 80,000 | 80,000 | 80,000 | 80,000 | 80,000 | 80,000 |
| * Based on qPCR titer; ** Based on manufacturer-provided bead concentration |  |  |  |  |  |  |  |

| Table S3. Comparison of results from different clustering approaches applied to mixed-target FCM data. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Bucket | Clustering approach | Average event count by dilution (standard deviation) |  |  |  |  |
|  |  | 1x | 2x | 4x | 8x | 16x |
| Viruses (T4 + φ6 + VLPs) | MG | 29,209 (2,124) | 9,677 (467) | 4,466 (153) | 3,313 (160) | 952 (82) |
|  | O:ME | 12,291 (1,866) | 1,973 (1,727) | 591 (673) | 729 (440) | 0 (–) |
|  | O:kxi | 26,432 (1,738) | 8,409 (516) | 3,187 (344) | 2,573 (237) | 51 (162) |
| 0.2 m beads | MG | 105,224 (4,191) | 55,563 (2,589) | 29,325 (725) | 15,393 (641) | 9,115 (382) |
|  | O:ME | 89,204 (5,604) | 46,821 (2,777) | 25,180 (2,172) | 12,459 (3,525) | 4,990 (502) |
|  | O:kxi | 96,874 (6,284) | 50,992 (2,148) | 27,235 (440) | 14,108 (660) | 8,005 (732) |
| 0.5 m beads | MG | 99,845 (4,167) | 52,933 (2,429) | 27,925 (732) | 15,225 (537) | 6,363 (283) |
|  | O:ME | 94,462 (3,901) | 50,640 (2,667) | 26,022 (940) | 13,851 (557) | 4,953 (439) |
|  | O:kxi | 100,249 (4,526) | 53,040 (2,467) | 28,022 (652) | 15,199 (542) | 6,509 (702) |
| 0.8 m beads | MG | 67,433 (2,755) | 48,199 (2,190) | 61,898 (1,488) | 54,264 (2,141) | 62,755 (2,853) |
|  | O:ME | 63,818 (2,513) | 46,438 (2,128) | 60,642 (1,968) | 53,339 (2,195) | 62,224 (2,897) |
|  | O:kxi | 79,279 (3,058) | 48,993 (2,395) | 63,197 (1,761) | 55,281 (2,158) | 63,832 (2,839) |
| MG = manual gating; O:ME = OPTICS: manual extraction; O:kxi = OPTICS: kxi-based extraction |  |  |  |  |  |  |

| Table S4. Results from application of manual gating to environmental-spike FCM data. |  |  |
| --- | --- | --- |
| Gate | Average event count by sample (standard deviation) |  |
|  | Positive | Negative |
| T4 | 31,203 (1,871) | 9,017 (1,104) |
| 0.2 m beads | 94,700 (3,308) | 95,073 (1,925) |
| 0.8 m beads | 66,742 (2,405) | 66,732 (1,619) |

| Table S5. Approximate positive phage stock titers determined by different methods. |  |  |
| --- | --- | --- |
|  | T4 | φ6 |
| Plate-based culturing (PFU/mL) | 107–108 | 109–1010 |
| qPCR/RT-qPCR (gc/mL) | 108–109 | 1010–1011 |

165

| Table S6. Experiments included in fractional factorial design for staining optimization. Factor levels are detailed in Table 1. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Aliases | A | B | C | D | E | F |  |
| Factors | Glutaraldehyde | Staining temperature | Stain type | Staining time | Stain concentration | Diluent |  |
| Run order | Factor levels |  |  |  |  |  |  |
| 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |
| 2 | 2 | 1 | 1 | 1 | 2 | 1 |  |
| 3 | 1 | 2 | 1 | 1 | 2 | 2 |  |
| 4 | 2 | 2 | 1 | 1 | 1 | 2 |  |
| 5 | 1 | 1 | 2 | 1 | 2 | 2 |  |
| 6 | 2 | 1 | 2 | 1 | 1 | 2 |  |
| 7 | 1 | 2 | 2 | 1 | 1 | 1 |  |
| 8 | 2 | 2 | 2 | 1 | 2 | 1 |  |
| 9 | 1 | 1 | 1 | 2 | 1 | 2 |  |
| 10 | 2 | 1 | 1 | 2 | 2 | 2 |  |
| 11 | 1 | 2 | 1 | 2 | 2 | 1 |  |
| 12 | 2 | 2 | 1 | 2 | 1 | 1 |  |
| 13 | 1 | 1 | 2 | 2 | 2 | 1 |  |
| 14 | 2 | 1 | 2 | 2 | 1 | 1 |  |
| 15 | 1 | 2 | 2 | 2 | 1 | 2 |  |
| 16 | 2 | 2 | 2 | 2 | 2 | 2 |  |

166

| Table S7. Confounding structures and different main and two-way effects present for the T4 optimization fractional factorial experimental design. |  |  |
| --- | --- | --- |
| Estimation factor | Confounding structure | Main and two-way effects present |
| I1 | A + ABCE + ABCDF + DEF | Glutaraldehyde |
| I2 | B + ACE + CDF + ABDEF | Staining temperature |
| I3 | C + ABE + BDF + ACDEF | Stain type |
| I4 | D + ABCDE + BCF + AEF | Staining time |
| I5 | E + ABC + BCDEF + ADF | Stain concentration |
| I6 | F + ABCEF + BCD + ADE | Diluent |
| I7 | AB + CE + ACDF + BDEF | Glutaraldehyde/Staining temperature Stain type/Stain concentration |
| I8 | AC + BE + ABDF + CDEF | Glutaraldehyde/Stain type Staining temperature/Stain concentration |
| I9 | AD + BCDE + ABCF + EF | Glutaraldehyde/Stain time Stain concentration/Diluent |
| I10 | AE + BC + ABCDEF + DF | Glutaraldehyde/Stain concentration Staining temperature/Stain type Staining time/Diluent |
| I11 | AF + BCEF + ABCD + DE | Glutaraldehyde/Diluent Staining time/Stain concentration |
| I12 | BD + ACDE + CF + ABEF | Staining temperature/Staining time Stain type/Diluent |
| I13 | BF + ACEF + CD + ABDE | Staining temperature/Diluent Stain type/Staining time |
| I14 | ABD + CDE + ACF + BEF | N/A |
| I15 | ACD + BDE + ABF + CEF | N/A |
| I16 | I + ABCE + BCDF + ADEF | N/A |

| Table S8. qPCR/RT-qPCR primers, probes, and cycling conditions used in Chapter 3. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Target | Primer/probe sequences (5’-3’) |  | Cycling conditions | Source/Reference |
| T4; gp18 tail protein gene | Forward | AAGCGAAAGAAGTCGGTGAA | 50C for 2 min; 95C for 10 min; 45 cycles of 95C for 15s and 60C for 1 min | Gerriets et al. (2008) |
|  | Reverse | CGCTGTCATAGCAGCTTCAG |  |  |
|  | Probe | CY5-CCACGGAAATTTCTTCATCT TCCTCTGGCCGTGG-BHQ2 |  |  |
| φ6; P8 protein gene | Forward | TGGCGGCGGTCAAGAG | 50C for 30 min; 95C for 10 min; 40 cycles of 95C for 15s and 60C for 60s | Based on Gendron et al. (2010)*, |
|  | Reverse | GGATGATTCTCCAGAAGCTGCT |  |  |
|  | Probe | MGB-GTCGCAGGTCTGACACT-BHQ1 |  |  |
| *Slight modifications made by removing several nucleotides from the primer and probe sequences and by changing the probe to MGB. These changes were made based on the advice of specialists at the UC Davis Real-time PCR Research and Diagnostics Core Facility based on needed applications for our lab. |  |  |  |  |

| Table S9. Master standard curves for each target. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Target | Standard curve | R2 | Efficiency | Limit of detection (gene copies /reaction)* |
| T4 | y = -3.627x + 42.146 | 0.99 | 88.67% | 0.4 |
| φ6 | y = -3.038x + 43.79 | 0.99 | 113.39% | 0.3 |
| *Reported at a 99% confidence level. |  |  |  |  |

Bonilla, N. et al. Phage on tap–a quick and efficient protocol for the preparation of bacteriophage laboratory stocks. PeerJ 4 (2016).

Gerriets, J. E., Greiner, T. C. and Gebhart, C. L. Implemenntation of a T4 extraction control for molecular assays of cerebrospinal fluid and stool specimens. J. Mol. Diagn. 10, 28–32 (2008).

Gendron, L., Verreault, D., Veillette, M., Moineau, S. & Duchaine, C. Evaluation of Filters for the Sampling and Quantification of RNA Phage Aerosols. Aerosol Sci. Tech. 44, 893–901 (2010).