## Sheet 1
Country | Average solar irradiance (We/m2/year) | CV (coefficient of variation) (%) | f1 | f2 | f3 | Solar Power density(We/m2) | Lowest Irradiance (We/m2/year) | Annual average (We/m2/year) | SV | sunshine hours per year | Efficiency | Energy density(kWh/m2/year) | Overcapacity factor (%) | Capacity installed (GW) | Annual generation (GWh) | real nb of hours | Capacity factor country | Nominal power (GW) | surface (m2) | Nominal power density (w/m2) | Mean Power density (W/m2) | Energy density (TWh/km2/year) | écart type | Capacity factor(%) | Capacity factor (only whetear) | Power density for rooftop (W/m2) | Aroof (m2/capita) | Apv(m2/capita) | Apv (km2) | Energy density (MWh/m2/year) | Power density (W/m2) | Mean power density | Energy density | daily global insolation on a horizontal plane(kWh/m2) | annual energy output(kWh/capita/year) | Solar generation (GWh) | Nominal power | Nominal power density | Power output (kW/capita) | Per capita Electricity generation from solar(kWh) | Capacity factor | Nominal power | Nominal power density | Build Up (km2) | Electrcity use (MWh/year/capita) | Rt: the share of the electricity covered by rooftop | Land-use requirements for solar power in each country | Isc | Voc | Vmp | Imp | FF | S(m2) | Pin | Efficiency | thin film technology
Austria | 132 | 3 | 0.2 | 0.65 | 0.23 | 3.9468 | 81 | 148 | 54.7297 | 1884 | 4.3014 | 172.8698 | 215.8527 | 2.22 | 1591 | 716.1761 | 8.1757 | 0.18162 | 8093627.6545 | 22.44 | 1.8346 | 0.016071 |  | 0.081755 | 21.4921 | 0.13728 | 272 | 51.68 | 430.92 | 0.041457 | 4.7326 | 4.7326 | 0.041457 | 2.989 | 11276.421 | 1351 | 1287.2627 | 2.9872 | 1.3644 | 374 | 3.1293 | 42.6941 | 0.82612 | 2268 | 7.6 | 0.049211 | 3.9725 | 2.54 | 218.5 | 181.5 | 2.34 | 0.76526 | 2.47 | 2470 | 17.1947 | FS-6425 FS-6425A |  | 1591 | ;
Belgium | 119 | 4 | 0.2 | 0.65 | 0.23 | 3.5581 | 48 | 126 | 38.0952 | 1546 | 3.5297 | 155.8448 | 310.106 | 5.65 | 5137 | 908.5812 | 10.3722 | 0.58642 | 28987420.9152 | 20.23 | 2.0982 | 0.018381 |  | 0.10372 | 17.6363 | 0.12376 | 359 | 68.21 | 737.01 | 0.041041 | 4.6851 | 4.6851 | 0.041041 | 2.959 | 14733.8375 | 3946 | 1681.9449 | 2.2821 | 1.6234 | 847 | 5.956 | 96.6895 | 1.4175 | 3879 | 8.2 | 0.10329 | 6.4418 | 2.54 | 219.2 | 182.6 | 2.36 | 0.774 | 2.47 | 2470 | 17.4468 | FS-6430 FS-6430A |  | 5137 | ;
Brazil | 209 | 7 | 0.2 | 0.6 | 0.34 | 8.5272 | 220 | 243 | 90.535 | 2237 | 5.1073 | 373.4914 | 130.4861 | 7.88 | 7959 | 1009.3341 | 11.5223 | 0.90856 | 25571675.8749 | 35.53 | 4.0938 | 0.035862 |  | 0.11522 | 25.5191 | 0.40128 | 255 | 48.45 | 9369.47 | 0.08071 | 9.2134 | 9.2134 | 0.08071 | 5.819 | 20580.9302 | 5562 | 2349.4213 | 0.25075 | 2.0252 | 65 | 0.36639 | 7.4201 | 0.15315 | 49313 | 2.6 | 0.025 | 0.38993 | 2.55 | 219.6 | 183.6 | 2.37 | 0.77705 | 2.47 | 2470 | 17.6167 | FS-6435 FS-6435A |  | 7959 | ;
Bulgaria | 155 | 2 | 0.2 | 0.65 | 0.23 | 4.6345 | 108 | 174 | 62.069 | 2177 | 4.9703 | 202.9911 | 190.3296 | 1.07 | 1497 | 1398.1078 | 15.9605 | 0.17089 | 6485404.5905 | 26.35 | 4.2055 | 0.03684 |  | 0.1596 | 24.8346 | 0.1612 | 354 | 67.26 | 500.65 | 0.053053 | 6.0563 | 6.0563 | 0.053053 | 3.825 | 18780.6735 | 1830 | 2143.9125 | 4.2823 | 2.0851 | 648 | 3.5477 | 73.9726 | 1.0998 | 2635 | 4.9 | 0.13224 | 1.7553 | 2.55 | 220 | 184.7 | 2.38 | 0.78358 | 2.47 | 2470 | 17.797 | FS-6440 FS-6440A |  | 1497 | ;
Canada | 117 | 15 | 0.2 | 0.65 | 0.17 | 2.5857 | 81 | 153 | 52.9412 | 2027 | 4.6279 | 113.2537 | 223.145 | 3.33 | 4424 | 1327.6192 | 15.1558 | 0.50502 | 25390790.9025 | 19.89 | 3.0144 | 0.026406 |  | 0.15155 | 23.1234 | 0.12168 | 363 | 68.97 | 2321.99 | 0.04498 | 5.1347 | 5.1347 | 0.04498 | 3.243 | 16327.8888 | 4314 | 1863.9143 | 0.80272 | 1.6139 | 286 | 2.023 | 32.6484 | 0.47337 | 12221 | 16.9 | 0.016923 | 14.4124 | 2.56 | 220.4 | 185.7 | 2.4 | 0.7899 | 2.47 | 2470 | 18.0437 | FS-6445 FS-6445A |  | 4424 | ;
China | 179 | 14 | 0.2 | 0.65 | 0.23 | 5.3521 | 213 | 224 | 95.0893 | 1959 | 4.4726 | 234.422 | 124.2365 | 253.83 | 261100 | 1027.9372 | 11.7347 | 29.8059 | 979491819.6865 | 30.43 | 3.0144 | 0.026406 |  | 0.11734 | 22.3477 | 0.18616 | 199 | 37.81 | 50350.95 | 0.069308 | 7.9119 | 7.9119 | 0.069308 | 4.997 | 13792.3696 | 223800 | 1574.4714 | 0.03127 | 1.3536 | 387 | 3.2638 | 44.1781 | 1.1684 | 265005 | 2.8 | 0.13821 | 0.56303 | 2.57 | 221.1 | 186.8 | 2.41 | 0.79227 | 2.47 | 2470 | 18.2262 | FS-6450 FS-6450A |  | 261100 | ;
Cyprus | 248 | - | 0.2 | 0.65 | 0.23 | 7.4152 | 151 | 248 | 60.8871 | 3314 | 7.5662 | 324.7858 | 194.024 | 0.2 | 325 | 1623.8877 | 18.5379 | 0.0371 | 879991.8553 | 42.16 | 3.5708 | 0.03128 |  | 0.18538 | 37.8052 | 0.25792 | 169 | 32.11 | 34.96 | 0.066826 | 7.6285 | 7.6285 | 0.066826 | 4.818 | 11293.5365 | 215 | 1289.2165 | 36.8769 | 1.5927 | 445 | 3.1896 | 50.7991 | 1.582 | 184 | 6.6 | 0.067424 | 1.6189 | [10 empty] | 325 | ;
Czech Republic | 120 | 3 | 0.2 | 0.65 | 0.23 | 3.588 | 62 | 130 | 47.6923 | 1668 | 3.8082 | 157.1544 | 247.7037 | 2.07 | 2233 | 1078.0056 | 12.3063 | 0.25491 | 12495523.3235 | 20.4 | 7.8154 | 0.068463 |  | 0.12306 | 19.0281 | 0.1248 | 303 | 57.57 | 601.54 | 0.042928 | 4.9004 | 4.9004 | 0.042928 | 3.095 | 13007.078 | 2281 | 1484.8263 | 2.4684 | 1.3817 | 529 | 4.3706 | 60.3881 | 1.049 | 3166 | 6.5 | 0.081385 | 4.1436 | 8.947 | 44.71 | 37.23 | 8.06 | 0.75015 | 1.94 | 1940 | 15.4677 | Polycristaline | (Module efficiency) | 2233 | ;
Denmark | 122 | 2 | 0.2 | 0.65 | 0.17 | 2.6962 | 48 | 130 | 36.9231 | 1932 | 4.411 | 118.0936 | 319.9506 | 1.3 | 1181 | 907.8397 | 10.3637 | 0.13482 | 6500354.4647 | 20.74 | 2.5104 | 0.021991 |  | 0.10363 | 22.0397 | 0.12688 | 385 | 73.15 | 404.32 | 0.037296 | 4.2576 | 4.2576 | 0.037296 | 2.689 | 14359.1256 | 963 | 1639.1696 | 4.0541 | 1.7849 | 413 | 2.6414 | 47.1461 | 0.64451 | 2128 | 6.2 | 0.066613 | 6.903 | [10 empty] | 1181 | ;
Estonia | 118 | 2 | 0.2 | 0.65 | 0.11 | 1.6874 | 36 | 133 | 27.0677 | 1923 | 4.3904 | 73.9081 | 436.4454 | 0.13 | 126 | 968.5674 | 11.0569 | 0.014384 | 717027.0012 | 20.06 | 2.218 | 0.019429 |  | 0.11057 | 21.937 | 0.12272 | 430 | 81.7 | 108.87 | 0.037185 | 4.2449 | 4.2449 | 0.037185 | 2.681 | 15989.7521 | 72 | 1825.3142 | 16.766 | 1.9281 | 135 | 0.79927 | 15.411 | 0.18863 | 573 | 6.6 | 0.020455 | 16.8087 | 1.02 | 164 | 113.6 | 0.88 | 0.59761 | 1.43 | 1430 | 6.9908 | Thin film module |  | 126 | ;
Finland | 102 | 8 | 0.2 | 0.65 | 0.11 | 1.4586 | 22 | 126 | 17.4603 | 1858 | 4.242 | 63.8867 | 676.5948 | 0.39 | 259 | 663.648 | 7.5761 | 0.029566 | 1705087.0845 | 17.34 | 1.3137 | 0.011508 |  | 0.075759 | 21.1955 | 0.10608 | 370 | 70.3 | 375.06 | 0.038697 | 4.4175 | 4.4175 | 0.038697 | 2.79 | 14318.001 | 178 | 1634.475 | 4.3579 | 1.4341 | 80 | 0.6368 | 9.1324 | 0.12991 | 1974 | 15.8 | 0.0050633 | 73.299 | [10 empty] | 259 | ;
France | 140 | 9 | 0.2 | 0.65 | 0.23 | 4.186 | 98 | 174 | 56.3218 | 2166 | 4.9452 | 183.3468 | 209.751 | 11.72 | 13075 | 1114.8507 | 12.7269 | 1.4926 | 62713441.541 | 23.8 | 3.0289 | 0.026533 |  | 0.12727 | 24.7091 | 0.1456 | 280 | 53.2 | 3445.46 | 0.047796 | 5.4562 | 5.4562 | 0.047796 | 3.446 | 13382.8856 | 11729 | 1527.7267 | 0.4434 | 1.4896 | 446 | 3.4179 | 50.9132 | 0.95702 | 18134 | 7.9 | 0.056456 | 3.7545 | 8.45 | 37.4 | 29.7 | 7.85 | 0.73773 | 1.63 | 1630 | 14.3034 | Monocristaline silicon |  | 13075 | ;
Germany | 118 | 6 | 0.2 | 0.65 | 0.23 | 3.5282 | 52 | 125 | 41.6 | 1644 | 3.7534 | 154.5352 | 283.9798 | 53.78 | 50600 | 940.2262 | 10.7334 | 5.7763 | 287948938.5724 | 20.06 | 2.1531 | 0.018861 |  | 0.10733 | 18.7543 | 0.12272 | 321 | 60.99 | 4991.3 | 0.039668 | 4.5283 | 4.5283 | 0.039668 | 2.86 | 12733.4922 | 47517 | 1453.595 | 0.29123 | 1.4394 | 1409 | 11.1747 | 160.8447 | 2.6372 | 26270 | 7 | 0.20129 | 4.5235 | [8 empty] | BMO/233 |  | 50600 | ;
Greece | 173 | 5 | 0.2 | 0.65 | 0.23 | 5.1727 | 114 | 198 | 57.5758 | 2773 | 6.3311 | 226.5643 | 205.1829 | 3.25 | 4872 | 1498.0509 | 17.1014 | 0.55616 | 18910723.6845 | 29.41 | 5.0294 | 0.044058 |  | 0.17101 | 31.6336 | 0.17992 | 197 | 37.43 | 417.81 | 0.061708 | 7.0443 | 7.0443 | 0.061708 | 4.449 | 12156.4031 | 3959 | 1387.7173 | 3.3214 | 1.2951 | 936 | 8.2504 | 106.8493 | 2.8546 | 2199 | 5.8 | 0.16138 | 1.9394 | 8.6 | 37.5 | 29.9 | 8 | 0.74171 | 1.63 | 1630 | 14.6748 | BMO/239 |  | 4872 | ;
Hungary | 138 | 4 | 0.2 | 0.65 | 0.23 | 4.1262 | 67 | 148 | 45.2703 | 1988 | 4.5388 | 180.7276 | 260.9563 | 1.95 | 2371 | 1215.0652 | 13.8709 | 0.27066 | 11537173.9325 | 23.46 | 3.254 | 0.028505 |  | 0.13871 | 22.6785 | 0.14352 | 413 | 78.47 | 785.84 | 0.050015 | 5.7095 | 5.7095 | 0.050015 | 3.606 | 20656.2859 | 1384 | 2358.0235 | 3.0006 | 2.1658 | 354 | 1.8659 | 40.411 | 0.51499 | 4136 | 4.1 | 0.086341 | 2.3814 | [10 empty] | 2371 | ;
India | 210 | 5 | 0.2 | 0.6 | 0.34 | 8.568 | 178 | 235 | 75.7447 | 2433 | 5.5548 | 375.2784 | 155.9655 | 38.98 | 58683 | 1504.4339 | 17.1743 | 6.699 | 187646291.3933 | 35.7 | 6.1311 | 0.053708 |  | 0.17174 | 27.755 | 0.4032 | 173 | 32.87 | 39183.89 | 0.073317 | 8.3695 | 8.3695 | 0.073317 | 5.286 | 12683.8099 | 46267 | 1447.9235 | 0.036952 | 1.3805 | 84 | 0.69459 | 9.589 | 0.29173 | 206231 | 0.8 | 0.105 | 0.13101 | [10 empty] | 58683 | ;
Indonesia | 203 | 6 | 0.2 | 0.6 | 0.34 | 8.2824 | 198 | 218 | 90.8257 | 2521 | 5.7557 | 362.7691 | 130.0685 | 0.42 | 473 | 1125.4196 | 12.8475 | 0.053995 | 1564631.521 | 34.51 | 4.4336 | 0.038838 |  | 0.12847 | 28.7588 | 0.38976 | 169 | 32.11 | 7605.51 | 0.068657 | 7.8375 | 7.8375 | 0.068656 | 4.95 | 11602.9485 | 63 | 1324.5375 | 0.17415 | 1.3037 | 1 | 0.0087565 | 0.11416 | 0.0035551 | 40029 | 0.7 | 0.0014286 | 0.11034 | [10 empty] | 473 | ;
Ireland | 104 | 6 | 0.2 | 0.65 | 0.17 | 2.2984 | 42 | 112 | 37.5 | 1453 | 3.3174 | 100.6699 | 315.0283 | 0.036 | 21 | 582.9341 | 6.6546 | 0.0023973 | 135591.6445 | 17.68 | 1.1765 | 0.010306 |  | 0.066545 | 16.5754 | 0.10816 | 284 | 53.96 | 244.91 | 0.034592 | 3.9488 | 3.9488 | 0.034592 | 2.494 | 9824.0655 | 24 | 1121.4687 | 4.5791 | 1.1224 | 13 | 0.13222 | 1.484 | 0.027502 | 1289 | 6.4 | 0.0020313 | 8.7998 | [10 empty] | 21 | ;
Italy | 161 | 8 | 0.2 | 0.65 | 0.23 | 4.8139 | 102 | 179 | 56.9832 | 2372 | 5.4155 | 210.8488 | 207.3164 | 21.59 | 25953 | 1201.2615 | 13.7133 | 2.9627 | 108245203.978 | 27.37 | 3.7533 | 0.032879 |  | 0.13713 | 27.0591 | 0.16744 | 218 | 41.42 | 2448.53 | 0.059419 | 6.783 | 6.783 | 0.059419 | 4.284 | 12953.3594 | 24326 | 1478.694 | 0.60391 | 1.3337 | 995 | 8.5163 | 113.5845 | 2.7423 | 12887 | 5.6 | 0.17768 | 1.9935 | [10 empty] | 25953 | ;
Japan | 150 | 6 | 0.2 | 0.65 | 0.23 | 4.485 | 171 | 184 | 92.9348 | 1834 | 4.1872 | 196.443 | 127.1167 | 67 | 82922 | 1236.7947 | 14.119 | 9.466 | 371214970.0063 | 25.5 | 3.6003 | 0.031538 |  | 0.14119 | 20.9217 | 0.156 | 139 | 26.41 | 3370.79 | 0.050251 | 5.7364 | 5.7364 | 0.050251 | 3.623 | 6984.8904 | 75274 | 797.3619 | 0.23655 | 0.7923 | 1469 | 21.1655 | 167.6941 | 6.3496 | 17741 | 8.2 | 0.17915 | 1.9177 | [10 empty] | 82922 | ;
Lithuania | 120 | 2 | 0.2 | 0.65 | 0.17 | 2.652 | 55 | 134 | 41.0448 | 1691 | 3.8607 | 116.1576 | 287.8213 | 0.148 | 90 | 607.6919 | 6.9373 | 0.010274 | 503626.108 | 20.4 | 1.4152 | 0.012397 |  | 0.069371 | 19.2904 | 0.1248 | 408 | 77.52 | 165.87 | 0.039682 | 4.5299 | 4.5299 | 0.039682 | 2.861 | 16190.2846 | 90 | 1848.206 | 11.1425 | 1.8605 | 81 | 0.497 | 9.2466 | 0.11928 | 873 | 3.5 | 0.023143 | 3.7299 | [10 empty] | 90 | ;
Luxembourg | 117 | 1 | 0.2 | 0.65 | 0.23 | 3.4983 | 49 | 125 | 39.2 | 1634 | 3.7306 | 153.2255 | 301.3663 | 0.195 | 206 | 1055.6872 | 12.0515 | 0.023516 | 1182301.7464 | 19.89 | 2.397 | 0.020998 |  | 0.12051 | 18.6402 | 0.12168 | 408 | 77.52 | 26.03 | 0.042262 | 4.8244 | 4.8244 | 0.042262 | 3.047 | 17242.8511 | 120 | 1968.362 | 75.619 | 1.814 | 484 | 3.0459 | 55.2511 | 0.71273 | 137 | 13.3 | 0.036391 | 11.098 | [10 empty] | 206 | ;
Malta | 238 | - | 0.2 | 0.65 | 0.23 | 7.1162 | 151 | 238 | 63.4454 | 3054 | 6.9726 | 311.6896 | 186.2005 | 0.184 | 190 | 1031.9019 | 11.78 | 0.021689 | 536072.6079 | 40.46 | 4.7661 | 0.041751 |  | 0.1178 | 34.8392 | 0.24752 | 276 | 52.44 | 11.78 | 0.06978 | 7.9658 | 7.9658 | 0.06978 | 5.031 | 19259.2717 | 0 | 2198.547 | 186.6339 | 2.4961 | 0 | 0 | 0 | 0 | 62 | 5.2 | 0 | 1.3677 | [10 empty] | 190 | ;
Mexico | 226 | 7 | 0.2 | 0.6 | 0.34 | 9.2208 | 230 | 258 | 89.1473 | 2596 | 5.9269 | 403.871 | 132.5173 | 5.63 | 11874 | 2107.615 | 24.06 | 1.3555 | 35280568.7677 | 38.42 | 9.2437 | 0.080975 |  | 0.2406 | 29.6144 | 0.43392 | 150 | 28.5 | 3613.42 | 0.083137 | 9.4905 | 9.4905 | 0.083137 | 5.994 | 12470.517 | 12439 | 1423.575 | 0.39397 | 1.2882 | 241 | 2.1356 | 27.5114 | 0.96531 | 19018 | 2.3 | 0.10478 | 0.29745 | [10 empty] | 11874 | ;
Netherlands | 119 | 5 | 0.2 | 0.65 | 0.17 | 2.6299 | 43 | 120 | 35.8333 | 1662 | 3.7945 | 115.1896 | 329.6807 | 10.21 | 8056 | 788.4903 | 9.0012 | 0.91963 | 45458957.1526 | 20.23 | 1.8209 | 0.015951 |  | 0.09001 | 18.9596 | 0.12376 | 163 | 30.97 | 837.52 | 0.038281 | 4.37 | 4.37 | 0.038281 | 2.76 | 6239.8356 | 5189 | 712.31 | 0.8505 | 0.73709 | 752 | 11.6465 | 85.8447 | 2.7719 | 4408 | 7 | 0.10743 | 7.8731 | [10 empty] | 8056 | ;
Poland | 118 | 3 | 0.2 | 0.65 | 0.17 | 2.6078 | 59 | 134 | 44.0299 | 1571 | 3.5868 | 114.2216 | 268.308 | 3.94 | 1990 | 504.7304 | 5.7619 | 0.22717 | 11324474.0664 | 20.06 | 1.1558 | 0.010125 |  | 0.057618 | 17.9215 | 0.12272 | 267 | 50.73 | 2158.02 | 0.042193 | 4.8165 | 4.8165 | 0.042193 | 3.042 | 11265.4082 | 713 | 1286.0055 | 0.59592 | 1.1972 | 47 | 0.44814 | 5.3653 | 0.10576 | 11358 | 3.9 | 0.012051 | 3.9848 | [10 empty] | 1990 | ;
Portugal | 185 | 6 | 0.2 | 0.65 | 0.23 | 5.5315 | 138 | 215 | 64.186 | 2770 | 6.3242 | 242.2797 | 184.0518 | 1.02 | 1695 | 1660.6273 | 18.9573 | 0.19349 | 6152405.4272 | 31.45 | 5.962 | 0.052227 |  | 0.18957 | 31.5994 | 0.1924 | 298 | 56.62 | 452.39 | 0.064024 | 7.3087 | 7.3087 | 0.064024 | 4.616 | 19079.1282 | 1275 | 2177.9827 | 4.8144 | 2.0949 | 309 | 1.6838 | 35.274 | 0.62299 | 2381 | 5.1 | 0.060588 | 1.6024 | [10 empty] | 1695 | ;
Romania | 140 | 5 | 0.2 | 0.65 | 0.23 | 4.186 | 100 | 158 | 63.2911 | 2115 | 4.8288 | 183.3468 | 186.6542 | 1.39 | 1703 | 1224.3413 | 13.9768 | 0.19441 | 8168335.8275 | 23.8 | 3.3264 | 0.029139 |  | 0.13976 | 24.1273 | 0.1456 | 225 | 42.75 | 1407.9 | 0.046922 | 5.3564 | 5.3564 | 0.046922 | 3.383 | 10557.4973 | 1734 | 1205.1937 | 0.85602 | 1.197 | 222 | 2.1172 | 25.3425 | 0.59281 | 7410 | 2.5 | 0.0888 | 1.021 | [10 empty] | 1703 | ;
Russia | 113 | 16 | 0.2 | 0.65 | 0.17 | 2.4973 | 78 | 166 | 46.988 | 1987 | 4.5365 | 109.3817 | 251.4168 | 1.43 | 1862 | 1301.2067 | 14.8543 | 0.21256 | 11064918.1481 | 19.21 | 2.8534 | 0.024996 |  | 0.14854 | 22.6671 | 0.11752 | 364 | 69.16 | 9091.12 | 0.040223 | 4.5917 | 4.5917 | 0.040223 | 2.9 | 14641.172 | 985 | 1671.3667 | 0.18385 | 1.563 | 17 | 0.12416 | 1.9406 | 0.02806 | 47848 | 6.7 | 0.0025373 | 6.7631 | [10 empty] | 1862 | ;
Slovakia | 124 | 4 | 0.2 | 0.65 | 0.23 | 3.7076 | 66 | 140 | 47.1429 | 2038 | 4.653 | 162.3929 | 250.5907 | 0.59 | 656 | 1111.1034 | 12.6841 | 0.074886 | 3552459.4283 | 21.08 | 2.6738 | 0.023422 |  | 0.12684 | 23.2489 | 0.12896 | 337 | 64.03 | 300.39 | 0.045452 | 5.1886 | 5.1886 | 0.045452 | 3.277 | 15317.3206 | 589 | 1748.5526 | 5.8209 | 1.5879 | 267 | 1.9194 | 30.4795 | 0.47602 | 1581 | 5 | 0.0534 | 3.2156 | [10 empty] | 656 | ;
Slovenia | 141 | 2 | 0.2 | 0.65 | 0.23 | 4.2159 | 82 | 156 | 52.5641 | 1974 | 4.5068 | 184.6564 | 224.7458 | 0.267 | 288 | 1077.9134 | 12.3052 | 0.032877 | 1371577.4856 | 23.97 | 2.9495 | 0.025838 |  | 0.12305 | 22.5188 | 0.14664 | 293 | 55.67 | 103.74 | 0.048281 | 5.5116 | 5.5116 | 0.048281 | 3.481 | 14146.4707 | 268 | 1614.8939 | 15.5667 | 1.5699 | 319 | 2.3196 | 36.4155 | 0.65413 | 546 | 6.6 | 0.048333 | 3.3658 | [10 empty] | 288 | ;
South Korea | 166 | 2 | 0.2 | 0.65 | 0.23 | 4.9634 | 163 | 187 | 87.1658 | 2196 | 5.0137 | 217.3969 | 135.5298 | 14.58 | 16569 | 1135.6419 | 12.9642 | 1.8914 | 67024746.852 | 28.22 | 3.6584 | 0.032048 |  | 0.12964 | 25.0513 | 0.17264 | 268 | 50.92 | 942.4 | 0.056659 | 6.4679 | 6.4679 | 0.056659 | 4.085 | 15184.5986 | 12132 | 1733.4017 | 1.8393 | 1.6905 | 587 | 3.9638 | 67.0091 | 1.316 | 4960 | 9.4 | 0.062447 | 2.419 | [10 empty] | 16569 | ;
Spain | 178 | 9 | 0.2 | 0.65 | 0.23 | 5.3222 | 164 | 235 | 69.7872 | 2799 | 6.3904 | 233.1124 | 169.2797 | 11.79 | 20805 | 1763.4232 | 20.1308 | 2.375 | 78486450.7601 | 30.26 | 6.0915 | 0.053361 |  | 0.2013 | 31.9302 | 0.18512 | 185 | 35.15 | 1631.72 | 0.067505 | 7.7061 | 7.7061 | 0.067505 | 4.867 | 12488.4787 | 15041 | 1425.6254 | 0.87369 | 1.2513 | 797 | 7.2707 | 90.9817 | 2.5884 | 8588 | 6.2 | 0.12855 | 1.7274 | [10 empty] | 20805 | ;
Sweden | 104 | 10 | 0.2 | 0.65 | 0.11 | 1.4872 | 34 | 129 | 26.3566 | 1782 | 4.0685 | 65.1394 | 448.2204 | 1.42 | 1056 | 743.153 | 8.4837 | 0.12055 | 6818322.6926 | 17.68 | 1.4999 | 0.013139 |  | 0.084835 | 20.3285 | 0.10816 | 517 | 98.23 | 912.95 | 0.03688 | 4.2101 | 4.2101 | 0.03688 | 2.659 | 19067.1306 | 586 | 2176.6131 | 2.3842 | 2.0432 | 145 | 0.81013 | 16.5525 | 0.16851 | 4805 | 15.2 | 0.0095395 | 45.6096 | [10 empty] | 1056 | ;
Taiwan | 190 | - | 0.2 | 0.6 | 0.34 | 7.752 | 150 | 190 | 78.9474 | 1886 | 4.3059 | 339.5376 | 149.6384 | 5.82 | 6086 | 1044.9887 | 11.9293 | 0.69475 | 21509252.5835 | 32.3 | 3.8531 | 0.033753 |  | 0.11929 | 21.5149 | 0.3648 | 295 | 56.05 | 1297.51 | 0.055161 | 6.2969 | 6.2969 | 0.055161 | 3.977 | 16272.492 | 4144 | 1857.5904 | 1.4317 | 2.1299 | 432 | 2.3154 | 49.3151 | 0.87984 | 6829 | 9.7 | 0.044536 | 1.7983 | [10 empty] | 6086 | ;
Turkey | 181 | 7 | 0.2 | 0.65 | 0.23 | 5.4119 | 137 | 214 | 64.0187 | 2333 | 5.3265 | 237.0412 | 184.533 | 6.67 | 10835 | 1623.3259 | 18.5315 | 1.2369 | 40197339.8154 | 30.77 | 5.702 | 0.04995 |  | 0.18531 | 26.6142 | 0.18824 | 192 | 36.48 | 2596.16 | 0.066007 | 7.5351 | 7.5351 | 0.066007 | 4.759 | 12673.4074 | 10919 | 1446.736 | 0.55726 | 1.3206 | 324 | 2.8008 | 36.9863 | 1.0139 | 13664 | 2.7 | 0.12 | 0.81437 | [10 empty] | 10835 | ;
UK | 108 | 7 | 0.2 | 0.65 | 0.17 | 2.3868 | 40 | 113 | 35.3982 | 1530 | 3.4932 | 104.5418 | 333.7331 | 13.56 | 12801 | 943.3804 | 10.7694 | 1.4613 | 79591577.8792 | 18.36 | 1.9772 | 0.01732 |  | 0.10769 | 17.4538 | 0.11232 | 266 | 50.54 | 3153.24 | 0.036728 | 4.1927 | 4.1927 | 0.036728 | 2.648 | 9769.5842 | 12676 | 1115.2493 | 0.35368 | 1.0917 | 465 | 4.8625 | 53.0822 | 1.0503 | 16596 | 6.1 | 0.07623 | 7.9201 | [10 empty] | 12801 | ;
USA | 160 | 23 | 0.2 | 0.65 | 0.23 | 4.784 | 201 | 239 | 84.1004 | 2911 | 6.6461 | 209.5392 | 140.4697 | 73.81 | 133971 | 1813.8369 | 20.7063 | 15.2935 | 562260777.5987 | 27.2 | 5.632 | 0.049336 |  | 0.20706 | 33.2078 | 0.1664 | 427 | 81.13 | 24874.61 | 0.049182 | 5.6143 | 5.6143 | 0.049182 | 4.485 | 26562.3677 | 108358 | 3032.2337 | 0.1219 | 2.5962 | 815 | 3.5836 | 93.0365 | 1.1468 | 130919 | 13.7 | 0.059489 | 3.803 | [10 empty] | 133971 | ;
Moyenne | 275 |  | 0.2 | 0.6 | 0.34 | 11.22 | [11 empty] | 2.2697 |  |  | 3.5586 | 0.031173 |  | 12.7584 |  | 0.17665 |  |  |  |  | 5.7583 | 5.9098 |  |  |  |  | 0 | 10.4707
Australia | 235 | [12 empty] | 17.627 | 22632 |  | 14.6471 | [15 empty] | 0.05177 |  |  |  | 0 | #DIV/0!
EU | 125 | [30 empty] | 5.4839 |  | 0.013377
Latvia | 120 | [31 empty] | 0 | 0.038393
[22 empty] | 0.00054095 | 0.016822 | [8 empty] | 1.527 |  | 0.065147
[20 empty] | 0.061753 | 3.0289 | 0.016071 | 0.014352 | [9 empty] | 5.4839
| Solar irradiance (We/m2/year) | [18 empty] | 1.8346 |  | 0.018381 | 0.047995
Mois | India | Cyprus | Germany | Sweden | [15 empty] | 2.0982 |  | 0.035862
Janvier | 255 | 163 | 66 | 46 | [15 empty] | 4.0938 |  | 0.03684
Février | 272 | 193 | 105 | 88 | [15 empty] | 4.2055 |  | 0.026406 | [10 empty] | 1.5256
mars | 274 | 244 | 126 | 141 | [15 empty] | 3.0144 |  | 0.026406 | [10 empty] | 0.38718
avril | 258 | 268 | 157 | 175 | [15 empty] | 3.0144 |  | 0.03128 | [10 empty] | 0.48627
mai | 261 | 288 | 178 | 200 | [15 empty] | 3.5708 |  | 0.068463 | [10 empty] | 1.0623
juin | 216 | 303 | 170 | 198 | [15 empty] | 7.8154 |  | 0.021991 | [10 empty] | 0.96725
juillet | 188 | 309 | 177 | 195 | [15 empty] | 2.5104 |  | 0.019429 | [10 empty] | 0.77873
août | 178 | 313 | 177 | 180 | [15 empty] | 2.218 |  | 0.011508 | [10 empty] | 0.92906
septembre | 205 | 300 | 133 | 147 | [15 empty] | 1.3137 |  | 0.026533 | [10 empty] | 1.4151 | [11 empty] | 0.061
octobre | 226 | 258 | 100 | 88 | [15 empty] | 3.0289 |  | 0.018861 | [10 empty] | 0.60346
novembre | 241 | 185 | 61 | 52 | [15 empty] | 2.1531 |  | 0.044058 | [10 empty] | 0.44154
décembre | 242 | 151 | 52 | 34 | [15 empty] | 5.0294 |  | 0.028505 | [10 empty] | 0.46967
[20 empty] | 3.254 |  | 0.053708 | [10 empty] | 0.33489
[20 empty] | 6.1311 |  | 0.038838 | [10 empty] | 0.69486
[20 empty] | 4.4336 |  | 0.010306 | [10 empty] | 0.48637
[20 empty] | 1.1765 |  | 0.032879 |  |  | 271.56 | [7 empty] | 1.2055
[20 empty] | 3.7533 |  | 0.031538 | [10 empty] | 0.79248
[20 empty] | 3.6003 |  | 0.012397 | [10 empty] | 1.4384
[20 empty] | 1.4152 |  | 0.020998 | [10 empty] | 1.0076
[20 empty] | 2.397 |  | 0.041751 | [10 empty] | 0.26296
[20 empty] | 4.7661 |  | 0.080975 | [10 empty] | 0.93079 | 0.83502
[20 empty] | 9.2437 |  | 0.015951 | [10 empty] | 0.81046
[20 empty] | 1.8209 |  | 0.010125 | [10 empty] | 0.31446
[20 empty] | 1.1558 |  | 0.052227 | [10 empty] | 0.5818
[20 empty] | 5.962 |  | 0.029139 | [10 empty] | 0.93898
[20 empty] | 3.3264 |  | 0.024996 | [10 empty] | 2.2849
[20 empty] | 2.8534 |  | 0.023422 | [10 empty] | 0.39361
[20 empty] | 2.6738 |  | 0.025838 | [10 empty] | 0.27771
[20 empty] | 2.9495 |  | 0.032048 | [10 empty] | 1.3864
[20 empty] | 3.6584 |  | 0.053361 | [10 empty] | 0.74915
[20 empty] | 6.0915 |  | 0.013139 | [10 empty] | 0.68251
[20 empty] | 1.4999 |  | 0.033753 | [10 empty] | 0.65856
[20 empty] | 3.8531 |  | 0.04995 | [10 empty] | 0.67866
[20 empty] | 5.702 |  | 0.01732 | [10 empty] | 0.83907
[20 empty] | 1.9772 |  | 0.049336 | [10 empty] | 1.5523
[20 empty] | 5.632 | [12 empty] | 0.35741
[20 empty] | 3.4689 | [12 empty] | 0.75168
1.3973
0.45183
1.2388

## Solar park
| Energy density (MWh/m2/year) | Annual Solar Irradiance (W/m2) | Area of park (m2) | Annual generation(GWh) | Nominal power | Nominal power density (W/m2) | mean Power density (We/m2) | capacity factor | f1 | f2 | f3 | Power density (W/m2) | Efficiency (%) | Pmax (MW) | efficiency
Sinan (South Korea) | 0.05 | 167.24 | 670000 | 33.5 | 3.8242 | 5.7078 | 15.9342 | 15.9342 | 0.16 | 0.65 | 0.23 | 4.0004 | 17.5697 | 24 | 3.5821
0
|  |  |  | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Sunport Delfzijl Solar Park (Netherlands) | 0.067 | 116.1 | 450000 | 30.15 | 3.4418 | 7.6484 | 11.4726 | 11.4726 | 0.16 | 0.65 | 0.17 | 2.0526 | 5.0918 | 30 | 6.6667
0
Kristal Solar Park (Lommel, Belgium) | 0.07 | 121 | 930000 | 65.1 | 7.4315 | 7.9909 | 7.4689 | 7.4689 | 0.16 | 0.65 | 0.23 | 2.8943 | 6.4006 | 99.5 | 10.6989
0
Rubi Solar Park (Peru) | 0.11 | 279.74 | 4000000 | 440 | 50.2283 | 12.5571 | 27.9046 | 27.9046 | 0.16 | 0.6 | 0.23 | 6.1767 | 18.7153 | 180 | 4.5
0
Shotwick Solar Farm (UK) | 0.078 | 110.15 | 830000 | 64.74 | 7.3904 | 8.9041 | 10.236 | 10.236 | 0.16 | 0.65 | 0.17 | 1.9475 | 3.82 | 72.2 | 8.6988
0
Setouchi Kirei Solar Power Plant (Japan) | 0.08 | 164.38 | 2600000 | 208 | 23.7443 | 9.1324 | 10.104 | 10.104 | 0.145 | 0.65 | 0.23 | 3.5633 | 8.169 | 235 | 9.0385
0
Cadiz City Solar Farm (Philippines) | 0.12 | 214.16 | 1760000 | 211.2 | 24.1096 | 13.6986 | 18.1959 | 18.1959 | 0.16 | 0.6 | 0.34 | 6.9902 | 12.2503 | 132.5 | 7.5284
0
Templin Solar Park (Germany) | 0.04 | 119.69 | 2140000 | 85.6 | 9.7717 | 4.5662 | 7.6044 | 7.6044 | 0.12 | 0.65 | 0.23 | 2.1472 | 6.2485 | 128.5 | 6.0047
[5 empty] | 0 | #DIV/0!
Cestas Solar Farm (France) | 0.14 | 150.91 | 2500000 | 350 | 39.9543 | 15.9817 | 13.3181 | 13.3181 | 0.16 | 0.65 | 0.23 | 3.6098 | 5.2471 | 300 | 12
|  |  |  | 0 | 0
Nunez de Balboa Solar Farm (Spain) | 0.1 | 206.96 | 10000000 | 1000 | 114.1553 | 11.4155 | 22.8311 | 22.8311 | 0.16 | 0.65 | 0.23 | 4.9505 | 14.3465 | 500 | 5
Changhua Solar Farm | 0.09 |  | 0.98906 | 89.0158 |  |  |  | 14.507 | 0.145 | 0.65 | 0.23 | 0 | 0 | 70
0.4512
Austria | 0.085909 |  | 989064.2827 | [12 empty] | 0.13728
Belgium |  |  | 0.098906 | [12 empty] | 0.12376
Brazil | 0.25 | 275 |  | 10000000 | [7 empty] | 11.3 | 14.69 |  |  | 0.40128
Bulgaria |  |  |  | 10110566.2942 | [11 empty] | 0.1612
Canada | [15 empty] | 0.12168
China | [15 empty] | 0.18616
Cyprus | [15 empty] | 0.25792
Czech Republic |  |  |  | 0.08 | [11 empty] | 0.1248
Denmark | [15 empty] | 0.12688
Estonia | [15 empty] | 0.12272
Finland | [15 empty] | 0.10608
France | [15 empty] | 0.1456
Germany | [15 empty] | 0.12272
Greece | [15 empty] | 0.17992
Hungary | [15 empty] | 0.14352
India | [15 empty] | 0.4032
Indonesia | [15 empty] | 0.38976
Ireland | [15 empty] | 0.10816
Italy | [15 empty] | 0.16744
Japan | [15 empty] | 0.156
Latvia | [15 empty] | 0.1248
Lithuania | [15 empty] | 0.1248
Luxembourg | [15 empty] | 0.12168
Malta | [15 empty] | 0.24752
Mexico | [15 empty] | 0.43392
Netherlands | [15 empty] | 0.12376
Poland | [15 empty] | 0.12272
Portugal | [15 empty] | 0.1924
Romania | [15 empty] | 0.1456
Russia | [15 empty] | 0.11752
Slovakia | [15 empty] | 0.12896
Slovenia | [15 empty] | 0.14664
South Korea | [15 empty] | 0.17264
Spain | [15 empty] | 0.18512
Sweden | [15 empty] | 0.10816
Taiwan | [15 empty] | 0.3648
Turkey | [15 empty] | 0.18824
UK | [15 empty] | 0.11232
USA | [15 empty] | 0.1664
Note on K13: Poly-cristalline module (efficiency between 12-16%) -Antoine Rousset
Note on K17: Thin film module (4-12%) -Antoine Rousset

## Solar offshore
| Capacity installed (MW) | Anual production (GWh) | Area (m2) | Nominal Power | Nominal power density | Mean power density | Energy density (MWh/m2/year) | Capacity factor | f1 | f2 | f3 | Solar irradiance | Power density (W/m2)
Singapor | 5 | 6.022 | 59904 | 0.68744 | 11.4757 | 11.4757 | 0.10053 | 13.7397 | 0.2 | 0.6 | 0.34 | 188 | 7.6704
Japan | 70 | 77.47 | 1270000 | 8.8436 | 6.9635 | 6.9635 | 0.061 | 12.6253 | 0.2 | 0.65 | 0.23 | 150 | 4.485
France | 17 | 23.27 | 170000 | 2.6564 | 15.6258 | 15.6258 | 0.13688 | 15.6155 | 0.2 | 0.65 | 0.23 | 140 | 4.186
France | 0.23 | 0.24 | 2500 | 0.027397 | 10.9589 | 10.9589 | 0.096 | 11.904 | 0.2 | 0.65 | 0.23 | 140 | 4.186
Chine | 40 | 48.74 | 800000 | 5.5639 | 6.9549 | 6.9549 | 0.060925 | 13.9006 | 0.2 | 0.6 | 0.23 |  | 20.5274
Inde | 648 | 770.0723 | 10000000 |  | 10.3958 | 10.3958 | 0.091067 | 13.557 | 0.2 | 0.6 | 0.23 |  | 5.1319
[5 empty] | 10.9589 | 0.10053
[6 empty] | 0.061 | 3.6214
0.13688
0.096
[5 empty] | 0.028374 | 0.060925 | 0.091067
Saemangeum floating solar | 2100 |  | 30000000 |  |  | 0.091067

## 100% solar
| Surface (km2) | Final concumption (TWh) 2020 | 1000000 | Pcr (kWc) | fperf | Solar irradiance | Wpv (kWh/m2/year) | NB on pannel | Area needed (km2) | Percentage of area available | Capacity installed (GW) | Capacity factor | Nominal power | Nominal power consumption density | Mean power density (We/m2) | Nb of kWp | Total investement (billion) meth 2 : CAPEX | OPEX | Total investement (billion) meth 2 : CAPEX | Total investement (billion) meth 2 : CAPEX | Gain (milliard d'euros) | Year | Partie haute LCOE | Partie basse LCOE | LCOE world (c€/kWh) | Year for Profitability | Batteries 1 (€/kwh)
Year | Capacity installed : E+ (GW) | Capacity installed : E- (GW) |  | Capacity installed : E-B+ (GW) | Capacity installed : E+RE- (GW) | Capacity installed : E+RE+ (GW)
2020-2025 | 105 | 110 |  | 110 | 95 | 130
2026-2030 | 180 | 190 |  | 185 | 90 | 230
2031-2035 | 255 | 205 |  | 175 | 95 | 385
2036-2040 | 270 | 230 |  | 155 | 100 | 420
2041-2045 | 300 | 345 |  | 220 | 105 | 585
2046-2050 | 355 | 410 |  | 395 | 145 | 885
| 1465 | 1490 |  | 1240 | 630 | 2635
Country | Electrcity Consumption (GWh/an) | Rendement |  | Area(m2) | Kcr : coeff de puissance de crête (kW/m2) | Pcr (kWc) | fperf | Annual Solar irradiance (kWh/m2/year) | Wpv (kWh/an) | Number of panels | Area needed(km2) | Number of panels (billion)
China | 5920000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1564.025 | 319.0611 | 18554439886.2788 | 31542.5478 | 18.5544
USA | 3913000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1516.575 | 309.3813 | 12647823252.4073 | 21501.2995 | 12.6478
Russia | 1065000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1178.95 | 240.5058 | 4428167636.7056 | 7527.885 | 4.4282
India | 1001191 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1717.325 | 350.3343 | 2857816091.6587 | 4858.2874 | 2.8578
Japan | 934000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1315.825 | 268.4283 | 3479513896.2621 | 5915.1736 | 3.4795
Germany | 533000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1111.425 | 226.7307 | 2350806485.4032 | 3996.371 | 2.3508
Canada | 528000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1160.7 | 236.7828 | 2229891698.2146 | 3790.8159 | 2.2299
Brasil | 518000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1874.275 | 382.3521 | 1354772211.2681 | 2303.1128 | 1.3548
Soutk korea | 495000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1432.625 | 292.2555 | 1693723471.4146 | 2879.3299 | 1.6937
France | 431000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1348.675 | 275.1297 | 1566533892.924 | 2663.1076 | 1.5665
UK | 309000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 943.525 | 192.4791 | 1605369102.4116 | 2729.1275 | 1.6054
Italia | 291000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1432.625 | 292.2555 | 995704101.377 | 1692.697 | 0.9957
Taiwan | 249500 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1450.875 | 295.9785 | 842966634.4008 | 1433.0433 | 0.84297
Mexico | 238000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1981.25 | 404.175 | 588853838.0652 | 1001.0515 | 0.58885
Spain | 234000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1589.575 | 324.2733 | 721613527.8483 | 1226.743 | 0.72161
Australia | 224000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1850.55 | 377.5122 | 593358307.3607 | 1008.7091 | 0.59336
China | 5920000 | Rendement |  | 1.7 | 0.13 | 0.221 | 0.8 | 1564.025 | 276.5196 | 21408969099.5525 | 36395.2475 | 21.409
USA | 3913000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1516.575 | 268.1305 | 14593642214.3161 | 24809.1918 | 14.5936
Russia | 1065000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1178.95 | 208.4384 | 5109424196.1988 | 8686.0211 | 5.1094
India | 1001191 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1717.325 | 303.6231 | 3297480105.7601 | 5605.7162 | 3.2975
Japan | 934000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1315.825 | 232.6379 | 4014823726.4562 | 6825.2003 | 4.0148
Germany | 533000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1111.425 | 196.4999 | 2712469021.619 | 4611.1973 | 2.7125
Canada | 528000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1160.7 | 205.2118 | 2572951959.4783 | 4374.0183 | 2.573
Brasil | 518000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1874.275 | 331.3718 | 1563198705.3093 | 2657.4378 | 1.5632
Soutk korea | 495000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1432.625 | 253.2881 | 1954296313.1707 | 3322.3037 | 1.9543
France | 431000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1348.675 | 238.4457 | 1807539107.2199 | 3072.8165 | 1.8075
UK | 309000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 943.525 | 166.8152 | 1852348964.3211 | 3148.9932 | 1.8523
Italia | 291000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1432.625 | 253.2881 | 1148889347.7427 | 1953.1119 | 1.1489
Taiwan | 249500 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1450.875 | 256.5147 | 972653808.924 | 1653.5115 | 0.97265
Mexico | 238000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1981.25 | 350.285 | 679446736.2291 | 1155.0595 | 0.67945
Spain | 234000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1589.575 | 281.0369 | 832630993.6711 | 1415.4727 | 0.83263
Australia | 224000 | 0.13 |  | 1.7 | 0.13 | 0.221 | 0.8 | 1850.55 | 327.1772 | 684644200.8008 | 1163.8951 | 0.68464
Iran | 218000 | 0.2 |  | 1.7 | 0.15 | [6 empty] | 0
South Africa | 212000 | 0.2 |  | 1.7 | 0.15 | [6 empty] | 0
Turkey | 207000 | 0.2 |  | 1.7 | 0.15 | [6 empty] | 0
Indonesia | 195000 | 0.2 |  | 1.7 | 0.15 | [6 empty] | 0
Egypte | 143000 | 0.2 |  | 1.7 | 0.15 | [6 empty] | 0
Ukraine | 143000 | 0.2 |  | 1.7 | 0.15 | [6 empty] | 0
Poland | 142000 | 0.2 |  | 1.7 | 0.15 | [6 empty] | 0
Malaisia | 131000 | 0.2 |  | 1.7 | 0.15 | [6 empty] | 0
Sweden | 127000 | 0.2 |  | 1.7 | 0.15 | [6 empty] | 0
Norway | 126400 | 0.2 |  | 1.7 | 0.15 | [6 empty] | 0
| Electrcity Consumption (GWh/an) | Rendement |  | Area(m2) | Kcr : coeff de puissance de crête (kW/m2) | Pcr (kWc) | fperf | Annual Solar irradiance (kWh/m2/year) | Wpv (kWh/an) | Number of panels | Area needed(km2) | Number of panels (billion)
monde | 22315000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1600 | 326.4 | 68367034313.7255 | 116223.9583 | 68.367 | [8 empty] | 3851.6763
[5 empty] | Region 1 : Roussillon |  | Region 1 : Roussillon | Region 2: Provence | Region 3 : Nord | fperf | Wpv1 | Wpv2 | Wpv3 | Nb panels 1 | Nb panels 2 | Nb panels 3 | Area 1 | Area2 | Area3
France | 431000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 1437.5 | 1725 | 1207.5 | 0.8 | 293.25 | 351.9 | 246.33 | 1469735720.3751 | 1224779766.9793 | 1749685381.3989 | 2498.5507 | 2082.1256 | 2974.4651
Prix (euros)
monde | 22315000 | 0.2 |  | 20.4 | 0.15 | 3.06 | 0.8 | 1348 | 832 | 10000 | 26820.9135
7778.0649
Country | Electrcity Consumption (GWh/an) | Rendement |  | Area(m2) | Kcr : coeff de puissance de crête (kW/m2) | Pcr (kWc) | fperf | Annual Solar irradiance (kWh/m2/year) | Wpv (kWh/an) | Number of panels | Area needed(km2) | Number of panels (billion) | Annual Production of solar central (GWh) | Investement for one central (euro) | Total investement (billion)
China | 5920000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1564.025 | 319.0611 | 18554439886.2788 | 31542.5478 | 18.5544 | 832 | 290000000 | 2063.4615 | 4731382171.0011 | 3723.5978 | 128.0785 | 3751.9861 | 3586.3877 | 355.2 | 1 | 3.4478e+12 | 5.4815e+12 | 62.8986 | 17.6947
USA | 3913000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1516.575 | 309.3813 | 12647823252.4073 | 21501.2995 | 12.6478 | 832 | 290000000 | 1363.9062 | 3225194929.3639 | 2538.2284 | 87.306 | 2557.5796 | 2444.6978 | 234.78 | 2 | 3.1924e+12 | 5.0754e+12 |  | 18.2484
Russia | 1065000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1178.95 | 240.5058 | 4428167636.7056 | 7527.885 | 4.4282 | 832 | 290000000 | 371.2139 | 1129182747.3599 | 888.6668 | 30.567 | 895.4419 | 855.9205 | 63.9 | 3 | 2.9559e+12 | 4.6995e+12 |  | 23.4743
India | 1001191 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1717.325 | 350.3343 | 2857816091.6587 | 4858.2874 | 2.8578 | 832 | 290000000 | 348.9728 | 728743103.373 | 573.5208 | 19.7271 | 577.8933 | 552.3873 | 60.0715 | 4 | 2.737e+12 | 4.3514e+12 |  | 16.1152
Japan | 934000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1315.825 | 268.4283 | 3479513896.2621 | 5915.1736 | 3.4795 | 832 | 290000000 | 325.5529 | 887276043.5468 | 698.2862 | 24.0186 | 703.6099 | 672.5552 | 56.04 | 5 | 2.5342e+12 | 4.0291e+12 |  | 21.0324
Germany | 533000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1111.425 | 226.7307 | 2350806485.4032 | 3996.371 | 2.3508 | 832 | 290000000 | 185.7812 | 599455653.7778 | 471.7716 | 16.2273 | 475.3683 | 454.3874 | 31.98 | 6 | 2.3465e+12 | 3.7306e+12 |  | 24.9005
Canada | 528000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1160.7 | 236.7828 | 2229891698.2146 | 3790.8159 | 2.2299 | 832 | 290000000 | 184.0385 | 568622383.0447 | 447.5058 | 15.3926 | 450.9175 | 431.0158 | 31.68 | 7 | 2.1727e+12 | 3.4543e+12 |  | 23.8434
Brasil | 518000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1874.275 | 382.3521 | 1354772211.2681 | 2303.1128 | 1.3548 | 832 | 290000000 | 180.5529 | 345466913.8734 | 271.8825 | 9.3518 | 273.9553 | 261.8639 | 31.08 | 8 | 2.0117e+12 | 3.1984e+12 |  | 14.7657
Soutk korea | 495000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1432.625 | 292.2555 | 1693723471.4146 | 2879.3299 | 1.6937 | 832 | 290000000 | 172.5361 | 431899485.2107 | 339.9049 | 11.6915 | 342.4963 | 327.3798 | 29.7 | 9 | 1.8627e+12 | 2.9615e+12 |  | 19.3177
France | 431000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1348.675 | 275.1297 | 1566533892.924 | 2663.1076 | 1.5665 | 832 | 290000000 | 150.2284 | 399466142.6956 | 314.3799 | 10.8135 | 316.7767 | 302.7953 | 25.86 | 10 | 1.7247e+12 | 2.7421e+12 |  | 20.5201
UK | 309000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 943.525 | 192.4791 | 1605369102.4116 | 2729.1275 | 1.6054 | 832 | 290000000 | 107.7043 | 409369121.115 | 322.1735 | 11.0816 | 324.6297 | 310.3018 | 18.54 | 11 | 1.597e+12 | 2.539e+12 |  | 29.3315
Italia | 291000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1432.625 | 292.2555 | 995704101.377 | 1692.697 | 0.9957 | 832 | 290000000 | 101.4303 | 253904545.8511 | 199.8229 | 6.8732 | 201.3463 | 192.4596 | 17.46 | 12 | 1.4787e+12 | 2.3509e+12 |  | 19.3177
Taiwan | 249500 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1450.875 | 295.9785 | 842966634.4008 | 1433.0433 | 0.84297 | 832 | 290000000 | 86.9651 | 214956491.7722 | 169.1708 | 5.8189 | 170.4605 | 162.937 | 14.97 | 13 | 1.3692e+12 | 2.1768e+12 |  | 19.0747
Mexico | 238000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1981.25 | 404.175 | 588853838.0652 | 1001.0515 | 0.58885 | 832 | 290000000 | 82.9567 | 150157728.7066 | 118.1741 | 4.0648 | 119.0751 | 113.8196 | 14.28 | 14 | 1.2677e+12 | 2.0155e+12 |  | 13.9685
Spain | 234000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1589.575 | 324.2733 | 721613527.8483 | 1226.743 | 0.72161 | 832 | 290000000 | 81.5625 | 184011449.6013 | 144.817 | 4.9812 | 145.9211 | 139.4807 | 14.04 | 15 | 1.1738e+12 | 1.8662e+12 |  | 17.4103
Australia | 224000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1850.55 | 377.5122 | 593358307.3607 | 1008.7091 | 0.59336 | 832 | 290000000 | 78.0769 | 151306368.377 | 119.0781 | 4.0959 | 119.986 | 114.6902 | 13.44 | 16 | 1.0869e+12 | 1.728e+12 |  | 14.955
monde | 22315000 | 0.18 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1600 | 326.4 | 68367034313.7255 | 116223.9583 | 68.367 | 832 | 290000000 | 7778.0649 | 17433593750 | 13720.2383 | 471.9274 | 13824.8398 | 13214.6641 | 1338.9 | 17 | 1.0064e+12 | 1.6e+12 |  | 17.2969
[22 empty] | 18 | 931826726405.4562 | 1.4815e+12
[22 empty] | 19 | 862802524449.4963 | 1.3717e+12
France | 431000 | 0.2 |  | 1.7 | 0.15 | 0.255 | 0.8 | 1348.675 | 275.1297 | 1566533892.924 | 2663.1076 | 1.5665 | 832 | 290000000 | 150.2284 | [6 empty] | 20 | 798891226342.1262 | 1.2701e+12
Year | [22 empty] | 3.7236e+12 | 5920000000000
| 399666172.1068 | 339.3166
|  |  | 0.15 | 5750000 | [5 empty] | 79.8388
34.7906
mean consumption power density
0.255
Contient | Surface (km2) | Final concumption (TWh) 2020 |  | Pcr (kWc) | fperf | Solar irradiance | Wpv (kWh/m2/year) | NB on pannel | Area needed (km2) | Percentage of area available | Capacity installed (GW) | Capacity factor | Nominal power |  | Mean power density
Asia-Pacific 2020 | 15179480 | 12548 |  | 0.255 | 0.8 | 1768 | 360.672 | 34790613077.8103 | 59144.0422 | 0.38963 | 8871.6063 | 16.1461 | 1.4324 | 24.2192 | 3.9105
North America | 19274871 | 4827 |  | 0.255 | 0.8 | 1610 | 328.44 | 14696748264.5232 | 24984.472 | 0.12962 | 3747.6708 | 14.7032 | 0.55103 | 22.0548 | 3.2428
Europe | 10269941 | 3666 |  | 0.255 | 0.8 | 1177 | 240.108 | 15268129341.7962 | 25955.8199 | 0.25274 | 3893.373 | 10.7489 | 0.41849 | 16.1233 | 1.7331
Latine America | 19364450 | 1515 |  | 0.255 | 0.8 | 1955 | 398.82 | 3798706183.2406 | 6457.8005 | 0.033349 | 968.6701 | 17.8539 | 0.17295 | 26.7808 | 4.7814
Africa | 30415873 | 840 |  | 0.255 | 0.8 | 2175 | 443.7 | 1893171061.5281 | 3218.3908 | 0.010581 | 482.7586 | 19.863 | 0.09589 | 29.7945 | 5.9181
CIS | 22000000 | 1476 |  | 0.255 | 0.8 | 1133 | 231.132 | 6385961268.8853 | 10856.1342 | 0.049346 | 1628.4201 | 10.347 | 0.16849 | 15.5205 | 1.6059
Middle east | 6915772 | 1206 |  | 0.255 | 0.8 | 1967 | 401.268 | 3005472651.6941 | 5109.3035 | 0.073879 | 766.3955 | 17.9635 | 0.13767 | 26.9452 | 4.8403
World 2020 | 123420387 | 26078 |  | 0.255 | 0.8 | 1683.5714 | 343.4486 | 79838801849.4778 | 135725.9631 | 0.10997 | 20358.8945 | 14.6223 | 2.9769 | 21.9335 | 3.2072
Asia-Pacific 2025 | 29932083 | 56661.36 |  | 0.255 | 0.8 | 1768 | 360.672 | 157099414426.404 | 267069.0045 | 0.89225 | 40060.3507 | 16.1461 | 6.4682 | 0.2161 | 0.034891
North America | 19612761 | 20305.98 |  | 0.255 | 0.8 | 1610 | 328.44 | 61825538911.2167 | 105103.4161 | 0.53589 | 15765.5124 | 14.7032 | 2.318 | 0.11819 | 0.017378
Europe | 8166759 | 15572.57 |  | 0.255 | 0.8 | 1177 | 240.108 | 64856522898.0292 | 110256.0889 | 1.3501 | 16538.4133 | 10.7489 | 1.7777 | 0.21767 | 0.023397
Latine America | 20559783 | 7385.05 |  | 0.255 | 0.8 | 1955 | 398.82 | 18517250890.1259 | 31479.3265 | 0.15311 | 4721.899 | 17.8539 | 0.84304 | 0.041004 | 0.0073209
Africa | 23115085 | 7012.89 |  | 0.255 | 0.8 | 2175 | 443.7 | 15805476673.428 | 26869.3103 | 0.11624 | 4030.3966 | 19.863 | 0.80056 | 0.034634 | 0.0068793
CIS | 22129898 | 7920.03 |  | 0.255 | 0.8 | 1133 | 231.132 | 34266263433.8819 | 58252.6478 | 0.26323 | 8737.8972 | 10.347 | 0.90411 | 0.040855 | 0.0042273
Middle east | 2380033 | 6268.57 |  | 0.255 | 0.8 | 1967 | 401.268 | 15621903565.6967 | 26557.2361 | 1.1158 | 3983.5854 | 17.9635 | 0.71559 | 0.30066 | 0.05401
World 2025 | 125896402 | 121126.45 |  | 0.255 | 0.8 | 1683.5714 | 343.4486 | 352677111149.933 | 599551.089 | 0.47623 | 89932.6633 | 15.3751 | 13.8272 | 0.10983 | 0.016886
Asia-Pacific 2030 | 29932083 | 61743.67 |  | 0.255 | 0.8 | 1768 | 360.672 | 171190638585.751 | 291024.0856 | 0.97228 | 43653.6128 | 16.1461 | 7.0484 | 0.23548 | 0.038021
North America | 19612761 | 19329.06 |  | 0.255 | 0.8 | 1610 | 328.44 | 58851114358.787 | 100046.8944 | 0.51011 | 15007.0342 | 14.7032 | 2.2065 | 0.1125 | 0.016542
Europe | 8166759 | 15165.52 |  | 0.255 | 0.8 | 1177 | 240.108 | 63161244106.8186 | 107374.115 | 1.3148 | 16106.1172 | 10.7489 | 1.7312 | 0.21198 | 0.022786
Latine America | 20559783 | 7815.36 |  | 0.255 | 0.8 | 1955 | 398.82 | 19596208816.0072 | 33313.555 | 0.16203 | 4997.0332 | 17.8539 | 0.89216 | 0.043394 | 0.0077475
Africa | 23115085 | 7408.31 |  | 0.255 | 0.8 | 2175 | 443.7 | 16696664412.8916 | 28384.3295 | 0.1228 | 4257.6494 | 19.863 | 0.8457 | 0.036586 | 0.0072672
CIS | 22129898 | 7943.29 |  | 0.255 | 0.8 | 1133 | 231.132 | 34366898568.7832 | 58423.7276 | 0.264 | 8763.5591 | 10.347 | 0.90677 | 0.040975 | 0.0042397
Middle east | 2380033 | 6431.39 |  | 0.255 | 0.8 | 1967 | 401.268 | 16027667294.6759 | 27247.0344 | 1.1448 | 4087.0552 | 17.9635 | 0.73418 | 0.30847 | 0.055413
World 2030 | 125896402 | 125836.6 |  | 0.255 | 0.8 | 1683.5714 | 343.4486 | 366391391516.301 | 622865.3656 | 0.49474 | 93429.8048 | 15.3751 | 14.3649 | 0.1141 | 0.017543
Asia-Pacific 2035 | 29932083 | 64674.43 |  | 0.255 | 0.8 | 1768 | 360.672 | 179316470366.4271 | 304837.9996 | 1.0184 | 45725.6999 | 16.1461 | 7.3829 | 0.24666 | 0.039825
North America | 19612761 | 18689.41 |  | 0.255 | 0.8 | 1610 | 328.44 | 56903574473.2676 | 96736.0766 | 0.49323 | 14510.4115 | 14.7032 | 2.1335 | 0.10878 | 0.015994
Europe | 8166759 | 14653.8 |  | 0.255 | 0.8 | 1177 | 240.108 | 61030036483.5824 | 103751.062 | 1.2704 | 15562.6593 | 10.7489 | 1.6728 | 0.20483 | 0.022017
Latine America | 20559783 | 8129.37 |  | 0.255 | 0.8 | 1955 | 398.82 | 20383556491.6504 | 34652.046 | 0.16854 | 5197.8069 | 17.8539 | 0.92801 | 0.045137 | 0.0080587
Africa | 23115085 | 7815.36 |  | 0.255 | 0.8 | 2175 | 443.7 | 17614063556.4571 | 29943.908 | 0.12954 | 4491.5862 | 19.863 | 0.89216 | 0.038597 | 0.0076665
CIS | 22129898 | 8013.07 |  | 0.255 | 0.8 | 1133 | 231.132 | 34668803973.487 | 58936.9668 | 0.26632 | 8840.545 | 10.347 | 0.91473 | 0.041335 | 0.0042769
Middle east | 2380033 | 6477.91 |  | 0.255 | 0.8 | 1967 | 401.268 | 16143599788.6699 | 27444.1196 | 1.1531 | 4116.6179 | 17.9635 | 0.73949 | 0.3107 | 0.055813
World 2035 | 125896402 | 128453.35 |  | 0.255 | 0.8 | 1683.5714 | 343.4486 | 374010436164.2833 | 635817.7415 | 0.50503 | 95372.6612 | 15.3751 | 14.6636 | 0.11647 | 0.017908
Asia-Pacific 2040 | 29932083 | 67430.74 |  | 0.255 | 0.8 | 1768 | 360.672 | 186958621683.9677 | 317829.6569 | 1.0618 | 47674.4485 | 16.1461 | 7.6976 | 0.25717 | 0.041523
North America | 19612761 | 18538.22 |  | 0.255 | 0.8 | 1610 | 328.44 | 56443246863.963 | 95953.5197 | 0.48924 | 14393.028 | 14.7032 | 2.1162 | 0.1079 | 0.015865
Europe | 8166759 | 14386.31 |  | 0.255 | 0.8 | 1177 | 240.108 | 59915996135.0725 | 101857.1934 | 1.2472 | 15278.579 | 10.7489 | 1.6423 | 0.20109 | 0.021615
Latine America | 20559783 | 8431.75 |  | 0.255 | 0.8 | 1955 | 398.82 | 21141743142.2697 | 35940.9633 | 0.17481 | 5391.1445 | 17.8539 | 0.96253 | 0.046816 | 0.0083585
Africa | 23115085 | 8303.82 |  | 0.255 | 0.8 | 2175 | 443.7 | 18714942528.7356 | 31815.4023 | 0.13764 | 4772.3103 | 19.863 | 0.94792 | 0.041009 | 0.0081456
CIS | 22129898 | 7989.81 |  | 0.255 | 0.8 | 1133 | 231.132 | 34568168838.5857 | 58765.887 | 0.26555 | 8814.8831 | 10.347 | 0.91208 | 0.041215 | 0.0042645
Middle east | 2380033 | 6582.58 |  | 0.255 | 0.8 | 1967 | 401.268 | 16404447900.1565 | 27887.5614 | 1.1717 | 4183.1342 | 17.9635 | 0.75144 | 0.31573 | 0.056715
World 2040 | 125896402 | 131663.23 |  | 0.255 | 0.8 | 1683.5714 | 343.4486 | 383356464265.808 | 651705.9893 | 0.51765 | 97755.8984 | 15.3751 | 15.03 | 0.11938 | 0.018355
Asia-Pacific 2045 | 29932083 | 70291.72 |  | 0.255 | 0.8 | 1768 | 360.672 | 194890981279.3896 | 331314.6682 | 1.1069 | 49697.2002 | 16.1461 | 8.0242 | 0.26808 | 0.043284
North America | 19612761 | 18480.07 |  | 0.255 | 0.8 | 1610 | 328.44 | 56266197783.4612 | 95652.5362 | 0.48771 | 14347.8804 | 14.7032 | 2.1096 | 0.10756 | 0.015815
Europe | 8166759 | 14200.23 |  | 0.255 | 0.8 | 1177 | 240.108 | 59141011544.8048 | 100539.7196 | 1.2311 | 15080.9579 | 10.7489 | 1.621 | 0.19849 | 0.021336
Latine America | 20559783 | 8734.13 |  | 0.255 | 0.8 | 1955 | 398.82 | 21899929792.889 | 37229.8806 | 0.18108 | 5584.4821 | 17.8539 | 0.99705 | 0.048495 | 0.0086582
Africa | 23115085 | 8862.06 |  | 0.255 | 0.8 | 2175 | 443.7 | 19973089925.6254 | 33954.2529 | 0.14689 | 5093.1379 | 19.863 | 1.0117 | 0.043766 | 0.0086932
CIS | 22129898 | 8047.96 |  | 0.255 | 0.8 | 1133 | 231.132 | 34819756675.8389 | 59193.5863 | 0.26748 | 8879.038 | 10.347 | 0.91872 | 0.041515 | 0.0042955
Middle east | 2380033 | 6850.07 |  | 0.255 | 0.8 | 1967 | 401.268 | 17071059740.6222 | 29020.8016 | 1.2193 | 4353.1202 | 17.9635 | 0.78197 | 0.32855 | 0.05902
World 2045 | 125896402 | 135466.24 |  | 0.255 | 0.8 | 1683.5714 | 343.4486 | 394429475820.8756 | 670530.1089 | 0.5326 | 100579.5163 | 15.3751 | 15.4642 | 0.12283 | 0.018886
Asia-Pacific 2050 | 29932083 | 72722.39 |  | 0.255 | 0.8 | 1768 | 360.672 | 201630262399.0773 | 342771.4461 | 1.1452 | 51415.7169 | 16.1461 | 8.3016 | 0.27735 | 0.044781
North America | 19612761 | 18433.55 |  | 0.255 | 0.8 | 1610 | 328.44 | 56124558519.0598 | 95411.7495 | 0.48648 | 14311.7624 | 14.7032 | 2.1043 | 0.10729 | 0.015775
Europe | 8166759 | 13990.89 |  | 0.255 | 0.8 | 1177 | 240.108 | 58269153880.7537 | 99057.5616 | 1.2129 | 14858.6342 | 10.7489 | 1.5971 | 0.19557 | 0.021021
Latine America | 20559783 | 9083.03 |  | 0.255 | 0.8 | 1955 | 398.82 | 22774760543.6036 | 38717.0929 | 0.18831 | 5807.5639 | 17.8539 | 1.0369 | 0.050432 | 0.0090041
Africa | 23115085 | 9478.45 |  | 0.255 | 0.8 | 2175 | 443.7 | 21362294343.0246 | 36315.9004 | 0.15711 | 5447.3851 | 19.863 | 1.082 | 0.04681 | 0.0092979
CIS | 22129898 | 8245.67 |  | 0.255 | 0.8 | 1133 | 231.132 | 35675155322.4997 | 60647.764 | 0.27405 | 9097.1646 | 10.347 | 0.94129 | 0.042535 | 0.0044011
Middle east | 2380033 | 7268.75 |  | 0.255 | 0.8 | 1967 | 401.268 | 18114452186.5686 | 30794.5687 | 1.2939 | 4619.1853 | 17.9635 | 0.82977 | 0.34864 | 0.062627
World 2050 | 125896402 | 139222.73 |  | 0.255 | 0.8 | 1683.5714 | 343.4486 | 405367037693.3124 | 689123.9641 | 0.54737 | 103368.5946 | 15.3751 | 15.893 | 0.12624 | 0.019409
China | 9388211 | 5920 | 5920000 | 0.255 | 0.8 | 1564.025 | 319.0611 | 1.8554e+13 | 31542547.8067 | 335.9804 | 4731382.171 | 14.2833 | 0.6758 | 0.071984 | 0.010282
USA | 9147420 | 3913 | 3913000 | 0.255 | 0.8 | 1516.575 | 309.3813 | 1.2648e+13 | 21501299.5291 | 235.0532 | 3225194.9294 | 13.85 | 0.44669 | 0.048832 | 0.0067633
Russia | 16376870 | 1065 | 1065000 | 0.255 | 0.8 | 1178.95 | 240.5058 | 4.4282e+12 | 7527884.9824 | 45.9666 | 1129182.7474 | 10.7667 | 0.12158 | 0.0074236 | 0.00079927
India | 2973190 | 1001.191 | 1001191 | 0.255 | 0.8 | 1717.325 | 350.3343 | 2.8578e+12 | 4858287.3558 | 163.4032 | 728743.1034 | 15.6833 | 0.11429 | 0.038441 | 0.0060288
Japan | 377975 | 934 | 934000 | 0.255 | 0.8 | 1315.825 | 268.4283 | 3.4795e+12 | 5915173.6236 | 1564.9642 | 887276.0435 | 12.0167 | 0.10662 | 0.28208 | 0.033897
Germany | 357386 | 533 | 533000 | 0.255 | 0.8 | 1111.425 | 226.7307 | 2.3508e+12 | 3996371.0252 | 1118.2226 | 599455.6538 | 10.15 | 0.060845 | 0.17025 | 0.01728
Canada | 9985000 | 528 | 528000 | 0.255 | 0.8 | 1160.7 | 236.7828 | 2.2299e+12 | 3790815.887 | 37.9651 | 568622.383 | 10.6 | 0.060274 | 0.0060365 | 0.00063986
Brasil | 8516000 | 518 | 518000 | 0.255 | 0.8 | 1874.275 | 382.3521 | 1.3548e+12 | 2303112.7592 | 27.0445 | 345466.9139 | 17.1167 | 0.059132 | 0.0069437 | 0.0011885
Soutk korea | 100210 | 495 | 495000 | 0.255 | 0.8 | 1432.625 | 292.2555 | 1.6937e+12 | 2879329.9014 | 2873.296 | 431899.4852 | 13.0833 | 0.056507 | 0.56388 | 0.073775
France | 643801 | 431 | 431000 | 0.255 | 0.8 | 1348.675 | 275.1297 | 1.5665e+12 | 2663107.618 | 413.6538 | 399466.1427 | 12.3167 | 0.049201 | 0.076423 | 0.0094127
UK | 242495 | 309 | 309000 | 0.255 | 0.8 | 943.525 | 192.4791 | 1.6054e+12 | 2729127.4741 | 1125.4366 | 409369.1211 | 8.6167 | 0.035274 | 0.14546 | 0.012534
Italia | 301340 | 291 | 291000 | 0.255 | 0.8 | 1432.625 | 292.2555 | 995704101377.0483 | 1692696.9723 | 561.7233 | 253904.5459 | 13.0833 | 0.033219 | 0.11024 | 0.014423
Taiwan | 36193 | 249.5 | 249500 | 0.255 | 0.8 | 1450.875 | 295.9785 | 842966634400.8096 | 1433043.2785 | 3959.4487 | 214956.4918 | 13.25 | 0.028482 | 0.78694 | 0.10427
Mexico | 1973000 | 238 | 238000 | 0.255 | 0.8 | 1981.25 | 404.175 | 588853838065.1945 | 1001051.5247 | 50.7375 | 150157.7287 | 18.0936 | 0.027169 | 0.01377 | 0.0024916
Spain | 505990 | 234 | 234000 | 0.255 | 0.8 | 1589.575 | 324.2733 | 721613527848.2678 | 1226742.9973 | 242.4441 | 184011.4496 | 14.5167 | 0.026712 | 0.052792 | 0.0076637
Australia | 7692000 | 224 | 224000 | 0.255 | 0.8 | 1850.55 | 377.5122 | 593358307360.6621 | 1008709.1225 | 13.1137 | 151306.3684 | 16.9 | 0.025571 | 0.0033243 | 0.00056181
|  | 5920000 | 0.001
|  | 3913000 | 0.001
|  | 1065000 | 0.001
|  | 1001191 | 0.001
|  | 934000 | 0.001 | [6 empty] | 0.011358 | 0.011 | 0.012494
|  | 533000 | 0.001 | [6 empty] | 0.0071873 |  | 0.007906
|  | 528000 | 0.001 | [6 empty] | 0.026388 |  | 0.029027
|  | 518000 | 0.001 | [6 empty] | 0.0021034 |  | 0.0023137
|  | 495000 | 0.001 | [6 empty] | 0.0008421 |  | 0.00092631
|  | 431000 | 0.001 | [6 empty] | 0.0038923 |  | 0.0042815
|  | 309000 | 0.001 | [6 empty] | 0.0082185 |  | 0.0090403
|  | 291000 | 0.001 | [6 empty] | 0.0059574 |  | 0.0065532
|  | 249500 | 0.001
|  | 238000 | 0.001
|  | 234000 | 0.001
|  | 224000 | 0.001
0.001
0.001
0.001
0.001
Note on R1: Monocristallin -Antoine Rousset rendement : 20% -Antoine Rousset
Note on T1: Polycristallin -Antoine Rousset rendement 13% -Antoine Rousset
Note on U1: couche mince -Antoine Rousset
Note on V1: 1kWh = 20c€ -Antoine Rousset
Note on AB1: Plomb -Antoine Rousset
Note on C11: Panneaux solaire monocristallin -Antoine Rousset
Note on C30: silicium polycristallin -Antoine Rousset

## Solar thermal
Farm | Capacity installed (MW) | Area (m2) | Annual production (GWh/year) | Capacity factor | Nominal power (MW) | Nominal power density (W/m2) | Mean power density (We/m2) | Energy density (MWh/m2)
Ivanpah (California) | 377 | 14000000 | 856.301 | 25.9287 | 97.7513 | 6.9822 | 6.9822 | 0.061164 |  | 14000000 | ;
SEGS (California) total | 354 | 6475000 | 539 | 17.3813 | 61.5297 | 9.5027 | 9.5027 | 0.083243 |  | 6475000 | ;
SEGS1 | 14 | 82960 | 8.203 | 6.6887 | 0.93642 | 11.2876 | 11.2876 | 0.098879 |  | 82960 | ;
SEGS2 | 30 | 190338 | 16.975 | 6.4593 | 1.9378 | 10.1808 | 10.1808 | 0.089183 |  | 190338 | ;
SEGS3 | 30 | 230300 | 59.399 | 22.6024 | 6.7807 | 29.4429 | 29.4429 | 0.25792 |  | 230300 | ;
SEGS4 | 30 | 230300 | 59.785 | 22.7492 | 6.8248 | 29.6343 | 29.6343 | 0.2596 |  | 230300 | ;
SEGS5 | 30 | 250500 | 60.489 | 23.0171 | 6.9051 | 27.5654 | 27.5654 | 0.24147 |  | 250500 | ;
SEGS6 | 30 | 188000 | 56.57 | 21.5259 | 6.4578 | 34.3498 | 34.3498 | 0.3009 |  | 188000 | ;
SEGS7 | 30 | 194280 | 53.005 | 20.1693 | 6.0508 | 31.1447 | 31.1447 | 0.27283 |  | 194280 | ;
SEGS8 | 80 | 464340 | 134.279 | 19.1608 | 15.3287 | 33.0117 | 33.0117 | 0.28918 |  | 464340 | ;
SEGS9 | 80 | 483960 | 140.063 | 19.9862 | 15.9889 | 33.0377 | 33.0377 | 0.28941 |  | 483960 | ;
Crescent Dunes (California) | 110 | 1200000 | 196 | 20.3404 | 22.3744 | 18.6454 | 18.6454 | 0.16333 |  | 1200000 | ;
Solnova (Spain) | 250 | 1115000 | 340 | 15.5251 | 38.8128 | 34.8097 | 34.8097 | 0.30493 |  | 1115000 | ;
Solana (USA) | 280 | 7700000 | 944 | 38.4866 | 107.7626 | 13.9951 | 13.9951 | 0.1226 |  | 7700000 | ;
Mojave (USA) | 250 | 1559349 | 679 | 31.0046 | 77.5114 | 49.7075 | 49.7075 | 0.43544 |  | 1559349 | ;
Genesis (USA) | 250 | 7800000 | 605 | 27.6256 | 69.0639 | 8.8543 | 8.8543 | 0.077564 |  | 7800000 | ;
Andasol (Spain) | 150 | 510000 | 178 | 13.5464 | 20.3196 | 39.8424 | 39.8424 | 0.34902 |  | 510000 | ;
Extresol (Spain) | 150 | 6000000 | 495 | 37.6712 | 56.5068 | 9.4178 | 9.4178 | 0.0825 |  | 6000000 | ;
Dhursar Rajasthan Sun Technique (India) | 125 | 3400000 | 280 | 25.5708 | 31.9635 | 9.401 | 9.401 | 0.082353 |  | 3400000 | ;
Cerro Dominador (ex Atacama-1) (Chile) | 210 | 7500000 | 950 | 51.6417 | 108.4475 | 14.4597 | 14.4597 | 0.12667 |  | 7500000 | ;
Palma del Rio (Spain) | 100 | 1350000 | 114.5 | 13.0708 | 13.0708 | 9.6821 | 9.6821 | 0.084815 |  | 1350000 | ;
Manchasol (Spain) | 50 | 4000000 | 175 | 39.9543 | 19.9772 | 4.9943 | 4.9943 | 0.04375 |  | 4000000 | ;
Vallesol (Spain) v | 100 | 4600000 | 340 | 38.8128 | 38.8128 | 8.4376 | 8.4376 | 0.073913 |  | 4600000 | ;
Martin (USA) | 75 | 2000000 | 155 | 23.5921 | 17.6941 | 8.847 | 8.847 | 0.0775 |  | 2000000 | ;
Nevada solar one (USA) | 64 | 1600000 | 130 | 23.1878 | 14.8402 | 9.2751 | 9.2751 | 0.08125 |  | 1600000 | ;
Alvarado I (spain) | 50 | 700000 | 105.2 | 24.0183 | 12.0091 | 17.1559 | 17.1559 | 0.15029 |  | 700000 | ;
Khi Solar One (South Africa) | 50 | 576800 | 180 | 41.0959 | 20.5479 | 35.624 | 35.624 | 0.31207 |  | 576800 | ;
| 124.037 |  | 290.7692 | 24.8449 | 33.1928 | 20.344 | 20.344 | 0.17821
14.4597
|  |  | 2.3387 |  |  |  |  | 0.10961 | 0.28782
[7 empty] | 12.7507 | 0.068606
| Contient | Surface (km2) | Final concumption (TWh) 2020 | area needed for 1MW(m2) | Annual production Gwh
| Asia-Pacific 2020 | 31171152 | 75113 | 28328 | 2.4 | 31297083.3333 | 886583.7767 | 2.8442
| North America | 21779847 | 30243 | 28328 | 2.4 | 12601250 | 356968.21 | 1.639
| Europe | 5959126 | 22210 | 28328 | 2.4 | 9254166.6667 | 262152.0333 | 4.3992
| Latine America | 20435471 | 10084 | 28328 | 2.4 | 4201666.6667 | 119024.8133 | 0.58244
| Africa | 29346477 | 6450 | 28328 | 2.4 | 2687500 | 76131.5 | 0.25942
| CIS | 22129898 | 11711 | 28328 | 2.4 | 4879583.3333 | 138228.8367 | 0.62462
| Middle east | 2380033 | 4617 | 28328 | 2.4 | 1923750 | 54495.99 | 2.2897

## 100 % offshore
100 % solar offshore | Final concumption (TWh) 2020 | Pcr (kWc) | fperf | Solar irradiance | Wpv | Nb of pannels | Area needed (km2) | percentage (%) | Capacity installed | Capacity factor | Energy density TWh/m2 | ZEE (km²) | surface | Nominal power | power density | Mean power density(We/m2) | Primary energy consumption per unit surface (TWh/km2) | Surface percentage
Asia-Pacific 2020 | 12548 | 0.255 | 0.8 | 1920 | 391.68 | 32036356209.1503 | 54461.8056 | 0.015086 | 8169.2708 | 17.5342 | 0.2304 | 29835635 | 31171152 | 1.4324 | 26.3014 | 4.6117 | 0.00042057 | 0.18254 | 0.18254
North America | 4827 | 0.255 | 0.8 | 1747 | 356.388 | 13544227078.3528 | 23025.186 | 0.0063782 | 3453.7779 | 15.9543 | 0.20964 | 14106564 | 21779847 | 0.55103 | 23.9315 | 3.8181 | 0.00034218 | 0.16322 | 0.16322
Europe | 3666 | 0.255 | 0.8 | 1278 | 260.712 | 14061493141.8577 | 23904.5383 | 0.0066218 | 3585.6808 | 11.6712 | 0.15336 | 7752978 | 5959126 | 0.41849 | 17.5068 | 2.0433 | 0.00047285 | 0.30833 | 0.30833
Latine America | 1515 | 0.255 | 0.8 | 2122 | 432.888 | 3499750512.8347 | 5949.5759 | 0.0016481 | 892.4364 | 19.379 | 0.25464 | 19221771 | 20435471 | 0.17295 | 29.0685 | 5.6332 | 7.8817e-05 | 0.030952 | 0.030952
Africa | 840 | 0.255 | 0.8 | 2361 | 481.644 | 1744026708.5233 | 2964.8454 | 0.00082129 | 444.7268 | 21.5616 | 0.28332 | 12774090 | 29346477 | 0.09589 | 32.3425 | 6.9736 | 6.5758e-05 | 0.02321 | 0.02321
CIS | 1476 | 0.255 | 0.8 | 1230 | 250.92 | 5882352941.1765 | 10000 | 0.0027701 | 1500 | 11.2329 | 0.1476 | 7588619 | 22129898 | 0.16849 | 16.8493 | 1.8927 | 0.0001945 | 0.13178 | 0.13178
Middle east | 1206 | 0.255 | 0.8 | 2135 | 435.54 | 2768976443.0362 | 4707.26 | 0.001304 | 706.089 | 19.4977 | 0.2562 | 206510 | 2380033 | 0.13767 | 29.2466 | 5.7024 | 0.0058399 | 2.2794 | 2.2794
World 2020 | 26078 | 0.255 | 0.8 | 1827 | 372.708 | 73537183034.9315 | 125013.2112 | 0.03463 | 18751.9817 | 15.8753 | 0.2086 | 91486167 | 133202004 | 2.9769 | 23.813 | 3.7804 | 0.00028505 | 0.13665 | 0.13665
| Energy density for offshore solar |  |  |  |  | 32036356209.1503
0.219