## Sheet 1
Usine marémotirce |  | Year | Type | Area (km²) | Area pool (km²) | Number of turbines | Capacity (kW) | Power density (W/m²) | Power elec density pool (W/m²) | Energy (GWh) | Capacity factor | Energy density (TWh/km²) | Tidal range (m) | Construction cost (usd) | Runner diameter | Turbine output (MW) | Generator Output (MVA) | Rated speed (rpm) | Rated head (m) | Rtaeddischarge (m^3/s) | Rated voltage (kV) | Rated current (A) | Cost electricty ($/kWh) | Décharge diurne (km^3) | Commentaires
Rance | France | 1966 | Two-way with pumping | 92.3077 | 22 | 24 | 240000 | 2.6 | 2.802 | 540 | 25.68% | 0.024545 | 8.2
Shiwa Lake | Corée-du-sud | 2011 | Flood only |  | 30 | 10 | 254000 | #DIV/0! | 2.1005 | 552 | 24.81% | 0.0184 | 5.6 | 560000000 | 7.5 | 25.4 | 26.8 | 64.3 | 5.82 | 482.1 | 10.2 | 1515 | 0.02
Annapolis Royal | Canada | Decommissioned | Ebb only | 104.07 | 6 |  | 20000 | 0.19218 | 0.95129 | 50 | 28.54% | 0.0083333 | [12 empty] | test
Incheon | Corée-du-sud | Abandon |  |  |  |  | 1320000 | #DIV/0! | #DIV/0! | 2410 | 20.84% | #DIV/0!
Penzhin/Penjine Sud | Russie | Etude |  |  | 20530 |  | 87100000 | #DIV/0! | 1.1121 | 200000 | 26.21% | 0.0097418 | 11 | [10 empty] | 360 à 530 | 20530 est l'aire totale, pas que pour Nord ou Sud
Penzhin/Penjine Nord | Russie | [5 empty] | 21400000 | #DIV/0! | #DIV/0! | 50000 | 26.67% | #DIV/0! | 13.4
Tougourskaya | Russie | Etude |  |  |  |  | 3640000 | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Mezen | Russie | Etude |  |  | 2300 |  | 15000000 | #DIV/0! | 2.4816 | 50000 | 38.05% | 0.021739
Severn | UK | Etude |  |  | 520 | 214 | 8640000 | #DIV/0! | 3.732 | 17000 | 22.46% | 0.032692 | 14
baie de Swansea | UK | [6 empty] | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Projet Cardiff | UK |  | Lagoon |  | 70 |  | 3000000 | #DIV/0! | 8.9693 | 5500 | 20.93% | 0.078571
Swansea | UK | Etude | yes |  | 11.5 |  | 320000 | #DIV/0! | 5.2611 | 530 | 18.91% | 0.046087
Jiangxia | China | 1980 | Two-way |  | 2 |  | 3200 | #DIV/0! | 0.39954 | 7 | 24.97% | 0.0035
Uldolmok | Corée-du-sud | 2009 |  |  |  |  | 1500 | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Strangford Lough SeaGen | UK | Decommissionned |  |  | 6500 |  | 1200 | #DIV/0! | 0 |  |  | 0
Kislaya Guba | Russie | 1968 et 2006 | Two-way |  | 1.1 | 2 | 1700 | #DIV/0! | 0 |  |  | 0 | [12 empty] | Péiode de gel 100 jours/an
Garorim | Corée-du-sud | Etude |  |  | 100 |  | 480000 | #DIV/0! | 0.60502 | 530 | 12.6% | 0.0053
Kutch | Inde | Etude |  |  | 170 |  | 900000 | #DIV/0! | 1.1416 | 1700 | 21.56% | 0.01
Dalupiri Blue Energy | Philippines | Etude |  |  |  |  | 2200000 | #DIV/0! | #DIV/0! | 4000 | 20.76% | #DIV/0!
Skerries | UK | Etude |  |  | 0.56 | 7 | 10500 | #DIV/0! | 4.5131 | 22.1396 | 24.07% | 0.039535
Bluemull Sound | UK | 2016 |  |  |  |  | 300 | #DIV/0! | #DIV/0!
Eastern Scheldt Barrier | The Netherlands | 2015 |  |  |  |  | 1250 | #DIV/0! | #DIV/0!
MeyGen | UK | 2017 |  |  |  |  | 6000 | #DIV/0! | #DIV/0! | 13.8 | 26.26%
Pempa'q | Canada | 2019 |  |  |  |  | 1260 | #DIV/0! | #DIV/0!
Minas | Canada | Decomissionned |  |  |  |  | 2000 | #DIV/0! | #DIV/0!
Passamaquoddy | USA |  |  |  | 300 |  | 400000
Cook Inlet | USA |  |  |  | 3100 |  | 18000000
Mersey | UK |  |  |  | 60 |  | 700000
San Jose | Argentina |  |  |  | 780 |  | 7000
Secure | Australia |  |  |  | 130 |  | 570000
Walcott | Australia |  |  |  | 260 |  | 1750000
[7 empty] | 529210 | Moyenne | 2.8391 |  | 24.07% | 0.02487
| Total consumption | Total production (TWh/an) | Percentage | Real production (TWh/an) | Real capacity (GW) | Capacity factor | Percentage | Mediane | 2.291 |  | 24.81% | 0.02007
Possibilities | 115776 | 22000 | 19% | 380 | 160 | 27.11% | 0.3282% | Standard deviation | 2.488 |  |  | 0.021795
|  |  |  | 1200 |  |  | 1.036% | MOY-ST | 0.35111 |  |  | 0.0030757
[8 empty] | MOY+ST | 5.3271 |  |  | 0.046665
1000000