Supplementary

Determination of Polychlorinated Dibenzo-p-Dioxins and Furans in Food Samples by Gas Chromatography-Triple Quadrupole Mass Spectrometry (GC-MS/MS) and Comparison with Gas Chromatography-High Resolution Mass Spectrometry (GC-HRMS)

Bing Lyu1, Xiaoyan Zhang 2, Jingguang Li1, Lei Zhang1*, Yuxin Zhong3* and Yongning Wu1

1Research Unit of Food Safety,  Chinese Academy of Medical Sciences （No. 2019RU014）； NHC Key Lab of Food Safety Risk Assessment，China National Center for Food Safety Risk Assessment (CFSA), Beijing 100022, China

2 State Key Laboratory of Food Nutrition and Safety, College of Food Science and Engineering, Tianjin University of Science and Technology.NHC Key Laboratory of Food Safety Risk Assessment, Chinese Academy of Medical Science Research Unit (2019RU014), China National Center for Food Safety Risk Assessment.

3Department of Pancreatic and Gastric Surgery, National Cancer Center/National Clinical Research Center for Cancer/Cancer Hospital, Chinese Academy of Medical Sciences and Peking Union Medical College, Beijing 100021, China

…………………………………………………….

⁎Corresponding authors.

E-mail addresses: zhanglei1@cfsa.net.cn (L.Zhang), zhongyuxin@cicams.ac.cn (Y. Xin)

Supplementary Material

Table A1 Diagnostic signals selected in EI/HRMS, GC-AEI-MSMS and APGC-/MS/MS to monitor native PCDD/Fs

| Compound | HRMS | MS/MS |  | collision/ eV |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Native | Signal(M/M+2) | Transition |  | AEI-MS/MS |  | APCI-MS/MS |
| TeCDD | 319.89655 / 321.89371 | 319.9 / 256.9 | 321.9 / 258.9 | 30 | 30 |  |
| PeCDD | 355.85488 / 357.85184 | 355.9 / 292.9 | 353.9 / 290.9 | 30 | 30 |  |
| HxCDD | 389.8157 / 391.81284 | 389.8 / 326.9 | 391.8 / 328.9 | 29 | 30 |  |
| HpCDD | 423.77670 / 425.77380 | 423.8 / 360.8 | 425.8 / 362.8 | 30 | 30 |  |
| OCDD | 457.73770 / 459.73480 | 457.7 / 394.8 | 459.7 / 396.8 | 30 | 30 |  |
| TeCDF | 303.90164 / 305.89871 | 303.9 / 240.9 | 305.9 / 242.9 | 41 | 40 |  |
| PeCDF | 339.85977 / 341.85690 | 339.9 / 276.9 | 337.9 / 274.9 | 41 | 40 |  |
| HxCDF | 373.82080 / 375.81790 | 373.8 / 310.9 | 371.8 / 308.9 | 43 | 40 |  |
| HpCDF | 407.78180 / 409.77890 | 407.8 / 344.8 | 409.8 / 346.8 | 43 | 40 |  |
| OCDF | 441.74280 / 443.73990 | 441.8 / 378.8 | 443.8 / 380.8 | 43 | 40 |  |

Table A2 Diagnostic signals selected in EI/HRMS, GC-AEI-MSMS and APGC-/MS/MS to monitor ISTD- PCDD/Fs.

| Compound | HRMS | MS/MS |  | collision/ eV |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ISTD | Signal(M/M+2) | Transition |  | AEI-MSMS |  | APCI-MS/MS |
| 13C-TeCDD | 331.93680 / 333.93384 | 331.9/267.9 | 333.9/269.9 | 28 | 30 |  |
| 13C-PeCDD | 367.89487 / 369.89191 | 367.9/303.9 | 365.9/301.9 | 29 | 30 |  |
| 13C-HxCDD | 401.85590 / 403.85291 | 401.8/337.9 | 403.8/339.8 | 29 | 30 |  |
| 13C-HpCDD | 435.81689 / 437.81396 | 435.8/371.8 | 437.8/373.8 | 32 | 30 |  |
| 13C-OCDD | 469.77789 / 471.77499 | 469.7/405.8 | 471.7/407.8 | 29 | 30 |  |
| 13C-TeCDF | 315.94189 / 317.93893 | 315.9/251.9 | 317.9/253.9 | 41 | 40 |  |
| 13C-PeCDF | 351.89996 / 353.89700 | 351.9/287.9 | 349.9/285.9 | 41 | 40 |  |
| 13C-HxCDF | 385.86099 / 387.85800 | 385.8/321.9 | 387.8/323.9 | 43 | 40 |  |
| 13C-HpCDF | 419.82199 / 421.81900 | 419.8/355.8 | 421.8/357.8 | 43 | 40 |  |