Highlights

- The research compared the V2H technology with the traditional H2V in HRES for off-grid user

- HRES consists of PV, wind and storage systems and a charging station for EVs.

- An algorithm is proposed that can manage and optimize the dissipated energy produced in excess.

- Two extra diurnal EV charging strategies were considered and implemented in the algorithm.

- Hourly and yearly analyses detected the optimal technology and EV charging strategy.