Supplementary Table 1: Non-linear least square fitting

| 22G Pajunk Sprotte |  |  |  |  |
| --- | --- | --- | --- | --- |
| Goodness of Fit | Measurement 1 | Measurement 2 | Measurement 3 | Global |
| Degrees of Freedom |  |  |  | 39 |
| R squared | 1 | 0.9999 | 0.9999 | 0.9999 |
| Sum of Squares | 0.00578 | 0.02272 | 0.01325 | 0.04175 |
| RMSE |  |  |  | 0.03191 |
| 22G M. Schilling |  |  |  |  |
| Goodness of Fit | Measurement 1 | Measurement 2 | Measurement 3 | Global |
| Degrees of Freedom |  |  |  | 39 |
| R squared | 1 | 0.9999 | 1 | 1 |
| Sum of Squares | 0.005907 | 0.01248 | 0.01116 | 0.02955 |
| RMSE |  |  |  | 0.02685 |
| 22G B Braun Spinocan |  |  |  |  |
| Goodness of Fit | Measurement 1 | Measurement 2 | Measurement 3 | Global |
| Degrees of Freedom |  |  |  | 39 |
| R squared | 0.9997 | 0.9998 | 1 | 0.9998 |
| Sum of Squares | 0.05854 | 0.03806 | 0.008695 | 0.1053 |
| RMSE |  |  |  | 0.05068 |