# Tables

Table 1: MRI acquisition parameters

| Parameter | 2D Short-Axis bSSFP | 4D flow (PC VIPR) | 2D LGE Scar Imaging |
| --- | --- | --- | --- |
| ECG type | prospectively gated | retrospectively gated | triggered (diastolic phase) |
| Cine Frames | 20 | 20 | -- |
| Respiratory Motion Strategy | breath holding | free-breathing | breath holding |
| Repetition Time (ms) | 3.1-4.1 | 5.8-8.4 | 4.0-4.8 |
| Echo Time (ms) | 1.1-1.2 | 2.0-2.5 | 1.4-2.2 |
| Flip Angle (degrees) | 45 | 8-12 | 20-45 |
| Inversion Time (μs) | -- | -- | 183-400 |
| Field of View (cm2) | 39x39 | -- | 35 x 35 |
| Slice Thickness (mm) | 8 | -- | 8 |
| Imaging Volume (cm3) | -- | 32 x 32 x 20 | -- |
| Acquired Spatial Resolution (mm) | 1.74 x 1.74 | 1.25 x 1.25 x 1.25 | 2.03 x 2.03 |
| Reconstructed Spatial Resolution (mm) | 1.25 x 1.25 | 1.25 x 1.25 x 1.25 | 1.37 x 1.37 |
| Velocity Encoding (cm/s) | -- | 100-150 | -- |

Note—Reported values are the ranges (minima and maxima) for each parameter. Parameters were tailored to each individual’s anatomy and the field strength used.

Table 2: Demographics, LV function, and LV strain measures in all subjects

|  |  | Controls (n=19) | Anterior AMI Patients (n=12) | P-value |
| --- | --- | --- | --- | --- |
| Sex (male, n) |  | 10 | 11 | 0.02 |
| Age (years) |  | 40 ± 16 | 66 ± 12 | 2E-05 |
| Weight (kg) |  | 76 ± 11 | 86 ± 25 | 0.23 |
| Heart rate (bpm) |  | 60 ± 10 | 79 ± 15 | 0.002 |
| Stroke volume (mL) |  | 95 ± 16 | 65 ± 21 | 5E-04 |
| Cardiac output (L/min) |  | 5.6 ± 0.9 | 5 ± 1.1 | 0.10 |
| End diastolic volume (mL) |  | 141 ± 24 | 149 ± 32 | 0.46 |
| Ejection fraction (%) |  | 68% ± 6% | 44% ± 10% | 2E-06 |
| Radial strain (%) | Base | 31% ± 9% | 33% ± 14% | 0.73 |
|  | Mid-ventricle | 42% ± 9% | 28% ± 18% | 0.02 |
|  | Apex | 36% ± 18% | 14% ± 20% | 0.01 |
| Circumferential strain (%) | Base | -18% ± 2% | -12% ± 4% | 1E-04 |
|  | Mid-ventricle | -19% ± 3% | -10% ± 5% | 2E-05 |
|  | Apex | -21% ± 4% | -6% ± 5% | 5E-08 |
| Longitudinal strain (%) |  | -16% ± 2% | -7% ± 3% | 1E-07 |

Note—Reported values are mean ± 1 standard deviation. P-values were computed using two-sample t-tests.

Table 3: LV flow parameters in controls and anterior AMI patients

| Flow Parameter | Region | Controls (n=19) | Anterior AMI (n=12) | P-value | ΔMI | 95% CI |
| --- | --- | --- | --- | --- | --- | --- |
| Peak Systolic Flow (L/min) | Base | 16.2 ± 5.4 | 8.4 ± 6.8 | 0.28 | -2.1 | [-5.9,1.8] |
|  | Mid-ventricle | 8.5 ± 3.6 | 5.5 ± 3 | 0.01 | -3.9 | [-6.5,-1.2] |
|  | Apex | 2.2 ± 1 | 1.4 ± 1.4 | 0.02 | -1.4 | [-2.6,-0.2] |
| Peak Diastolic Flow (L/min) | Base | 18.6 ± 6.9 | 13.3 ± 4.7 | 0.70 | 1.1 | [-4.9,7.1] |
|  | Mid-ventricle | 12 ± 4.3 | 9.1 ± 4.3 | 0.35 | -1.6 | [-5.1,1.9] |
|  | Apex | 3.1 ± 1.5 | 2 ± 1.1 | 0.01 | -2.4 | [-4.0,-0.8] |
| Average KEiEDV (µJ/mL) | Whole LV | 11.3 ± 2.7 | 16.6 ± 11.9 | 0.79 | -1.0 | [-8.4,6.4] |
| Average KEiSV (µJ/mL) | Whole LV | 17.5 ± 5 | 41.3 ± 37.7 | 0.16 | 10.8 | [-4.4,26.0] |

Note—Reported values are median ± interquartile range (IQR). P-values were computed using multivariable linear regression models with age, sex, and heart rate as covariates. Bold text represents a significant P-value. ΔMI is the expected difference in the LV flow parameter due to the anterior AMI. 95% CI is the 95% confidence interval for ΔMI.

KEiEDV: Kinetic energy indexed to end diastolic volume

KEiSV: Kinetic energy indexed to stroke volume

Table 4: P-values for correlation of regional LV flow parameters with traditional CMR parameters in anterior AMI patients

|  | Peak Systolic Flow (L/min) |  |  | Peak Diastolic Flow (L/min) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Base | Mid-ventricle | Apex | Base | Mid-ventricle | Apex |
| Infarct size | 0.81 | 0.19 | 0.66 | 0.36 | 0.14 | 0.3 |
| Heart rate | 0.02 (-0.64) | 0.14 | 0.28 | 0.85 | 0.13 | 0.17 |
| Stroke volume | 0.03 (0.63) | 0.11 | 0.28 | 0.72 | 0.57 | 0.35 |
| Cardiac output | 0.46 | 0.99 | 0.22 | 0.59 | 0.77 | 0.83 |
| Ejection fraction | 0.001 (0.84) | 0.03 (0.62) | 0.19 | 0.38 | 0.79 | 0.24 |
| End diastolic volume | 0.97 | 0.84 | 0.23 | 0.9 | 0.56 | 0.66 |
| Global peak longitudinal strain | 0.13 | 0.35 | 0.67 | 0.8 | 0.57 | 0.33 |
| Regional peak radial strain | 0.08 | 0.2 | 0.6 | 0.67 | 0.96 | 0.42 |
| Regional peak circumferential strain | 0.02 (-0.69) | 0.15 | 0.67 | 0.65 | 0.92 | 0.43 |

Note—Shown are P-values for spearman’s correlation coefficient. For P-values <0.05, the correlation coefficient is included in parentheses, and the box is in boldface text. Through-plane flow and strain were compared on a region-by-region basis (i.e. flow in the LV base was compared with strain in the LV base).