After the pre-contrast scanning was finished, the dimeglumine gadopentetate (Beilu Pharmaceutical Co., LTD) was injected into the patient with a dose of 0.2 ml/kg via the antecubital venous. Once the injection was finished, the post-contrast scanning started.
The scanning parameters are showing in Supplementary B.

Supplementary B. The scanning parameters for the axial T1WI, T2WI, flair,  DWI/ADC and T1WI contrast enhancement of each MRI scanner.

The scanning parameters for the precontrast axial T1WI

| MRI scanner | TR (ms) | TE (ms) | Slice thickness (mm) | FOV |
| --- | --- | --- | --- | --- |
| GE Discovery MR750 | 2275 | 19 | 5.50 | 512×512 |
| GE Medical System Genesis Signa | 2000 | 23 | 4.00 | 512×512 |
| Siemens MAGNETOM Trio TimSystem | 2000 | 9.0 | 5.00 | 320×320 |
| Siemens MAGNETOM Verio GE Singa HDe | 1900 1750 | 8.6 29 | 5.00 5.50 | 512×496 512×512 |
| Philips Ingenia | 6.6 | 3.1 | 5.00 | 512×512 |

The scanning parameters for the axial T2WI

| MRI scanner | TR (ms) | TE (ms) | Slice thickness (mm) | FOV |
| --- | --- | --- | --- | --- |
| GE Discovery MR750 | 6711 | 111 | 5.00 | 512×512 |
| GE Medical System Genesis Signa | 4291 | 127 | 4.00 | 512×512 |
| Siemens MAGNETOM Trio TimSystem | 5550 | 117 | 5.00 | 320×320 |
| Siemens MAGNETOM Verio GE Singa HDe | 4500 4415 | 99 89 | 5.00 5.50 | 640×640 512×512 |
| Philips Ingenia | 2800 | 135 | 5.00 | 512×512 |

The scanning parameters for the axial Flair

| MRI scanner | TR (ms) | TE (ms) | Slice thickness (mm) | FOV |
| --- | --- | --- | --- | --- |
| GE Discovery MR750 | 8000 | 148 | 5.50 | 512×512 |
| GE Medical System Genesis Signa | 9000 | 121 | 4.00 | 512×512 |
| Siemens MAGNETOM Trio TimSystem | 6800 | 81 | 5.00 | 320×320 |
| Siemens MAGNETOM Verio GE Singa HDe | 7500 9054 | 85 138 | 5.00 5.50 | 512×464 512×512 |
| Philips Ingenia | 4800 | 255 | 5.00 | 512×512 |

The scanning parameters for the axial DWI (b=1000, b=0)/ADC

| MRI scanner | TR (ms) | TE (ms) | Slice thickness (mm) | FOV |
| --- | --- | --- | --- | --- |
| GE Discovery MR750 | 2300 | 63 | 5.50 | 256×256 |
| GE Medical System Genesis Signa | 4000 | 59 | 4.00 | 256×256 |
| Siemens MAGNETOM Trio TimSystem | 3130 | 55 | 5.00 | 160×160 |
| Siemens MAGNETOM Verio GE Singa HDe | 6700 4177 | 86 84 | 5.00 5.50 | 156×156 256×256 |
| Philips Ingenia | 2221 | 58 | 5.00 | 256×256 |

| MRI scanner | TR (ms) | TE (ms) | Slice thickness (mm) | FOV |
| --- | --- | --- | --- | --- |
| GE Discovery MR750 | 2804 | 19 | 5.00 | 512×512 |
| GE Medical System Genesis Signa | 2031 | 19 | 5.00 | 512×512 |
| Siemens MAGNETOM Trio TimSystem | 2000 | 9.8 | 5.00 | 512×432 |
| Siemens MAGNETOM Verio GE Singa HDe | 1900 2378 | 9.4 10 | 5.00 5.00 | 512×496 512×512 |
| Philips Ingenia | 2000 | 20 | 5.00 | 512×512 |

The scanning parameters for the axial T1WI contrast enhancement