Supplementary Figure 1. Calibration curves of the planar optodes used for the measurements of the chemical microenvironment in the cut coral fragments. The planar optodes were calibrated in aquaria with a constant seawater temperature of 27 °C in a darkened room. The calibration range was 0-340 µmol/L for the O2-sensitive planar optode and 6-9 for the pH-sensitive planar optodes (only values represented by the orange dots were used in the calibration). The same planar optode was used for all O2 measurements and three planar optodes (1, 2 and 3) for pH measurements. The pH calibration was performed with P. lutea and P. australensis skeletons on top of the optodes with the aim of accounting for the scattering properties of the skeleton of each coral species. The calibration of ‘b’, ‘d’ and ‘f’ were used for measurements of P. australensis samples, whereas ‘c’, ‘e’ and ‘g’ were for P. lutea samples. For the O2 calibration the scattering properties of the skeletons were compensated for by subtracting the first image (taken at anoxic conditions) of each experiment from subsequent images. The samples FRH46, 47, 52 and 53 were measured on pH optode 1 (b and c), the samples FRH 48, 49, 50, 51 and 54 were measured on pH optode 2 (d and e) and the samples FRH 55, 56 and 57 were measured on pH optode 3 (f and g).

Supplementary Figure 2. Schematic diagram of the chemical imaging setup. Corals were positioned in an aquarium with aerated seawater positioned on top of transparent O2 or pH planar optode. Coral samples were fixed in place by using black plasticine to seal of the sample edges impairing exchange of O2 between the aquarium, the coral tissue and the coral skeleton cut surface. The coral skeleton cross-section was illuminated through the planar optode by Schott Leica KL 2500 LCD Cold Light Sources. The coral skeleton cross-sections were imaged using a modified DSLR camera equipped with emission filters, specifically chosen for the used indicator and reference dyes for O2 and pH imaging. A trigger box controlled through a PC was used for synchronized triggering of the excitation light and image acquisition. These images were split and saved for the three individual channels (red, green and blue) of the camera. They were analyzed using the freely available software ImageJ v1.53K. Images were calibrated and colour coded according to a separately acquired calibration curve. For specifications on the setup and data analysis please refer to Larsen et al. ().

Supplementary Figure 2. Schematic diagram of the chemical imaging setup. Corals were positioned in an aquarium with aerated seawater positioned on top of transparent O2 or pH planar optode. Coral samples were fixed in place by using black plasticine to seal of the sample edges impairing exchange of O2 between the aquarium, the coral tissue and the coral skeleton cut surface. The coral skeleton cross-section was illuminated through the planar optode by Schott Leica KL 2500 LCD Cold Light Sources. The coral skeleton cross-sections were imaged using a modified DSLR camera equipped with emission filters, specifically chosen for the used indicator and reference dyes for O2 and pH imaging. A trigger box controlled through a PC was used for synchronized triggering of the excitation light and image acquisition. These images were split and saved for the three individual channels (red, green and blue) of the camera. They were analyzed using the freely available software ImageJ v1.53K. Images were calibrated and colour coded according to a separately acquired calibration curve. For specifications on the setup and data analysis please refer to Larsen et al. (2011).

Supplementary Figure 3. Hyperspectral reflectance imaging of Po. lutea (a, c and e) and Pa. asutralensis (b, d and f) skeletal cross-sections showing the spatial distribution of zones with similar reflectance properties. The graphs show the reflectance of each colour coded skeletal zone indicating apparent chlorophyll pigments composition. Specifically, absorption in the regions 550-640 nm suggest phycobiliprotein; in the region 660-685 nm suggests chlorophyll a; in the region 710-740 nm suggests chlorophyll d, f, and far-red chlorophyll a; in the regions 745-855 nm suggest bacteriochlorophyll. Scalebars are 1 cm.

Supplementary Figure 4. Boxplots showing the observed ɑ-diversity of the anoxygenic phototrophic bacteria harboured in Po. lutea (a) and Pa. australensis (b) skeletons.

Supplementary Figure 5. Chemical imaging of Po. lutea FRH48 and Pa. australensis FRH54 skeletons. The images show O2 and pH gradients within the skeleton during homogeneous exposure of the cut surface to incident photon irradiance (400-700 nm) of ~21 µmol photons m-2 s-1 and during the following dark profile. Scale bars of O2 and pH aim to show the values measured within the skeleton cross-sections. While pH spanned several units across the skeleton’s cross-sections, O2 values were very low throughout the whole experiment. Skeletons were acclimated for eight hours prior to experiments. Scale bars next to skeleton cross-sections are 1 cm.

Supplementary Figure 6. Panels aim to link physicochemical gradients and inferred functional profiles across skeletal layers of Po. lutea and Pa. australensis samples. Top panel shows O2 and pH gradients across the skeleton as measured during homogeneous exposure of the cut surface to incident photon irradiance (400-700 nm) of ~21 µmol photons m-2 s-1. Middle (whole bacterial community) and bottom (bacterial phototrophs) panels show carbon, nitrogen and sulphur inferred functional profiles of each skeletal layer. Functions were inferred using the software PICRUSt and Tax4Fun2, and only those metabolic pathways that were retrieved from both software were retained and presented. Bubble sizes represent abundance.

Supplementary Figure 7. CCA biplot showing Po. lutea bacterial community structure according to the explanatory quantitative variables O2 and pH (arrows) measured during homogeneous exposure of the cut surface to incident photon irradiance (400-700 nm) of ~50 µmol m-2 s-1. Numbers indicate individual ASVs and for a full list linking to their taxonomy refer to Supplementary Table 4. Highlighted ASVs represent taxa listed in the main manuscript body, specifically Spirochaeta (bold numbers), Tistlia (italic bold numbers) and Chlorobi (underlined numbers).

Supplementary Figure 8. CCA biplot showing Pa. australensis bacterial community structure according to the explanatory quantitative variables O2 and pH (arrows) measured during homogeneous exposure of the cut surface to incident photon irradiance (400-700 nm) of ~21 µmol m-2 s-1.  Numbers indicate individual ASVs and for a full list linking to their taxonomy refer to Supplementary Table 5. Highlighted ASVs represent taxa listed in the main manuscript body, specifically Alteromonas (bold numbers), Pseudoalteromoans (italic bold numbers) and Paramaledivibacter (underlined numbers).

Supplementary Tables are big datasets and because of their size are available as .xlsx files at https://melbourne.figshare.com/projects/Linking_the_microbial_and_physicochemical_landscapes_of_the_coral_skeleton/130694. This link is also available in the Data availability section.

Supplementary Table 1. Table showing eukaryotic and bacterial phototrophic ASVs in the skeletons of Po. lutea and Pa. australensis. The table also show number of reads and taxonomical identification associated with each ASV.

Supplementary Table 2. The table show the O2 and pH gradients measured inside the skeletons of Po. lutea and Pa. australensis during exposure to light profiles at intensities of ~8, ~21 and ~50 µmol photons m-2 s-1.

Supplementary Table 3. Results of PERMANOVA correlating bacterial community β-diversity and O2 and pH gradients.

Supplementary Table 4. List of bacterial ASVs that correlated with O2 and pH gradients in the CCA biplot of Po. lutea (Supp. Fig. 7). ASV numbers in this table match the ASV numbers in Supp. Fig. 7.

Supplementary Table 5. List of bacterial ASVs that correlated with O2 and pH gradients in the CCA biplot of Pa. australensis (Supp. Fig. 8). ASV numbers in this table match the ASV numbers in Supp. Fig. 8.