[bookmark: _GoBack]Additional file 2. Performance of Giemsa-based microscopy in comparison with nested PCR in the identification of malaria infection 
	 
	 
	nPCR
	 

	 
	 
	Negative
	Positive
	Total

	LM
	Negative
	19 (TN)
	14 (FN)
	33

	
	Positive
	2 (FP)
	84 (TP)
	86

	
	Total
	21
	98
	119

	
	
	
	
	

	Se, % (95% CI)
	85.7 (77.4 - 91.2)
	
	
	

	Sp, % (95% CI)
	90.5 (71.1 - 97.3)
	
	
	

	PPV, % (95% CI)
	97.6 (91.9 – 99.3)
	
	
	

	NPV, % (95% CI)
	57.6 (40.8 – 72.8)
	
	
	

	FNR, % (95% CI)
	14.3 (8.7 – 22.6)
	
	
	

	FPR, % (95% CI)
	9.5 (2.7 – 28.9) 
	
	
	

	Accuracy, %, (95% CI)
	86.6 (79.3 – 91.6)
	
	
	

	Kappa (Standard error), p-value
	0.70 (0.07), < 0.0001*
	 
	 
	 


LM: Light microscopy, PCR: Nested polymerase chain reaction, FN: False negative, FP: False positive, TN: True negative, TP: True positive, Se: sensitivity, Sp: Specificity, PPV: Positive predictive value, NPV: Negative predictive value, FPR: False positive rate, FNR: False negative rate, 95%CI: confidence interval at 95%, NS: Not statistically significant, Se = [(TP/TP + FN)*100], Sp = [(TN/TN + FP)*100], PPV = [(TP/TP + FP)*100], NPV = [(TN/TN + FN)*100],  FPR = 100 – Sp, FNR = 100 – Se, Kappa index were computed and categorized as described by Landis and Koch as follows: very poor (<0.00), poor (0.00-0.20), moderate (0.21-0.60), good (0.61-0.80) and excellent (≥ 0.81); *: statistically significant at p < 0.05.

