Supporting Information

Increasing Occupancy Levels in an Operating Room Environment Increases Detectable Ambient CO2 Concentrations

S1: Sensor 1, trial 1 (see Figure 1 for sensor 2 data): CO2 concentration as a function of occupation time for a single individual in an enclosed OR with no ventilation.  When an individual enters an enclosed room, the amount of detectable CO2 increases with occupation time.  The rate of CO2 increase is dependent on the activity level of the individual.  The CO2 increases more quickly when the individual paces the room compared to when the individual is at rest.

S2: Sensor 2, trial 2: CO2 concentration as a function of occupation time for a single individual in an enclosed OR with no ventilation.  When an individual enters an enclosed room, the amount of detectable CO2 increases with occupation time.  The rate of CO2 increase is dependent on the activity level of the individual.  The CO2 increases more quickly when the individual paces the room compared to when the individual is at rest.

S3: Sensor 1, Trial 2: CO2 concentration as a function of occupation time for a single individual in an enclosed OR with no ventilation.  When an individual enters an enclosed room, the amount of detectable CO2 increases with occupation time.  The rate of CO2 increase is dependent on the activity level of the individual.  The CO2 increases more quickly when the individual paces the room compared to when the individual is at rest.

S4: Sensor 2, Trial 3: CO2 concentration as a function of occupation time for a single individual in an enclosed OR with no ventilation.  When an individual enters an enclosed room, the amount of detectable CO2 increases with occupation time.  The rate of CO2 increase is dependent on the activity level of the individual.  The CO2 increases more quickly when the individual paces the room compared to when the individual is at rest.

S5: Sensor 1, Trial 3: CO2 concentration as a function of occupation time for a single individual in an enclosed OR with no ventilation.  When an individual enters an enclosed room, the amount of detectable CO2 increases with occupation time.  The rate of CO2 increase is dependent on the activity level of the individual.  The CO2 increases more quickly when the individual paces the room compared to when the individual is at rest.

S6: Sensor 1: When an individual enters an enclosed room containing normal OR air flow conditions (positive pressure of 0.03 in. H2O and a ventilation system operating at 20 ACH), CO2 exhalation can be detected provided that the individual is moderately active.  When a single person paces the OR for 1 hour, the amount of CO2 in the room increases.  When the active individual becomes seated and performs no physical activity the CO2 level decreases.

S7: Sensor 1 data: The amount of detected CO2 increases over a 20-minute period when individuals are present in an OR with an air circulation system operating at a level of approximately 20 ACH and a positive pressure of 0.03 in. H2O.  As the number of individuals in the room increases, the amount of detected CO2 increases.  Upon exit, the CO2 level decreases.