Supplementary Table 1. Comparison of IgG in-house ELISA with IgGs1/S2 DiaSorin assay

|  | IgG to RBD by ELISA |  | S1/S2 IgG (DiaSorin) |  |  |
| --- | --- | --- | --- | --- | --- |
| Sample Code | (OD 450 nm) | Result | AU/ml | Result | Match |
| PV-4 | 0.779 | Positive | 127 | positive | TP |
| PV-8 | 0.202 | negative | <3.80 | negative | TN |
| PV-9 | 0.141 | negative | <3.80 | negative | TN |
| PV-10 | 0.226 | negative | <3.80 | negative | TN |
| PV-12 | 0.148 | negative | <3.80 | negative | TN |
| PV-14 | 0.857 | Positive | 147 | positive | TP |
| PV-16 | 0.817 | Positive | 136 | positive | TP |
| PV-17 | 0.735 | Positive | 95.9 | positive | TP |
| PV-18 | 0.693 | Positive | 129 | positive | TP |
| PV-20 | 0.324 | negative | <3.80 | negative | TN |
| PV-22 | 0.527 | Positive | 92.5 | positive | TP |
| PV-23 | 2.327 | Positive | >400 | positive | TP |
| PV-41 | 2.08 | Positive | 304 | positive | TP |
| PV-44 | 1.05 | Positive | 144 | positive | TP |
| PV-45 | 1.84 | Positive |  |  | TP |
| PV-56 | 1.13 | Positive | 44.1 | positive | TP |
| PV-57 | 1.23 | Positive | 81 | positive | TP |
| PV-59 | 2.32 | Positive | 124 | positive | TP |
| PV-60 | 0.51 | Positive | 81.5 | positive | TP |
| PV-66 | 1.24 | Positive | 145 | positive | TP |
| PV-80 | 0.53 | Positive | 54 | positive | TP |
| PV-101 | 0.52 | Positive | 126 | positive | TP |
| PV-109 | 0.57 | Positive | 16.7 | positive | TP |
| PV-114 | 2.19 | Positive | 90.8 | positive | TP |
| PV-194 | 1.414 | Positive | 41.5 | positive | TP |

TP, true positive; TN, true negative; Cut off for positive results in ELISA is 0.5 OD 450 nm; LIAISON® SARS-CoV-2 S1/S2 IgG recommends, Negative (< 12.0 AU/mL), Equivocal (12.0 – 15.0 AU/mL) and Positive (> 15.0 AU/mL).