Supplementary Materials

eTable 1. Study characteristics. ¥ Information not specified. SS = single shot. RS = read-out-segment

| Study | Country | Make & Model (T) | TE (TR) in ms | EPI type | Subject position (coil [Transmit/Receive T/R or Receive only, R], channels) | Parallel Imaging (partial Fourier) | Resolution (In plane x Slice Thickness, mm) | Number of Signals | b-values (directions) | Number of raters | Subjects (limbs) M:F | Mean Age (SD) [Range] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bäumer 201437 | Germany | Siemens TIM-TRIO (3T) | 99 (3800) | SS | Superman (Knee [T/R], 15) | ¥ (¥) | 1.17x1.17x4 | 2 | 1200 (19) | 2 | 30 (30) 13:17 | 39.3 (11.38) [25-68] |
| Ohana 201227 | France | GE Signa (3T) | 105 (5200) | ¥ | Superman (Wrist [R], 8) | ¥ (¥) | 1.09x1.09x4 | 3 | 1000 (15, 20, 30) | 2 | 14 (14) 11:3 | 27.5 (1.76) [20-32] |
| Jengojan 201546 | Austria | Philips Achieva (3T) | 78 (6433) | SS | Supine, arm by side (Flexible [R], ¥) | ¥ (¥) | 1.5x1.5x ¥ | 5 | 700 (16) | 2 | 13 (13) 8:5 | 24.3(1.94) [22-28] |
| Ho 202153 | Switzerland | Siemens Skyra (3T) | 77 (4400) | SS | Superman (Flexible, 4) | ¥ (¥) | 1.2x1.2x2 | 1 | 1000 (20) | 2 | 10 (20) 5:5 | 32.1 (4.45) [¥-¥] |
| Ho 201838 | Switzerland | Siemens Skyra (3T) | 77 (4400) | SS and RS | Superman (Flexible, 4) | GRAPPA (6/8) | 1.2x1.2x4 | 2 | 1000 (20) | 2 | 10 (10) 5:5 | 30.4 (4.01) [25-36] |
| Park 202048 | Korea | Philips Achieva (3T) | 91 (7049) | SS | Superman (¥, ¥) | SENSE (¥) | 1.1x1.1x3 1.3x1.3x3 1.5x1.5x3 1.3x1.3x4 1.3x1.3x5 | 5 | 1200 (15) | 2 | 15 (15) 9:6 | 30 (6.8) [22-42] |
| Breckwoldt 201539 | Germany | Siemens TIM-TRIO and Vario (3T) | 94 (3800) | ¥ | Supine arm overhead (¥, ¥) | GRAPPA (7/8) | 1.14x1.14x4 | 2 | 1200 (19) | 2 | 30 (30) 16:14 | 40.67 (13.07) [20-70] |
| Kabakci 200747 | Turkey | Philips Achieva (3T) | 90 (4600) | SS | Superman (head [T/R], 8] | ¥ (¥) | 1.09375x1.09375x4 | 3 | 1000 (32) | ¥ | 20 (20) 6:14 | 27.5 (1.85) [21-35] |
| Kronlage 201741 | Germany | Siemens TIM-TRIO (3T) | 92.8 (4000) | SS | Superman (Flexible [R], 16) | GRAPPA (¥) | 1.25x1.25x4 | 3 | 1000 (20) | 1 | 18 (18) 11:7 | 54.9 (13.3) [¥-¥] |
| Zhou 201249 | USA | Philips Achieva (3T) | 65 (7200) | SS | Superman (Knee [T/R], 8) | SENSE (¥) | 1.8x1.8x3 | 2 | 1000 (21) | ¥ | 10 (20) 5:5 | 26.5 (3.23) [22-32] |
| Jambawalikar 201045 | USA | Philips ¥ (3T) | 69 (5300) | SS | Superman (Knee [T/R], 8) | ¥ (¥) | 1.25x1.25x4 | 2 | 1000 (6) | ¥ | 10 (10) 8:2 | 30.3 (4.85) [24-39] |
| Stein 200952 | Israel | GE Signa | 81 (10,000) | SS | ¥ (¥,¥) | ¥ (¥) | ¥ x1.09x3 | 2 | 1000 (6) | ¥ | 17 (17) 7:10 | 26 (2.78) [24-34] |
| Zhou 201450 | USA | Philips ¥ (3T) | 65 (7200) | SS | Superman (Flexible [R], 8) | SENSE (6/8) | 1x1x3 | 2 | 1000 (42) | 1 | 10 (10) 5:5 | 27 (3.88) [22-34] |
| Breitenseher 201543 | Austria | Philips Achieva (3T) | 100 (3964) | SS | Supine, arm by side (Flexible [R], 2) | ¥ (¥) | 1.18x1.16x4 | 2 | 700 (16) | 2 | 20 (20) 14:6 | 40 (8.56) [28-60] |
| Haakma 201728 | Netherlands | Philips Achieva (3T) | 66 (6340) | SS | Superman (Flexible [R], 32) | SENSE (¥) | 1.5x1.5x4 | 1 | 800 (15) | ¥ | 10 (20) 8:2 | 54 (12.28) [29-67] |
| Kronlage 201842 | Germany | Siemens TIM-TRIO (3T) | 92.8 (4000) | SS | Superman (Flexible [R], 16) | GRAPPA (¥) | 1.25x1.25x4 | 3 | 1000 (20) | 2 | 60 (60) 30:30 | 50.1 (17. 3) [25-80] |
| Raval 201730 | USA | Siemens TIM-TRIO (7T) | 83 (7000) | ¥ | Superman (Flexible [R], 8) | Used but ¥ (¥) | 0.14x0.14x3 | 5 | 1300 (64) | 2 | 3 (3) ¥:¥ | ¥ (¥) [¥-¥] |
| Griffiths 202140 | UK | Siemens Prisma (3T) | 74 (7800) | SS | Superman (Flexible [R], 4) | GRAPPA (6/8) | 1.5x1.5x3 | 4 | 800 (30) | 2 | 13 (13) 8:5 | 28 (6) [21-40] |
| D'Souza 202151 | Australia | GE MR750 (3T) | 72 (3900) | SS | Superman (Knee [T/R], 8) | ASSET (Not used) | 0.625x0.625x3 | 2 | 300, 450, 600, 750 and 900 (24) | ¥ | 8 (8) 5:3 | 30 (8) [¥-¥] |
| Edward 202044 | Egypt | Philips Sense (1.5T) | ¥ (¥) | SS | Superman (Wrist, ¥) | ¥ (¥) | ¥ | ¥ | 2000 (32) | ¥ | 15 (30) 10:5 | 45.67 (7.77) [¥-¥] |

eFigure 1. The directed acyclic graph designed to define confounders (red coloured nodes, with red arrows) which must be adjusted for when exploring the relationship between b-value (the exposure) and fractional anisotropy (the outcome). Open causal pathways have green arrows.

eFigure 2. The directed acyclic graph designed to define confounders (red coloured nodes, with red arrows) which must be adjusted for when exploring the relationship between TE (the exposure) and fractional anisotropy (the outcome). Open causal pathways have green arrows.

eFigure 3. The directed acyclic graph designed to define confounders (of which there are none in this network) which must be adjusted for when exploring the relationship between age (the exposure) and fractional anisotropy (the outcome). Open causal pathways have green arrows.

eFigure 4. The directed acyclic graph designed to define confounders (of which there are none) which must be adjusted for when exploring the relationship between anatomical location (the exposure) and fractional anisotropy (the outcome). Open causal pathways have green arrows.

eFigure 5. The directed acyclic graph designed to define confounders (red coloured nodes, with red arrows) which must be adjusted for when exploring the relationship between TR (the exposure) and fractional anisotropy (the outcome). Open causal pathways have green arrows.

eFigure 6. The directed acyclic graph designed to define confounders (red coloured nodes, with red arrows) which must be adjusted for when exploring the relationship between spatial resolution (the exposure) and fractional anisotropy (the outcome). Open causal pathways have green arrows.

eFigure 7. The directed acyclic graph designed to define confounders (red coloured nodes, with red arrows) which must be adjusted for when exploring the relationship between ND (the exposure) and fractional anisotropy (the outcome). Open causal pathways have green arrows.

eFigure 8. PRISMA flow diagram

eFigure 9. Forest plot of the normal MD of the median, ulnar and radial nerves in the arm, sorted by the echo time and b-value.

eFigure 10. Forest plot of the normal RD of the median, ulnar and radial nerves in the arm, sorted by the echo time and b-value.

eFigure 11. Forest plot of the normal AD of the median, ulnar and radial nerves in the arm, sorted by the echo time and b-value.

eFigure 12. Forest plot of the normal MD of the median, ulnar and radial nerves around the elbow, sorted by the echo time and b-value.

eFigure 13. Forest plot of the normal RD of the median, ulnar and radial nerves around the elbow, sorted by the echo time and b-value.

eFigure 14. Forest plot of the normal AD of the median, ulnar and radial nerves around the elbow, sorted by the echo time and b-value.

eFigure 15. Forest plot of the normal MD of the median, ulnar and radial nerves in the forearm, sorted by the echo time and b-value.

eFigure 16. Forest plot of the normal RD of the median, ulnar and radial nerves in the forearm, sorted by the echo time and b-value.

eFigure 17. Forest plot of the normal AD of the median, ulnar and radial nerves in the forearm, sorted by the echo time and b-value.

Appendix 1. Search strategy

- Median

- Pronator

- Ulnar

- Cubital

- Radial

- Forearm

- Arm

- Upper limb

- Elbow

- Diffusion?tensor

- DTI

- Diffusion MRI

- Diffusion magnetic resonance imaging

- Q?space

- Diffusion?weighted

- DWI

- Anisotropic diffusion

- 1 OR 2 OR 3 OR 4 OR 5 OR 6 OR 7 OR 8 OR 9

- 10 OR 11 OR 12 OR 13 OR 14 OR 15 OR 16 OR 17

- 18 AND 19