Tables

Table 1 Sequences of the primers and probes for M .ovipneumoniae real-time RPA, LFS RPA and PCR assays

| Assay | Primers and probes | Sequence 5´-3´ | Amplicon size (bp) | References |
| --- | --- | --- | --- | --- |
| real-time RPA | MO-exo-F | TGAGTAACACGTACCTAACCTACCTTTTGGAC | 254 | This study |
|  | MO-exo-R | TGCTGCCTCCCGTAGGAGTCTGGGCCGTATCTC |  |  |
|  | MO-exo-P | TTGGTAGGGTAAAGGCCTACCAAGACGATGA (FAM-dT)(THF)(BHQ1-dT)TTAGCGGGGCCAAGAG -C3-spacer |  |  |
| LFS RPA | MO-nfo-F | TGAGTAACACGTACCTAACCTACCTTTTGGAC | 254 | This study |
|  | MO-nfo-R | Biotin-TGCTGCCTCCCGTAGGAGTCTGGGCCGTATCTC |  |  |
|  | MO-nfo-P | FAM-TTGGTAGGGTAAAGGCCTACCAAGACGATGAT(THF)TTTAGCGGGGCCAAGAG-C3-spacer |  |  |
| real-time PCR | Mo16S_35F | TGGGTGAGTAACACGTACCTAACC | 62 | [4] |
|  | Mo16S_96R | AGCCGCTGTTTCCAATGG |  |  |
|  | Mo16S_60T | FAM-ACCTTTTGGACCGGGATA-MGB |  |  |
| PCR | LMF1 | TGAACGGAATATGTTAGCTT | 361 | [9] |
|  | LMR1 | GACTTCATCCTGCACTCTGT |  |  |

Table 2 Comparison of M. ovipneumoniae real-time RPA, LFS RPA and real-time PCR assays for detection of clinical samples

| samples | number of samples | real-time RPA /LFS RPA |  | real-time PCR |  |
| --- | --- | --- | --- | --- | --- |
|  |  | P | N | P | N |
| nasal swabs | 30 | 11 | 19 | 13 | 17 |
| fresh lungs | 16 | 6 | 10 | 6 | 10 |
| Total | 46 | 17 | 29 | 19 | 27 |

Note: P, positive; N, negative

Table 3 Diagnostic sensitivity, specificity, predictive value, and kappa value of real-time RPA, LFS RPA and real-time PCR assays for diagnosing M. ovipneumoniae infection

|  |  | real-time PCR |  |  |
| --- | --- | --- | --- | --- |
|  |  | P | N | T |
| real-time RPA | P | 17 | 0 | 17 |
| /LFS RPA | N | 2 | 27 | 29 |
|  | Total | 19 | 27 | 46 |
|  |  | DSe:89.47% | DSp:100% | K:0.909 |
|  |  | PPV:100% | NPV:93.10% |  |

Note: P, positive; N, negative; DSe, diagnostic sensitivity; DSp: diagnostic specificity; K: kappa value; PPV: positive predictive value; NPV: negative predictive value