Table 1 Miscellaneous data of the 
data collection and Rietveld refinements

	[bookmark: _Hlk59171096]2 range (°)
	7-135

	2 step-size (°)
	0.021798

	Counting time (s)
	4

	Tmax (°C)
	900

	T steps (°C)
	25

	Rp (%)
	0.960-1.255

	Rwp (%)
	1.232-1.676

	RBragg (%)
	0.649-0.851

	DWd
	1.190-1.526

	2
	1.046-1.346



Definition of the statistical indicators 
as indicated in Young (1993)
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