Fig. S1. The baselines predicted by the CTGNet vs. those estimated by clinicians. (A-F) Bland-Altman plots for a comparison between automatic measurement and manual-measurement results about baselines on GMU_DB, JNU_DB, SMU_DB, LUC_DB, UHB_DB and ALL, respectively.

Fig. S2. The most divergent examples in each database. (A) The maximum difference of 2.81 bpm on the FHR tracing from GMU_DB; (B) The maximum difference of 3.43 bpm on the FHR tracing from JNU_DB; (C) The maximum difference of 16.52 bpm on the FHR tracing from SMU_DB; (D) The maximum difference of 48.88 bpm on the FHR tracing from LUC_DB; (E) The maximum difference of 18.86 bpm on the FHR tracing from UHB_DB.

Table S1. Studies of comparison between baselines assigned by computer-assisted methods and those estimated by clinicians.

| Studies | Dataset | Signal loss | Devices | Metrics | Values |
| --- | --- | --- | --- | --- | --- |
| Arduini et al. (1994) [9] | Antepartum n =34 | - | Hewlett-Packard® 8040A | LoA | -5.10-5.14 |
| Todros et al. (1996) [8] | Antepartum n =63 | - | Hewlett-Packard® 8040 | Kappa | 0.18-0.48 |
| Mongelli et al. (1997) [10] | Intrapartum n =60 | - | - | ICC | 0.83-0.97 |
| Ayres-de-Campo(2004) [7] | Antepartum n =149 | <15% | Sonicaid®Meridien 800 Hewlett-Packard®M1350B Hewlett-Packard® M1351-3 | Kappa | 0.97(0.90–1.00) |
|  |  |  |  | LoA | -3.22-5.22 |
|  |  |  |  | ICC | 0.98(0.97–0.99) |
|  | Intrapartum n =150 | <15% | Sonicaid®Meridien 800 Hewlett-Packard®M1350B Hewlett-Packard® M1351-3 | Kappa | 0.87(0.79–0.95) |
|  |  |  |  | LoA | -6.45-7.07 |
|  |  |  |  | ICC | 0.95(0.93–0.96) |
| Pinto et al. (2014)[11] | Intrapartum n =40 | - | STANs® 31 | Kappa | 0.83(0.71-0.94) |
| Chen et al. (2014) [12] | Intrapartum n =62 | - | GE® Healthcare system | ICC | 0.91(0.88-0.94) |
| Ours | Intrapartum n =1267 | <50% | Edan® F15, Sanrui® SRF618B5, Lian-Med® F3, STAN® S21 and S31, Avalon® FM40 and FM50 | Kappa | 0.873(0.857- 0.889) |
|  |  |  |  | ICC | 0.969(0.966-0.972) |
|  |  |  |  | LoA | -6.81-7.48 |

ICC: Intra-class correlation coefficient; LoA: Limits of agreement

7.	Ayres-de-Campos, D. and J. Bernardes, Comparison of fetal heart rate baseline estimation by SisPorto 2.01 and a consensus of clinicians. European journal of obstetrics, gynecology, and reproductive biology, 2004. 117(2): p. 174-8.

8.	Todros, T., et al., Fetal heart rate tracings: observers versus computer assessment. European journal of obstetrics, gynecology, and reproductive biology, 1996. 68: p. 83-86.

9.	Arduini, D., et al., Computerized analysis of fetal heart-rate. 2. Comparison with the interpretation of experts. journal of maternal-fetal investigation, 1993. 3(3): p. 165-168.

10.	Mongelli, M., et al., Computerised estimation of the baseline fetal heart rate in labour: the low frequency line. BJOG: an international journal of obstetrics gynaecology, 1997. 104(10): p. 1128-1133.

11.	Pinto, P., et al., Development and evaluation of an algorithm for computer analysis of maternal heart rate during labor. Computers in biology and medicine, 2014. 49: p. 30-35.

12.	Chen, C.-Y., et al., Comparison of a novel computerized analysis program and visual interpretation of cardiotocography. Plos one, 2014. 9(12): p. e112296.