Supporting Information

Construction of electrochemiluminescence aptasensor for acetamiprid detection using flower-liked SnO2 nanocrystals encapsulated Ag3PO4 composite as luminophore

Su Changa, Dong Chunpingb, Jiang Dinga,c, Shan Xuelinga,c, Chen Zhidonga,c

a Jiangsu Key Laboratory of Advanced Catalytic Materials and Technology, School of Petrochemical Engineering, Changzhou University, Changzhou 213164, China.

b School of Pharmacy, Changzhou University, Changzhou 213164, China

c Advanced Catalysis and Green Manufacturing Collaborative Innovation Center，Changzhou University, Changzhou 213164, China.

Corresponding author E-mail：*Z. Chen: zdchen@cczu.edu.cn,

X. Shan: shan0523@cczu.edu.cn

Table S1 Comparison of this developed aptasensor with those in the literature for acetamiprid detection.

| Method | Linear range | LOD | Reference |
| --- | --- | --- | --- |
| ECL | 1.0 × 10−13 ~ 1.2 × 10−8 M | 5.76 × 10−14 M | 1 |
| DPV | 2.5 × 10−9~ 3.75×10−8 M | 1.78 × 10−9 M | 2 |
| CV | 2.0 × 10−6 ~ 2.5 × 10−5 M | 8.6 × 10−8 M | 3 |
| Electrochemical immunosensor | 5 × 10−9 ~ 1 × 10−4 M | 3.2 × 10−9 M | 4 |
| ECL | 1.0×10−11~ 1.0×10−5 | 2.5×10−12 | This work |

Table S2 Acetamiprid determination result table in pond water

| Sample | Added value / pM | Measured value / pM | Recovery rate / % | RSD / % |
| --- | --- | --- | --- | --- |
| pond water | 10.00 | 9.6 | 96.00 | 2.53 |
|  |  | 10.2 | 102.00 |  |
|  |  | 9.8 | 98.00 |  |

References

1.	D. Bahari, B. Babamiri, K. Moradi, A. Salimi and R. Hallaj, Biosens Bioelectron, 2022, 195, 113657.

2.	B. Köksoy, D. Akyüz, A. Şenocak, M. Durmuş and E. Demirbaş, Sen Actuators B, 2021, 329.

3.	R. Rapini, A. Cincinelli and G. Marrazza, Talanta, 2016, 161, 15-21.

4.	X. Xu, Y. Guo, L. Wang, K. He, Y. Guo, X. Wang and S. Gunasekaran, J Agric Food Chem, 2018, 66, 7815-7821.