Levels, daily exposures, and health risk assessment of pesticides and toxic metals in fruits of Lycium barbarum L. (Goji berries) from different sources in Ningxia, China

Yahong Zhang1, Jiaqi Qin2, Yan Wang2, Tongning Zhou2, Ningchuan Feng1,3, Caihong Ma4, Meilin Zhu2,3*

1College of Pharmacy, Ningxia Medical University, Yinchuan 750004, China

2College of Public Health and Management, Ningxia Medical University, Yinchuan 750004, China

3College of Basic Medical Sciences, Ningxia Medical University, Yinchuan 750004, China

4College of Resources and Environmental Science, Ningxia University, Yinchuan 750021, China

* Correspondence: Prof. Meilin Zhu, E-mail: jay70281@163.com, Tel: 0951-6980120

List of Supplementary Material

Figure S1 Distribution of various parameters

Figure S2 Forecast result of the toxic metals

Figure S3 Sensitivity result of the toxic metals

Table S1 The operating parameters of GC analysis to detect pyrethroids and organic phosphorus pesticides

Table S2 ICP-OES working parameters

Table S3 The methodological verification of pesticide detection

Table S4 The methodological verification of toxic metal detection

Table S5 The probabilistic distribution of toxic metal contents

Table S6 The probabilistic distribution of exposure factors

A. Distribution of daily intake (g)

B. Distribution of expose frequency (day/year)

C. Distribution of expose duration (year)

D. Distribution of body weight (kg)

Figure S1 Distribution of various parameters

A. Forecast of HI in Goji from plantation

B. Forecast of HI in Goji from supermarket

C. Forecast of R in Goji from plantation

D. Forecast of R in Goji from supermarket

Figure S2 Forecast result of the toxic metals

EF

DI

C-As

EF

DI

C-As

C-Cd                C-Cu

C-As

EF

DI

C-As

EF

ED

A                               B

C                                 D

A. Sensitivity result of HI-metals Goji from plantation

B. Sensitivity result of HI-metals Goji from supermarket

C. Sensitivity result of R-As Goji from plantation

D. Sensitivity result of R-As Goji from supermarket

Figure S3 Sensitivity result of the toxic metals

Table S1 The operating parameters of GC analysis to detect pyrethroids and organic phosphorus pesticides

| Item | Parameters |  |
| --- | --- | --- |
|  | Pyrethroids pesticides | Organic phosphorus pesticides |
| Detector | Electron capture detector (ECD) | Flame photometric detector (FPD) |
| Chromatographic column | HP-5 | HP-5 |
| Carrier gas | N2 | N2（9 ml/min）H2（40 ml/min） Air (150ml/min) |
| Injection port temperature | 260℃ | 220℃ |
| Detector temperature | 300℃ | 300℃ |
| Injection volume | 1 µl | 1 µl |
| Injection method | Split-flow injection (1:5) | No-split-flow injection |
| Temperature | The initial temperature was 260℃(9min), maintained for 5 min, and then increased to 270℃ with the rate of 2℃/min and maintained for 5 min | The initial temperature was 120℃(9min), and then increased to 240℃ with the rate of 10℃/min and maintained for 2 min |

Table S2 ICP-OES working parameters

| Parameters | Numerical value |
| --- | --- |
| Power (KW) | 1.00 |
| Plasma gas flow (L·min-1) | 15.0 |
| Auxiliary gas flow (L·min-1) | 1.50 |
| Nebulizer pressure (kPa) | 200 |
| One reading time (s) | 5 |
| Pump speed (rpm) | 15 |
| Cleaning time (s) | 10 |
| Condition | All spectral lines |

Table S3 The methodological verification of pesticide detection

| Pesticides | RT (min) | Linear regression equations | correlation coefficients | Recovery (%) | RSD (%) | LOD (µg/g) | LOQ (µg/g) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| dichlorovos | 4.47 | y=4.1824x-0.5483 | 0.9979 | 77.25 | 4.05 | 0.005 | 0.015 |
| omethoate | 7.67 | y=0.1892x-0.0375 | 0.9960 | 86.14 | 5.73 | 0.01 | 0.03 |
| malathion | 11.29 | y=0.3980x-0.0325 | 0.9971 | 92.37 | 3.06 | 0.005 | 0.015 |
| cypermethrin | 8.00 | y=11.068x-0.4788 | 0.9940 | 90.02 | 4.52 | 0.01 | 0.03 |
| fenvalerate | 9.81 | y=4.5172x-0.6651 | 0.9967 | 79.91 | 3.27 | 0.02 | 0.06 |
| deltamethrin | 11.45 | y=8.5566x-2.2726 | 0.9990 | 91.14 | 7.03 | 0.02 | 0.06 |

RT: retention time

LOD: limit of detection

LOQ: limit of quantitation

Table S4 The methodological verification of toxic metal detection

| Element | Linear regression equations | correlation coefficients | Recovery (%) | RSD (%) | LOD (µg/g) | LOQ (µg/g) |
| --- | --- | --- | --- | --- | --- | --- |
| Pb | y=2055.4x+101.34 | 0.9999 | 6.37 | 6.37 | 0.0024 | 0.0072 |
| Cd | y=33932x+531.04 | 1 | 106 | 9.16 | 0.0702 | 0.2106 |
| Cu | y=16204x+657.2 | 1 | 91 | 1.12 | 0.0093 | 0.0279 |
| Ni | y=6400.1x+273.56 | 1 | 102 | 3.44 | 0.0034 | 0.0102 |
| Zn | y=21018x+1643.1 | 0.9999 | 99 | 5.23 | 0.0021 | 0.0063 |
| As | y=525.5x+3.7121 | 1 | 105 | 5.29 | 0.0075 | 0.0225 |

LOD: limit of detection

LOQ: limit of quantitation

Table S5 The probabilistic distribution of toxic metal contents

| Element | Distribution types |
| --- | --- |
| Pb | Beta |
| Cd | Beta |
| Cu | Normal |
| Ni | Maximum extreme value |
| Zn | Lognormal |
| As | Beta |

Table S6 The probabilistic distribution of exposure factors

| Exposure factors | Distribution types | Unit | Value |
| --- | --- | --- | --- |
| Daily intake | Beta | g | 1.37 |
| Expose frequency | Geometry | day/year | 145.7 |
| Expose duration | Lognormal | year | 5.93 |
| Body weight | Beta | kg | 64.81 |