Levels, daily exposures, and health risk assessment of pesticides and metals in fruits of Lycium barbarum L. (Goji berries) sourced from different locations in Ningxia, China

Yahong Zhang1, Jiaqi Qin2, Yan Wang2, Tongning Zhou2, Ningchuan Feng1,3, Caihong Ma4, Meilin Zhu2,3*

1College of Pharmacy, Ningxia Medical University, Yinchuan 750004, China

2College of Public Health and Management, Ningxia Medical University, Yinchuan 750004, China

3College of Basic Medical Sciences, Ningxia Medical University, Yinchuan 750004, China

4College of Resources and Environmental Science, Ningxia University, Yinchuan 750021, China

* Correspondence: Prof. Meilin Zhu, E-mail: jay70281@163.com, Tel: 0951-6980120

List of Supplementary Data

Figure S1 Distribution of various parameters

Figure S2 Forecast result of the metals

Figure S3 Sensitivity result of the metals

Table S1 The operating parameters of GC analysis to detect pyrethroids and organophosphates pesticides

Table S2 ICP-OES working parameters

Table S3 The methodological verification of pesticide detection

Table S4 The methodological verification of metal detection

Table S5 The result of questionnaire on Goji consumption

Table S6 The probabilistic distribution of metal contents

Table S7 The probabilistic distribution of exposure factors

A. Distribution of daily intake (g)

B. Distribution of expose frequency (day/year)

C. Distribution of expose duration (year)

D. Distribution of body weight (kg)

Figure S1 Distribution of various parameters

A. Forecast of HI in Goji from plantation

B. Forecast of HI in Goji from supermarket

C. Forecast of R in Goji from plantation

D. Forecast of R in Goji from supermarket

Figure S2 Forecast result of the metals

A. Sensitivity result of HI-metals Goji from plantation

B. Sensitivity result of HI-metals Goji from supermarket

C. Sensitivity result of R-As Goji from plantation

D. Sensitivity result of R-As Goji from supermarket

Figure S3 Sensitivity result of the metals

Table S1 The operating parameters of GC analysis to detect pyrethroids and organophosphates pesticides

| Item | Parameters |  |
| --- | --- | --- |
|  | Pyrethroids pesticides | Organophosphates pesticides |
| Detector | Electron capture detector (ECD) | Flame photometric detector (FPD) |
| Chromatographic column | HP-5 | HP-5 |
| Carrier gas | N2 | N2（9 ml/min）H2（40 ml/min） Air (150ml/min) |
| Injection port temperature | 260℃ | 220℃ |
| Detector temperature | 300℃ | 300℃ |
| Injection volume | 1 µl | 1 µl |
| Injection method | Split-flow injection (1:5) | No-split-flow injection |
| Temperature | The initial temperature was 260℃(9min), maintained for 5 min, and then increased to 270℃ with the rate of 2℃/min and maintained for 5 min | The initial temperature was 120℃(9min), and then increased to 240℃ with the rate of 10℃/min and maintained for 2 min |

Table S2 ICP-OES working parameters

| Parameters | Numerical value |
| --- | --- |
| Power (KW) | 1.00 |
| Plasma gas flow (L·min-1) | 15.0 |
| Auxiliary gas flow (L·min-1) | 1.50 |
| Nebulizer pressure (kPa) | 200 |
| One reading time (s) | 5 |
| Pump speed (rpm) | 15 |
| Cleaning time (s) | 10 |
| Condition | All spectral lines |

Table S3 The methodological verification of pesticide detection

| Pesticides | RT (min) | Linear regression equations | correlation coefficients | Recovery (%) | RSD (%) | LOD (µg/g) | LOQ (µg/g) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| dichlorovos | 4.47 | y=4.1824x-0.5483 | 0.9979 | 77.25 | 4.05 | 0.0050 | 0.0150 |
| omethoate | 7.67 | y=0.1892x-0.0375 | 0.9960 | 86.14 | 5.73 | 0.0100 | 0.0300 |
| malathion | 11.29 | y=0.3980x-0.0325 | 0.9971 | 92.37 | 3.06 | 0.0050 | 0.0150 |
| cypermethrin | 8.00 | y=11.068x-0.4788 | 0.9940 | 90.02 | 4.52 | 0.0100 | 0.0300 |
| fenvalerate | 9.81 | y=4.5172x-0.6651 | 0.9967 | 79.91 | 3.27 | 0.0200 | 0.0600 |
| deltamethrin | 11.45 | y=8.5566x-2.2726 | 0.9990 | 91.14 | 7.03 | 0.0200 | 0.0600 |

RT: retention time

LOD: limit of detection

LOQ: limit of quantitation

Table S4 The methodological verification of metal detection

| Element | Linear regression equations | correlation coefficients | Recovery (%) | RSD (%) | LOD (µg/g) | LOQ (µg/g) |
| --- | --- | --- | --- | --- | --- | --- |
| Pb | y=2055.4x+101.34 | 0.9999 | 80 | 6.37 | 0.0024 | 0.0072 |
| Cd | y=33932x+531.04 | 1 | 106 | 9.16 | 0.0702 | 0.2106 |
| Cu | y=16204x+657.2 | 1 | 91 | 1.12 | 0.0093 | 0.0279 |
| Ni | y=6400.1x+273.56 | 1 | 102 | 3.44 | 0.0034 | 0.0102 |
| Zn | y=21018x+1643.1 | 0.9999 | 99 | 5.23 | 0.0021 | 0.0063 |
| As | y=525.5x+3.7121 | 1 | 105 | 5.29 | 0.0075 | 0.0225 |

LOD: limit of detection

LOQ: limit of quantitation

Table S5 The result of questionnaire on Goji consumption

| Gender |  | Age (year) |  |  |  |  | Average weight (kg) | Average daily intake (g) | Average exposure frequency (day/year) | Average exposure duration (year) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Male (number) | Female (number) | <20 (number) |  | 20-40 (number) | 40-60 (number) | >60 (number) |  |  |  |  |
| 206 | 95 | 2 | 152 |  | 212 | 35 | 64.81 | 1.37 | 145.7 | 5.93 |

Table S6 The probabilistic distribution of metal contents

| Element | Distribution types |
| --- | --- |
| Pb | Beta |
| Cd | Beta |
| Cu | Normal |
| Ni | Maximum extreme value |
| Zn | Lognormal |
| As | Beta |

Table S7 The probabilistic distribution of exposure factors

| Exposure factors | Distribution types |
| --- | --- |
| Daily intake | Beta |
| Expose frequency | Geometry |
| Expose duration | Lognormal |
| Body weight | Beta |