Supplementary Table

Bioconversion variation of ginsenoside CK mediated by human gut microbiota from healthy volunteers and colorectal cancer patients

Supplementary table 1 MRM parameters of GCK, PPD and PPT

| Compounds | Q1/Q3(Da) | Dwell Time(ms) | DP(V) | CE(V) | CXP(V) | EP(V) |
| --- | --- | --- | --- | --- | --- | --- |
| GCK | 621.3/459.5 | 150 | -200 | -26 | -11 | -10 |
| PPD | 459.2/375.5 | 150 | -150 | -39 | -39 | -10 |
| PPT | 475.5/391.5 | 150 | -170 | -40 | -10 | -10 |

Supplementary table 2 Linearity range, correlation coefficients (r), calibration curves and LLOQ of GCK and PPD

| Compounds | Linear range (ng/ml) | Correlation coefficients (r) | Calibration curves | LLOQ (ng/ml) |
| --- | --- | --- | --- | --- |
| GCK | 2.55-408 | 0.9989 | y=0.0443x-0.00264 | 2.55 |
| PPD | 2.51-402 | 0.9987 | y=0.0386x-0.00614 | 2.51 |

Supplementary table 3 Precision and accuracy of GCK and PPD

| Compounds | Conc. added (ng/mL) | Intra-day (n = 6) |  | Inter-day (n=18) |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Accuracy (%) | Precision (%) | Accuracy (%) | Precision (%) |
| GCK | 2.55 | 98.37 | 5.98 | 96.88 | 7.20 |
|  | 7.65 | 97.76 | 1.73 | 99.51 | 2.69 |
|  | 51 | 95.49 | 4.22 | 95.70 | 3.99 |
|  | 306 | 96.46 | 2.62 | 100.1 | 5.89 |
| PPD | 2.51 | 98.87 | 7.35 | 102.5 | 7.60 |
|  | 7.54 | 97.30 | 2.04 | 101.5 | 9.76 |
|  | 50.3 | 94.69 | 4.72 | 97.42 | 7.43 |
|  | 302 | 98.73 | 5.21 | 99.45 | 5.42 |

Supplementary table 4 Recovery and matrix effect of GCK and PPD

| Compounds | Conc. added (ng/mL) | Recovery (%) (n= 6) |  | Matrix effect (%) (n = 18) |
| --- | --- | --- | --- | --- |
|  |  | Mean | RSD | RSD |
| GCK | 7.65 | 92.90 | 3.70 | 4.51 |
|  | 51 | 89.35 |  | 7.94 |
|  | 306 | 86.31 |  | 8.30 |
| PPD | 7.54 | 94.00 | 4.75 | 6.65 |
|  | 50.3 | 92.00 |  | 8.84 |
|  | 302 | 85.77 |  | 8.68 |
| PPT | 9.8 | 83.46 | 4.63 | 6.97 |

Supplementary table 5 Taxonomical information of the differentially abundance bacteria by LEfSe analysis

| No./Taxonomy | Kingdom | Phylum | Class | Order | Family | Genus |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Bacteria | Actinobacteria | Actinobacteria | Bifidobacteriales | Bifidobacteriaceae | Bifidobacterium |
| 2 | Bacteria | Firmicutes | Clostridia | Clostridiales | Lachnospiraceae | Blautia |
| 3 | Bacteria | Actinobacteria | Actinobacteria | Actinomycetales | Corynebacteriaceae | Corynebacterium |
| 4 | Bacteria | Proteobacteria | Gammaproteobacteria | Pseudomonadales | Moraxellaceae | Enhydrobacter |
| 5 | Bacteria | Firmicutes | Clostridia | Clostridiales | Ruminococcaceae | Faecalibacterium |
| 6 | Bacteria | Firmicutes | Clostridia | Clostridiales | Lachnospiraceae | Roseburia |
| 7 | Bacteria | Actinobacteria | Actinobacteria | Actinomycetales | Micrococcaceae | Rothia |
| 8 | Bacteria | Firmicutes | Clostridia | Clostridiales | Clostridiaceae | SMB53 |
| 9 | Bacteria | Bacteroidetes | Bacteroidia | Bacteroidales | Bacteroidaceae | Bacteroides |
| 10 | Bacteria | Actinobacteria | Coriobacteriia | Coriobacteriales | Coriobacteriaceae | Collinsella |
| 11 | Bacteria | Firmicutes | Erysipelotrichi | Erysipelotrichales | Erysipelotrichaceae | Coprobacillus |
| 12 | Bacteria | Proteobacteria | Gammaproteobacteria | Enterobacteriales | Enterobacteriaceae | - |