Fluid-structure interaction simulation of visceral perfusion and impact of different cannulation methods on aortic dissection

Gyu-Han Lee1, Woon Heo3,4, Youngjin Lee2, Tae-Hoon Kim3, Hyungkyu Huh5, Suk-Won Song3,†, and Hojin Ha2,†

1 Department of Interdisciplinary Program in Biohealth-Machinery Convergence Engineering, Kangwon National University, Chuncheon, Republic of Korea

2 Department of Smart Health Science and Technology, Kangwon National University, Chuncheon, Republic of Korea

3 Department of Thoracic and Cardiovascular Surgery, Gangnam Severance Hospital, Yonsei University College of Medicine, Seoul, Republic of Korea

4 Department of Thoracic and Cardiovascular Surgery, Haeundae Paik Hospital, Inje University College of Medicine, Busan, Republic of Korea

5 Daegu-Gyeongbuk Medical Innovation Foundation, Medical Device development Center, Daegu, Republic of Korea

† Suk-Won Song and Hojin Ha are co-corresponding authors.

Corresponding author

Department of Thoracic and Cardiovascular Surgery, Gangnam Severance Hospital, Yonsei University College of Medicine, 211 Eonju-ro, Gangnam-gu, Seoul 06273, Republic of Korea. Tel: +82-2-2019-3384; e-mail: sevraphd@yuhs.ac (S.-W. Song).

Department of Smart Health Science and Technology, Kangwon National University, 1 Gangwondaehak-gil, Chuncheon 24341, Republic of Korea. Tel: +82-33-250-6310; e-mail: hojinha@kangwon.ac.kr (H. Ha);

Table S1 Mesh independence test for fluid domain

| Type | AC 7 L/min |  |  |
| --- | --- | --- | --- |
| Flow | Elements number | Maximum velocity [m/s] | Maximum pressure [mmHg] |
| M1 | 1135309 | 1.55 | 1674.77 |
| M2 | 1601193 | 1.58 | 1676.68 |
| M3 | 3784296 | 1.60 | 1677.35 |
| Difference [%] | M2/M1 | 1.94 | 0.11 |
|  | M3/M2 | 1.27 | 0.04 |

AC, axillary cannulation