S1. The scanner characteristics for groups of patients examined (All scanners are 1.5 T). For each groups of scanner we reported the Ripetition Time (TR), Echo Time (TE), and Flip Angle (FA) for both sequences T1-W and T2-W.

|  | Manufacturer | Model | TR - T1-W | TR -T2-W | TE - T1-W | TE -T2-W | FA - T1-W | FA - T2-W |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Group A |  |  |  |  |  |  |  |  |
| 23 | Philips medical system | Achieva | 450-650 | 4400-6230 | 12-15 | 100-120 | 69-75 | 90 |
| 14 | Philips medical system | AchievadStream | 579-580 | 4445-4859 | 12 | 100 | 69 | 90 |
| 14 | Philips medical system | Intera | 595-600 | 3000-4438 | 10-15 | 80-100 | 69 | 90 |
| 3 | GE medical system | Signa HDx | 510-520 | 5665 | 12 | 116 | 80 | 90 |
| 1 | Philips medical system | Ingenia | 450 | 3527 | 15 | 100 | 69 | 90 |
| 1 | SIEMENS | MAGNETOM AERA | 358 | 5060 | 8.9 | 107 | 90 | 150 |
| Group A2 |  |  |  |  |  |  |  |  |
| 19 | Philips medical system | Achieva | 450-650 | 4400-6230 | 12-15 | 100-120 | 69-75 | 90 |
| 11 | Philips medical system | AchievadStream | 580 | 4445-4859 | 12 | 100 | 69 | 90 |
| 12 | Philips medical system | Intera | 595-600 | 3000-4400 | 10-15 | 80-100 | 69 | 90 |
| 3 | GE medical system | Signa HDx | 520 | 5665 | 12 | 116 | 80 | 90 |
| 1 | Philips medical system | Ingenia | 450 | 3527 | 15 | 100 | 69 | 90 |
| 1 | SIEMENS | MAGNETOM AERA | 358 | 5060 | 8.9 | 107 | 90 | 150 |
| Group A1 (First acquisition) |  |  |  |  |  |  |  |  |
| 7 | Philips medical system | Achieva | 349-623 | 3633-6446 | 12-15 | 100-120 | 69-72 | 90 |
| 4 | Philips medical system | Ingenia | 450-2060 | 3527-6211 | 15-20 | 100-110 | 69-90 | 90 |
| 3 | Philips medical system | AchievadStream | 579-580 | 4454-4859 | 12 | 100 | 69 | 90 |
| 2 | Philips medical system | Intera | 595-2000 | 3000-6446 | 10-15 | 85-100 | 69-90 | 90 |
| 2 | GE Medical System | Dyscovery MR 450 | 300-480 | 7970-8635 | 20 | 97-98 | 90 | 160 |
| 1 | GE medical system | Signa HDx | 520 | 5665 | 12 | 116 | 80 | 90 |
| 3 | SIEMENS | MAGNETOM AERA | 11-584 | 4000-5000 | 7.16-8.9 | 92-99 | 15-90 | 125-150 |
| 1 | SIEMENS | MAGNETOM ESSENZA | 2000 | 4000 | 9.1 | 99 | 150 | 150 |
| Group A1 (Second acquisition) |  |  |  |  |  |  |  |  |
| 13 | Philips medical system | Achieva | 450-650 | 4409-6225 | 12-15 | 100 | 69-75 | 90 |
| 7 | Philips medical system | AchievadStream | 579 | 4446-4859 | 12 | 100 | 69 | 90 |
| 1 | Philips medical system | Intera | 599 | 4438 | 15 | 100 | 69 | 90 |
| 1 | SIEMENS | Avanto fit | 373 | 5500 | 8.4 | 110 | 90 | 150 |
| 1 | SIEMENS | MAGNETOM AERA | 358 | 5060 | 8.9 | 107 | 90 | 150 |
| Group A1 (Third acquisition) |  |  |  |  |  |  |  |  |
| 10 | Philips medical system | Achieva | 6.8-596 | 3003-4454 | 3.34-15 | 100 | 8-69 | 90 |
| 12 | Philips medical system | AchievadStream | 579-588 | 4446-4859 | 12 | 100 | 69 | 90 |
| 1 | Philips medical system | Intera | 599 | 4438 | 15 | 100 | 69 | 90 |