S1. The scanner characteristics for groups of patients examined (All scanners are 1.5 T). For each groups of scanner we reported the Ripetition Time (TR), Echo Time (TE), and Flip Angle (FA) for both sequences T1-W and T2-W.


	
	Manufacturer
	Model
	TR - T1-W
	TR -T2-W
	TE - T1-W
	TE -T2-W
	FA - T1-W
	FA - T2-W

	Group A
	
	
	
	
	
	
	
	

	23
	Philips medical system
	Achieva
	450-650
	4400-6230
	12-15
	100-120
	69-75
	90

	14
	Philips medical system
	AchievadStream
	579-580
	4445-4859
	12
	100
	69
	90

	14
	Philips medical system
	Intera
	595-600
	3000-4438
	10-15
	80-100
	69
	90

	3
	GE medical system
	Signa HDx
	510-520
	5665
	12
	116
	80
	90

	1
	Philips medical system
	Ingenia
	450
	3527
	15
	100
	69
	90

	1
	SIEMENS
	MAGNETOM AERA
	358
	5060
	8.9
	107
	90
	150

	Group A2
	
	
	
	
	
	
	
	

	19
	Philips medical system
	Achieva
	450-650
	4400-6230
	12-15
	100-120
	69-75
	90

	11
	Philips medical system
	AchievadStream
	580
	4445-4859
	12
	100
	69
	90

	12
	Philips medical system
	Intera
	595-600
	3000-4400
	10-15
	80-100
	69
	90

	3
	GE medical system
	Signa HDx
	520
	5665
	12
	116
	80
	90

	1
	Philips medical system
	Ingenia
	450
	3527
	15
	100
	69
	90

	1
	SIEMENS
	MAGNETOM AERA
	358
	5060
	8.9
	107
	90
	150

	Group A1 (First acquisition)
	
	
	
	
	
	
	
	

	7
	Philips medical system
	Achieva
	349-623
	3633-6446
	12-15
	100-120
	69-72
	90

	4
	Philips medical system
	Ingenia
	450-2060
	3527-6211
	15-20
	100-110
	69-90
	90

	3
	Philips medical system
	AchievadStream
	579-580
	4454-4859
	12
	100
	69
	90

	2
	Philips medical system
	Intera
	595-2000
	3000-6446
	10-15
	85-100
	69-90
	90

	2
	GE Medical System
	Dyscovery MR 450
	300-480
	7970-8635
	20
	97-98
	90
	160

	1
	GE medical system
	Signa HDx
	520
	5665
	12
	116
	80
	90

	3
	SIEMENS
	MAGNETOM AERA
	11-584
	4000-5000
	7.16-8.9
	92-99
	15-90
	125-150

	1
	SIEMENS
	MAGNETOM ESSENZA
	2000
	4000
	9.1
	99
	150
	150

	Group A1 (Second acquisition)
	
	
	
	
	
	
	
	

	13
	Philips medical system
	Achieva
	450-650
	4409-6225
	12-15
	100
	69-75
	90

	7
	Philips medical system
	AchievadStream
	579
	4446-4859
	12
	100
	69
	90

	1
	Philips medical system
	Intera
	599
	4438
	15
	100
	69
	90

	1
	SIEMENS
	Avanto fit
	373
	5500
	8.4
	110
	90
	150

	1
	SIEMENS
	MAGNETOM AERA
	358
	5060
	8.9
	107
	90
	150

	Group A1 (Third acquisition)
	
	
	
	
	
	
	
	

	10
	Philips medical system
	Achieva
	6.8-596
	3003-4454
	3.34-15
	100
	8-69
	90

	12
	Philips medical system
	AchievadStream
	579-588
	4446-4859
	12
	100
	69
	90

	1
	Philips medical system
	Intera
	599
	4438
	15
	100
	69
	90




