## Table S1
Table S1 The information on eight batches of commercially available ANP samples
Sample No. | Pharmaceutical factory | Batch No. | Manufacturer address
S1 | Beijing TongRenTang Technologies Co., Ltd | 18014501 | Beijing, China
S2 | Beijing TongRenTang Technologies Co., Ltd | 18011422 | Beijing, China
S3 | Beijing TongRenTang Technologies Co., Ltd | 18011424 | Beijing, China
S4 | Beijing TongRenTang Technologies Co., Ltd | 19011426 | Beijing, China
S5 | Beijing TongRenTang Technologies Co., Ltd | 19013218 | Beijing, China
S6 | Beijing TongRenTang Technologies Co., Ltd | 19013221 | Beijing, China
S7 | Beijing TongRenTang Technologies Co., Ltd | 21011061 | Beijing, China
S8 | Beijing TongRenTang Technologies Co., Ltd | 21011068 | Beijing, China

## Table S2
Table S2 Dynamic multiple reaction monitoring parameters of all analytes and internal standard
No. | Compound | tR (min) | Precursor Ion (m/z) | Product Ion (m/z) | CE (V)
2 | α-Pinene | 4.72 | 93 | 77.07 | 15
3 | Camphene | 5.1 | 92.9 | 77.07 | 15
4 | Benzaldehyde | 5.29 | 104.9 | 77.03 | 15
5 | β-Pinene | 5.66 | 92.9 | 77.1 | 15
9 | (+)-3-Carene | 6.24 | 92.9 | 77.07 | 15
10 | α-Terpinene | 6.39 | 93 | 77.03 | 15
12 | Limonene | 6.61 | 92.9 | 77.03 | 15
13 | Eucalyptol | 6.68 | 107.9 | 93.1 | 5
15 | Benzeneacetaldehyde | 6.85 | 91 | 65.03 | 15
17 | Acetophenone | 7.22 | 104.9 | 77.06 | 15
18 | Terpinolene | 7.55 | 92.9 | 77.04 | 15
23 | Fenchol | 8.09 | 80.9 | 41.17 | 20
26 | Camphor | 8.51 | 107.9 | 93.13 | 10
28 | Isoborneol | 8.72 | 94.9 | 67.03 | 15
29 | d-Borneol | 8.82 | 94.9 | 67.03 | 15
41 | 4-Methyl-4-phenyl-2-pentanone | 10.5 | 119 | 91.1 | 15
42 | β-Caryophyllene | 11.25 | 92.9 | 77.07 | 15
46 | Humulene | 11.52 | 92.9 | 77.03 | 15
48 | α-Curcumene | 11.63 | 131.8 | 117.13 | 15
62 | ar-Tumerone | 12.82 | 82.9 | 55.1 | 5
75 | Muscone | 14.03 | 84.9 | 43 | 15
IS | Tridecane | 10.12 | 85 | 43.13 | 5

## Table S3
Table S3 Calibration curves, LODs and LOQs of 21 volatile analytes in ANP samples
No. | Compound | Regression equation | R2 | Linear range (μg/mL) | LODs (ng/mL) | LOQs (ng/mL)
2 | α-Pinene | y = 0.7170 x - 0.0002 | 0.9996 | 0.0243-2.1870 | 2.43 | 24.3
3 | Camphene | y = 1.7004 x + 0.0123 | 0.9985 | 0.0933-16.7904 | 3.11 | 9.33
4 | Benzaldehyde | y = 2.2734 x - 0.0063 | 0.9995 | 0.0507-9.1260 | 1.01 | 16.9
5 | β-Pinene | y = 1.0886 x + 0.0002 | 0.9997 | 0.0131-2.3580 | 2.62 | 13.1
9 | (+)-3-Carene | y = 1.5153 x + 0.0002 | 0.9967 | 0.0124-1.1178 | 3.11 | 12.42
10 | α-Terpinene | y = 1.2491 x - 0.0022 | 0.9972 | 0.0174-1.5624 | 2.89 | 17.36
12 | Limonene | y = 0.8354 x - 0.0006 | 0.9995 | 0.0192-1.7280 | 0.96 | 19.2
13 | Eucalyptol | y = 0.7467 x - 0.0003 | 0.9996 | 0.0180-3.2400 | 1.8 | 6
15 | Benzeneacetaldehyde | y = 1.3564 x - 0.0293 | 0.9962 | 0.0752-13.5315 | 1.5 | 37.59
17 | Acetophenone | y = 3.8927 x - 0.0298 | 0.9992 | 0.1805-32.4972 | 0.6 | 6.02
18 | Terpinolene | y = 1.2741 x - 0.0066 | 0.9994 | 0.0978-17.6076 | 1.96 | 9.78
23 | Fenchol | y = 0.7881 x + 0.0993 | 0.9927 | 0.6755-121.5810 | 2.25 | 13.51
26 | Camphor | y = 0.8604 x + 0.0310 | 0.9957 | 0.3017-54.3060 | 1.51 | 6.03
28 | Isoborneol | y = 0.8357 x + 0.0208 | 0.9972 | 0.7004-126.0720 | 3.5 | 14.01
29 | d-Borneol | y = 1.0921 x + 0.1536 | 0.9918 | 0.8521-153.3798 | 2.84 | 8.52
41 | 4-Methyl-4-phenyl-2-pentanone | y = 4.5420 x - 0.0065 | 0.9919 | 0.0083-0.4968 | 2.76 | 8.28
42 | β-Caryophyllene | y = 0.0683 x - 0.0075 | 0.9962 | 0.3751-67.5216 | 75.02 | 375.12
46 | Humulene | y = 1.7641 x - 0.0064 | 0.9959 | 0.0206-1.8522 | 2.06 | 20.58
48 | α-Curcumene | y = 0.5715 x - 0.0479 | 0.9984 | 0.3780-68.0400 | 12.6 | 37.8
62 | ar-Tumerone | y = 1.1141 x - 0.1817 | 0.9962 | 0.4512-81.2160 | 150.4 | 451.2
75 | Muscone | y = 0.3506 x - 0.0333 | 0.9968 | 0.4504-81.0711 | 45.04 | 225.2

## Table S4
Table S4 Intra-day precision, inter-day precision, repeatability, stability and recovery of 21 volatile analytes in ANP samples
No. | Compound | Inter-day precision (RSD, n = 3, %) |  |  | Intra-day precision (RSD, n = 3, %) |  |  | Repeatability | Stability | Accuracy (n = 6, %)
|  | Low | Middle | High | Low | Middle | High | (RSD, n =6, %) | (RSD, n = 6, %) | Recovery | RSD
2 | α-Pinene | 5.96 | 3.73 | 6.83 | 5.84 | 2.92 | 1.78 | 1.57 | 4.33 | 106.24 | 8.68
3 | Camphene | 3.08 | 4.32 | 6.82 | 0.25 | 0.34 | 0.89 | 1.79 | 2.98 | 96.21 | 6.61
4 | Benzaldehyde | 2.23 | 2.09 | 1.6 | 0.63 | 0.78 | 1.24 | 5.93 | 0.88 | 102.53 | 2.4
5 | β-Pinene | 1.89 | 2.87 | 5.28 | 1.75 | 0.44 | 1.23 | 1.24 | 0.89 | 96.54 | 3.83
9 | (+)-3-Carene | 3.61 | 4.99 | 4.38 | 1.13 | 0.55 | 1.51 | 1.56 | 1.81 | 98.91 | 3.84
10 | α-Terpinene | 3.29 | 3.06 | 5.59 | 1.51 | 0.95 | 4.41 | 1.29 | 3.44 | 97.38 | 2.6
12 | Limonene | 3.42 | 1.66 | 3.41 | 0.04 | 0.6 | 1.63 | 1.99 | 2.62 | 105.28 | 7.29
13 | Eucalyptol | 1.51 | 1.65 | 1.24 | 0.76 | 1.24 | 0.94 | 2.76 | 0.62 | 96.99 | 2.02
15 | Benzeneacetaldehyde | 5.36 | 4.96 | 6.29 | 0.7 | 2.97 | 4.67 | 2.85 | 3.53 | 103.55 | 3.52
17 | Acetophenone | 2.9 | 1.38 | 0.99 | 1.63 | 0.6 | 0.66 | 3.87 | 1.27 | 109.83 | 2.91
18 | Terpinolene | 1.85 | 1.44 | 2.29 | 0.78 | 0.07 | 0.43 | 1.13 | 0.79 | 106.58 | 2.08
23 | Fenchol | 0.83 | 1.03 | 0.7 | 0.51 | 0.14 | 0.38 | 1.96 | 0.59 | 107.16 | 2.3
26 | Camphor | 1.48 | 0.86 | 0.48 | 0.3 | 0.31 | 0.48 | 2.49 | 0.22 | 103.32 | 1.88
28 | Isoborneol | 2.08 | 1.73 | 1.22 | 0.37 | 0.46 | 1.05 | 2.2 | 0.24 | 100.7 | 4
29 | d-Borneol | 1.73 | 1.06 | 0.67 | 1.18 | 0.15 | 0.25 | 1.94 | 0.54 | 106.45 | 3.34
41 | 4-Methyl-4-phenyl-2-pentanone | 2.08 | 3.97 | 4.73 | 3.36 | 2.77 | 4.49 | 9 | 2.91 | 106.45 | 1.35
42 | β-Caryophyllene | 1.54 | 1.39 | 1.25 | 1.05 | 0.56 | 0.96 | 4.57 | 3.57 | 94.31 | 1.7
46 | Humulene | 2.24 | 2.75 | 2.66 | 0.19 | 0.82 | 2.31 | 4.26 | 0.58 | 103.61 | 3.75
48 | α-Curcumene | 2.04 | 1.48 | 1.61 | 0.64 | 1.14 | 1.78 | 3.96 | 0.56 | 103.16 | 2.27
62 | ar-Tumerone | 2.15 | 2.91 | 1.72 | 0.57 | 1.45 | 0.77 | 3.68 | 9.95 | 90.8 | 3.3
75 | Muscone | 1.66 | 1.97 | 1.01 | 1.58 | 0.72 | 0.3 | 2.01 | 3.47 | 106.97 | 4.03

## Table S5
Table S5 Contents of 21 volatile analytes in ANP samples (μg/g, Mean ± SD, n=4)
No. | Compound | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8
2 | α-Pinene | 0.849±0.033 | 0.892±0.039 | 0.519±0.019 | 0.519±0.005 | 0.514±0.028 | 0.499±0.041 | 0.527±0.028 | 0.521±0.016
3 | Camphene | 5.438±0.056 | 3.217±0.117 | 1.903±0.034 | 2.496±0.042 | 1.542±0.030 | 2.719±0.053 | 3.161±0.008 | 2.519±0.055
4 | Benzaldehyde | 2.413±0.044 | 2.322±0.051 | 3.952±0.051 | 3.323±0.010 | 3.966±0.085 | 2.491±0.057 | 2.474±0.030 | 2.746±0.042
5 | β-Pinene | 0.697±0.013 | 0.676±0.014 | 0.307±0.004 | 0.305±0.006 | 0.253±0.017 | 0.279±0.005 | 0.292±0.003 | 0.312±0.005
9 | (+)-3-Carene | 0.339±0.013 | 0.328±0.008 | 0.113±0.001 | 0.116±0.003 | 0.113±0.002 | 0.123±0.003 | 0.131±0.001 | 0.154±0.003
10 | α-Terpinene | 0.431±0.021 | 0.542±0.022 | 0.218±0.003 | 0.252±0.002 | 0.240±0.001 | 0.190±0.001 | 0.373±0.003 | 0.386±0.004
12 | Limonene | 0.613±0.027 | 0.617±0.009 | 0.366±0.003 | 0.354±0.011 | 0.306±0.016 | 0.285±0.010 | 0.325±0.017 | 0.413±0.008
13 | Eucalyptol | 2.414±0.037 | 2.343±0.029 | 1.132±0.005 | 1.144±0.006 | 1.132±0.016 | 1.228±0.012 | 1.232±0.010 | 1.453±0.023
15 | Benzeneacetaldehyde | 6.282±0.321 | 9.003±0.290 | 7.819±0.083 | 3.763±0.026 | 3.159±0.060 | 2.855±0.040 | 3.367±0.040 | 2.801±0.061
17 | Acetophenone | 13.563±0.301 | 11.544±0.293 | 26.335±0.348 | 24.153±0.261 | 22.815±0.463 | 16.893±0.219 | 8.655±0.078 | 12.709±0.279
18 | Terpinolene | 9.788±0.114 | 8.762±0.096 | 2.714±0.011 | 2.987±0.017 | 2.818±0.014 | 2.977±0.019 | 4.410±0.029 | 5.529±0.021
23 | Fenchol | 19.477±0.257 | 14.149±0.061 | 11.915±0.085 | 17.102±0.152 | 20.592±0.223 | 29.080±0.529 | 30.941±0.345 | 33.709±0.782
26 | Camphor | 22.575±0.143 | 20.074±0.202 | 34.577±0.179 | 25.995±0.194 | 41.962±0.471 | 22.173±0.396 | 21.600±0.124 | 23.693±0.539
28 | Isoborneol | 4614.449±222.756 | 5120.350±260.344 | 5053.066±33.629 | 5291.314±146.891 | 5420.240±142.779 | 5253.436±129.640 | 5620.607±47.842 | 5500.873±135.735
29 | d-Borneol | 7169.146±341.114 | 7085.676±352.018 | 7158.188±27.771 | 7369.758±193.748 | 7071.122±165.783 | 6727.630±195.725 | 7412.840±43.279 | 7734.919±209.498
41 | 4-Methyl-4-phenyl-2-pentanone | 0.051±0.003 | 0.056±0.001 | 0.046±0.001 | 0.051±0.002 | 0.040±0.001 | 0.044±0.000 | 0.030±0.000 | 0.032±0.001
42 | β-Caryophyllene | 244.946±12.618 | 230.072±10.152 | 139.267±2.546 | 152.843±2.615 | 117.198±0.210 | 118.982±1.194 | 106.812±1.977 | 163.824±2.467
46 | Humulene | 1.857±0.028 | 1.685±0.006 | 0.948±0.022 | 0.963±0.005 | 0.532±0.011 | 0.640±0.009 | 0.416±0.003 | 1.017±0.026
48 | α-Curcumene | 78.374±1.302 | 80.285±0.632 | 58.976±0.361 | 56.613±0.368 | 33.665±0.206 | 37.121±0.593 | 20.160±0.078 | 44.883±0.628
62 | ar-Tumerone | 218.800±6.890 | 226.134±15.465 | 311.982±4.144 | 324.219±2.779 | 207.380±2.433 | 301.945±4.405 | 244.667±5.713 | 186.334±2.323
75 | Muscone | 686.637±31.519 | 677.604±51.639 | 637.896±3.996 | 657.416±13.087 | 664.253±15.167 | 651.969±16.224 | 646.494±31.044 | 694.739±15.426
-: the compound below LOQ.