A New Reverse Phase High-Performance Liquid chromatography (RP-HPLC) method for determination of kinetin riboside (plant hormone) in dequalinium chloride based self-assembled vesicles: Development, Validation and Force Degradation Study

Tejas Girish Agnihotria, Devendra Badgujarb, Nitish Sharmab, and Aakanchha Jaina*

aDepartment of Pharmaceutics, National Institute of Pharmaceutical Education and Research (NIPER)-Ahmedabad, Palaj, Gandhinagar-382355, Gujarat, India bDepartment of Pharmaceutics, National Institute of Pharmaceutical Education and Research (NIPER)-Ahmedabad, Palaj, Gandhinagar-382355, Gujarat, India

*Corresponding author

Dr. Aakanchha Jain

Assistant professor

Department of Pharmaceutics

National Institute of Pharmaceutical Education and Research-Ahmedabad,

Palaj, Gandhinagar-382355, Gujarat, India

Email Id: aakanchha.jain@niperahm.res.in; jainaakanchha83@gmail.com

Supplementary Tables

Supplementary Table 1 (Table S1) System suitability parameters of the analytical RP-HPLC method

(A) Kinetin Riboside (KR)

| Injection | Retention time (min) | Peak Area | Theoretical plates | Tailing factor |
| --- | --- | --- | --- | --- |
| 1 | 5.58 | 3157.97 | 9559.43 | 1.40 |
| 2 | 5.58 | 3166.30 | 9626.97 | 1.37 |
| 3 | 5.58 | 3184.40 | 9530.11 | 1.42 |
| 4 | 5.58 | 3177.22 | 9559.60 | 1,35 |
| 5 | 5.58 | 3182.07 | 9566.31 | 1.36 |
| 6 | 5.58 | 3170.63 | 9561.13 | 1.40 |
| Average | 5.58 | 3173.10 | 9567.26 | 1.39 |
| SD | 0.001 | 10.06 | 31.95 | -- |
| %RSD | 0.01 | 0.32 | 0.33 | -- |

(B) Dequalinium chloride (DQA)

| Injection | Retention time (min) | Peak Area | Theoretical plates | Tailing factor |
| --- | --- | --- | --- | --- |
| 1 | 6.99 | 1579.98 | 15046.12 | 1.52 |
| 2 | 6.99 | 1569.20 | 15101.95 | 1.50 |
| 3 | 6.99 | 1572.52 | 14988.39 | 1.45 |
| 4 | 6.99 | 1568.13 | 14965.12 | 1.46 |
| 5 | 6.99 | 1568.23 | 14850.25 | 1.48 |
| 6 | 6.99 | 1562.64 | 14760.36 | 1.47 |
| Average | 6.99 | 1570.12 | 14952.03 | 1.48 |
| SD | 0.001 | 5.79 | 126.43 | -- |
| %RSD | 0.01 | 0.37 | 0.85 | -- |

Supplementary Table 2 (Table S 2) Linearity study of Kinetin Riboside (KR) and Dequalinium chloride (DQA)

| Analyte | Concentration (µg/mL) | Peak area* |
| --- | --- | --- |
| Kinetin riboside | 10 | 292.99 (± 12.52) |
|  | 20 | 550.27 (± 6.07) |
|  | 50 | 1417.18 (± 9.89) |
|  | 100 | 2926.97 (± 38.31) |
|  | 150 | 4407.06 (± 5.26) |
|  | 200 | 6094.92 (± 11.07) |
|  | 250 | 7445.32 (± 63.17) |
| Dequalinium chloride | 10 | 123.98 (± 1.70) |
|  | 20 | 284.32 (± 16.91) |
|  | 50 | 707.23 (± 5.42) |
|  | 100 | 1476.54 (± 1.84) |
|  | 150 | 2182.37 (± 2.33) |
|  | 200 | 3039.97 (± 19.46) |
|  | 250 | 3757.35 (± 100.61) |

*Data expressed as mean (±SD); n=3.

Supplementary Figures:

Supplementary Fig. 1(A) Linearity profile of kinetin riboside (B): Linearity profile of dequalinium chloride

269 nm

(i)

310 nm

(ii)

Supplementary Fig. 2(A) Chromatograms of Blank, KR, Placebo formulation and KR-loaded formulation under acidic conditions (i) Detection wavelength of 269 nm (ii) Detection wavelength of 310 nm

269 nm

(i)

310 nm

(ii)

Supplementary Fig. 2(B) Chromatograms of Blank, KR, Placebo formulation and KR-loaded formulation under basic conditions (i) Detection wavelength of 269 nm (ii) Detection wavelength of 310 nm

269 nm

(i)

310 nm

(ii)

Supplementary Fig. 2(C) Chromatograms of Blank, KR, Placebo formulation and KR-loaded formulation under basic conditions (i) Detection wavelength of 269 nm (ii) Detection wavelength of 310 nm

269 nm

(i)

310 nm

(ii)

Supplementary Fig. 2(D) Chromatograms of Blank, KR, Placebo formulation and KR-loaded formulation under peroxide oxidative conditions (i) Detection wavelength of 269 nm (ii) Detection wavelength of 310 nm

269 nm

(i)

310 nm

(ii)

Supplementary Fig. 2(E) Chromatograms of Blank, KR, Placebo formulation and KR-loaded formulation under neutral conditions (i) Detection wavelength of 269 nm (ii) Detection wavelength of 310 nm

269 nm

(i)

310 nm

(ii)

Supplementary Fig. 2(F) Chromatograms of Blank, KR, Placebo formulation and KR-loaded formulation under neutral conditions (i) Detection wavelength of 269 nm (ii) Detection wavelength of 310 nm