Table 1	Contamination status of Faecal Indicator Bacteria (FIB) in water samples collected from Odisha, Bihar and West Bengal

| State wise Category of Villages |  |  | Faecal coliform (MPN/ 100 ml) | Escherichia coli (cfu/ 100 ml) | Enterococci (cfu/ 100 ml) |
| --- | --- | --- | --- | --- | --- |
| Odisha | ODF Villages (n = 64) | Max. | 345 | 45 | 39 |
|  |  | Min. | < 2 | < 1 | < 1 |
|  |  | Mean ± SD | 30 ± 79* | 5 ± 12* | 4 ± 9 |
|  |  | 90th Percentile | 175 | 34 | 23 |
|  |  | 70th Percentile | < 2 | < 1 | < 1 |
|  | n-ODF Villages (n = 65) | Max. | 345 | 45 | 38 |
|  |  | Min. | < 2 | < 1 | < 1 |
|  |  | Mean ± SD | 78 ± 105 | 13 ± 16 | 6 ± 10 |
|  |  | 90th Percentile | 255 | 38 | 23 |
|  |  | 70th Percentile | 136 | 26 | < 1 |
|  |  | 50th Percentile | < 2 | < 1 | < 1 |
| Bihar | ODF Villages (n = 76) | Max. | 109 | 55 | 32 |
|  |  | Min. | < 2 | < 1 | < 1 |
|  |  | Mean ± SD | 6 ± 22* | 2 ± 9* | 1 ± 5* |
|  |  | 90th Percentile | < 2 | < 1 | < 1 |
|  | n-ODF Villages (n = 69) | Max. | 348 | 58 | 39 |
|  |  | Min. | < 2 | < 1 | < 1 |
|  |  | Mean ± SD | 103 ± 110 | 24 ± 21 | 11 ± 14 |
|  |  | 90th Percentile | 278 | 51 | 32 |
|  |  | 70th Percentile | 141 | 41 | 22 |
|  |  | 50th Percentile | 79 | 28 | < 1 |
| West Bengal | ODF Villages (n = 65) | Max. | 221 | 40 | < 1 |
|  |  | Min. | < 2 | < 1 | < 1 |
|  |  | Mean ± SD | 13 ± 46* | 2 ± 8* | <1 ± <1* |
|  |  | 90th Percentile | < 2 | < 1 | < 1 |
|  | n-ODF Villages (n = 57) | Max. | 348 | 59 | 37 |
|  |  | Min. | < 2 | < 1 | < 1 |
|  |  | Mean ± SD | 117 ± 122 | 20 ± 19 | 10 ± 12 |
|  |  | 90th Percentile | 345 | 46 | 28 |
|  |  | 70th Percentile | 175 | 34 | 21 |
|  |  | 50th Percentile | 109 | 22 | < 1 |

*p<0.05, significant with respect to respective n-ODF value (The mean ± SD value of ODF is compared with corresponding value of n-ODF for statistical significance using single way ANOVA).

Table 2	Contamination status of Faecal Indicator Bacteria (FIB) in soil samples collected from Odisha, Bihar and West Bengal

| State wise Category of Villages |  |  | Faecal coliform (MPN/ g) | Escherichia coli (cfu/ g) | Enterococci (cfu/ g) |
| --- | --- | --- | --- | --- | --- |
| Odisha | ODF Villages (n = 32) | Max. | 9.4x103 | 210 | 45 |
|  |  | Min. | < 0.18 | < 1 | < 1 |
|  |  | Mean ± SD | 3.7x103 ± 2.6x103 | 56 ± 38* | 6 ± 13 |
|  |  | 90th Percentile | 8.4x103 | 100 | 34 |
|  |  | 70th Percentile | 4.6x103 | 64 | < 1 |
|  |  | 50th Percentile | 3.5x103 | 56 | < 1 |
|  | n-ODF Villages (n = 32) | Max. | 9.4x103 | 120 | 36 |
|  |  | Min. | < 0.18 | < 1 | < 1 |
|  |  | Mean ± SD | 3.3x103 ± 3.3x103 | 38 ± 30 | 6 ± 11 |
|  |  | 90th Percentile | 9.4x103 | 67 | 24 |
|  |  | 70th Percentile | 5.1x103 | 46 | <1 |
|  |  | 50th Percentile | 2.0x103 | 40 | <1 |
| Bihar | ODF Villages (n = 32) | Max. | 9.4x103 | 59 | 41 |
|  |  | Min. | < 0.18 | < 1 | < 1 |
|  |  | Mean ± SD | 2.9x103 ± 2.9x103 | 26 ± 23 | 8 ± 14 |
|  |  | 90th Percentile | 7.6x103 | 55 | 33 |
|  |  | 70th Percentile | 4.6x103 | 44 | 2 |
|  |  | 50th Percentile | 2.5x103 | 36 | < 1 |
| Bihar | n-ODF Villages (n = 32) | Max. | 7.0x104 | 61 | 41 |
|  |  | Min. | < 0.18 | < 1 | < 1 |
|  |  | Mean ± SD | 5.0x103 ± 1.2x105 | 31 ± 22 | 10 ± 15 |
|  |  | 90th Percentile | 7.0x103 | 55 | 33 |
|  |  | 70th Percentile | 4.6x103 | 44 | 24 |
|  |  | 50th Percentile | 3.0x103 | 39 | < 1 |
| West Bengal | ODF Villages (n = 32) | Max. | 9.4x103 | 58 | 22 |
|  |  | Min. | < 0.18 | < 1 | < 1 |
|  |  | Mean ± SD | 2.2x103 ± 2.9x103 | 17 ± 20* | 1 ± 4* |
|  |  | 90th Percentile | 7.6x103 | 47 | < 1 |
|  |  | 70th Percentile | 2.7x103 | 32 | < 1 |
|  |  | 50th Percentile | <0.18 | <1 | < 1 |
| West Bengal | n-ODF Villages (n = 32) | Max. | 9.4x103 | 59 | 42 |
|  |  | Min. | < 0.18 | < 1 | < 1 |
|  |  | Mean ± SD | 3.2x103 ± 3.0x103 | 30 ± 23 | 8 ± 15 |
|  |  | 90th Percentile | 7.6x103 | 57 | 37 |
|  |  | 70th Percentile | 4.6x103 | 47 | < 1 |
|  |  | 50th Percentile | 2.6x103 | 39 | < 1 |

*p<0.05, significant with respect to respective n-ODF value (The mean ± SD value of ODF is compared with corresponding value of n-ODF for statistical significance using single way ANOVA).

Table 3	Contamination status of Faecal Indicator Bacteria (FIB) in food samples collected from Odisha, Bihar and West Bengal

| State wise Category of Villages |  |  | Faecal coliform (MPN/ g) | Escherichia coli (cfu/ g) | Enterococci (cfu/ g) |
| --- | --- | --- | --- | --- | --- |
| Odisha | ODF Villages (n = 10) | Max. | 900 | 38 | 25 |
|  |  | Min. | 130 | 15 | < 1 |
|  |  | Mean ± SD | 351 ± 282 | 27 ± 7 | 6 ± 10 |
|  |  | 90th Percentile | 900 | 38 | 25 |
|  |  | 70th Percentile | 327 | 31 | 11 |
|  |  | 50th Percentile | 241 | 28 | < 1 |
|  | n-ODF Villages (n = 14) | Max. | 348 | 38 | 18 |
|  |  | Min. | < 0.18 | < 1 | < 1 |
|  |  | Mean ± SD | 215 ± 111 | 23 ± 11 | 6 ± 7 |
|  |  | 90th Percentile | 348 | 38 | 17 |
|  |  | 70th Percentile | 278 | 31 | 13 |
|  |  | 50th Percentile | 231 | 25 | < 1 |
| Bihar | ODF Villages (n = 5) | Max. | < 0.18 | < 1 | < 1 |
|  |  | Min. | < 0.18 | < 1 | < 1 |
|  |  | Mean ± SD | <0.18 ± <0.18* | <1.0 ± <1.0* | <1.0 ± <1.0 |
|  | n-ODF Villages (n = 6) | Max. | 278 | 38 | < 1 |
|  |  | Min. | < 0.18 | < 1 | < 1 |
|  |  | Mean ± SD | 122 ± 98 | 19 ± 14 | <1.0 ± <1.0 |
|  |  | 90th Percentile | 273 | 38 | < 1 |
|  |  | 70th Percentile | 169 | 30 | < 1 |
|  |  | 50th Percentile | 141 | 23 | < 1 |
| West Bengal | ODF Villages (n = 9) | Max. | < 0.18 | < 1 | < 1 |
|  |  | Min. | < 0.18 | < 1 | < 1 |
|  |  | Mean ± SD | <0.18 ± <0.18* | <1.0 ± <1.0* | <1.0 ± <1.0 |
|  | n-ODF Villages (n = 17) | Max. | 240 | 34 | 21 |
|  |  | Min. | < 0.18 | < 1 | < 1 |
|  |  | Mean ± SD | 82 ± 94 | 11 ± 13 | 1 ± 5 |
|  |  | 90th Percentile | 240 | 32 | 4 |
|  |  | 70th Percentile | 141 | 20 | < 1 |
|  |  | 50th Percentile | < 0.18 | < 1 | < 1 |

*p<0.05, significant with respect to respective n-ODF value (The mean ± SD value of ODF is compared with corresponding value of n-ODF for statistical significance using single way ANOVA).

Table 4	Summary of Physico-chemical analysis in water samples from ODF and n-ODF villages

| Parameters |  | Odisha |  | Bihar |  | West Bengal |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | ODF | n-ODF | ODF | n-ODF | ODF | n-ODF |
| pH | Max. | 8.1 | 7.6 | 7.8 | 8.2 | 7.8 | 7.8 |
|  | Min. | 6.5 | 6.5 | 6.9 | 6.8 | 6.8 | 6.9 |
| TDS, mg/l | Max. | 9060 | 2690 | 1690 | 1040 | 1738 | 133 |
|  | P90 | 1246 | 779 | 716 | 460 | 1231 | 67 |
|  | P70 | 358 | 207 | 497 | 345 | 915 | 38 |
|  | P50 | 172 | 181 | 393 | 122 | 695 | 22 |
|  | Min. | 85 | 82 | 65 | 122 | 103 | 7 |
| Turbidity, NTU | Max. | 85 | 317 | 133 | 31 | 26 | 70 |
|  | P90 | 36 | 32 | 7 | 13 | 14 | 9 |
|  | P70 | 14 | 13 | 3 | 3 | 6 | 2 |
|  | P50 | 4 | 4 | 2 | 2 | 2 | 1 |
|  | Min. | <1 | <1 | 1 | 1 | 1 | 1 |

Table 5		Relative Risk calculation matrix with respect to FIB and HuBac contamination

| State/ Source | Number of Samples in ODF Villages |  |  |  |  | Number of Samples in n-ODF Villages |  |  |  |  | Relative Risk (n-ODF/ ODF) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Total | Contaminated |  | Uncontaminated |  | Total | Contaminated |  | Uncontaminated |  |  |  |
|  |  | FIB | HuBac | FIB | HuBac |  | FIB | HuBac | FIB | HuBac | FIB | HuBac |
| Groundwater |  |  |  |  |  |  |  |  |  |  |  |  |
| Odisha | 35 | 3 | 1 | 32 | 34 | 33 | 10 | 5 | 23 | 28 | 3.54 | 5.30 |
| Bihar | 51 | 0.5 | 0.5 | 50.5 | 50.5 | 40 | 21 | 14 | 19 | 26 | 53.55 | 35.70 |
| West Bengal | 39 | 1 | 1 | 38 | 38 | 6 | 1 | 1 | 5 | 5 | 6.50 | 6.50 |
| Total | 125 | 4.5 | 2.5 | 120.5 | 122.5 | 79 | 32 | 20 | 47 | 59 | 11.25 | 12.66 |
| HHSW |  |  |  |  |  |  |  |  |  |  |  |  |
| Odisha | 23 | 9 | 4 | 14 | 19 | 28 | 19 | 7 | 9 | 21 | 1.73 | 1.44 |
| Bihar | 21 | 5 | 4 | 16 | 17 | 23 | 19 | 12 | 4 | 11 | 3.47 | 2.74 |
| West Bengal | 20 | 3 | 2 | 17 | 18 | 29 | 19 | 12 | 10 | 17 | 4.37 | 4.14 |
| Total | 64 | 17 | 10 | 47 | 54 | 80 | 57 | 31 | 23 | 49 | 2.68 | 2.48 |
| PWS |  |  |  |  |  |  |  |  |  |  |  |  |
| Odisha | 6 | 2 | 1 | 4 | 5 | 4 | 1 | 1 | 3 | 3 | 0.75 | 1.50 |
| Bihar | 4 | 0.5 | 0.5 | 3.5 | 3.5 | 6 | 4 | 1 | 2 | 5 | 5.33 | 1.33 |
| West Bengal | 6 | 1 | 1 | 5 | 5 | 22 | 14 | 10 | 8 | 12 | 3.82 | 2.73 |
| Total | 16 | 3.5 | 2.5 | 12.5 | 13.5 | 32 | 19 | 12 | 13 | 20 | 2.71 | 2.40 |
| Soil |  |  |  |  |  |  |  |  |  |  |  |  |
| Odisha | 32 | 28 | 26 | 4 | 6 | 32 | 26 | 23 | 6 | 9 | 0.93 | 0.88 |
| Bihar | 32 | 19 | 19 | 13 | 13 | 32 | 23 | 23 | 9 | 9 | 1.21 | 1.21 |
| West Bengal | 32 | 15 | 13 | 17 | 19 | 32 | 21 | 18 | 11 | 14 | 1.40 | 1.38 |
| Total | 96 | 62 | 58 | 34 | 38 | 96 | 70 | 64 | 26 | 32 | 1.13 | 1.10 |
| Food |  |  |  |  |  |  |  |  |  |  |  |  |
| Odisha | 10 | 9.5 | 5 | 0.5 | 5 | 14 | 12 | 8 | 2 | 6 | 0.90 | 1.14 |
| Bihar | 5 | 0.5 | 0.5 | 4.5 | 4.5 | 6 | 4 | 4 | 2 | 2 | 6.67 | 6.67 |
| West Bengal | 9 | 0.5 | 0.5 | 8.5 | 8.5 | 17 | 8 | 8 | 9 | 9 | 8.47 | 8.47 |
| Total | 24 | 10.5 | 6 | 13.5 | 18 | 37 | 24 | 20 | 13 | 17 | 1.48 | 2.16 |

HHSW: Household Storage Water	PWS: Piped Water Supply

*To address the 'zeros' in effect outcome, the Haldane-Anscombe correction method (Andrade, 2015) has been used, which recommends substituting zeros with 0.5 (cells highlighted in ‘green’)