Table S3 Summary of OncoCarta Assay protocol

| Procedure |  | Step |
| --- | --- | --- |
| 1 | Extract DNA from the sample |  |
| 2 | Prepare DNA dilutions |  |
| 3 | Perform PCR amplification |  |
| 4 | Perform the SAP treatment |  |
| 5 | Perform the TypePLEX extend reaction; |  |
| 6 | Design an OncoCarta Plate; |  |
| 7 | Dispense samples to a SpectroChipII array, continued |  |
| 8 | Analyze SpectroChipII array on the MassARRAY |  |
| 9 | Compact Analyzer; |  |
| 10 | Generate an OncoCarta mutation analysis report. |  |

Abbreviations: PCR: Polymerase Chain Reaction, CRT: chemoradiotherapy, SAP: Shrimp Alkaline Phosphatase