Supplementary files

Supplementary file 1: Definitions of WASH status indicators (domains)

| Domains (Indicators) | Service level |  |  |
| --- | --- | --- | --- |
|  | Basic (Scores 2.8-3.0) | Limited (Scores 1.9-2.7) | Unimproved / No Service (Scores 1.0-1.8) |
| Water services | Water from an improved source is available on premises | Water from an improved source is available off premises; or an improved source is onsite, but no water is available | Unprotected dug well or spring, surface water, or no water source |
| Sanitation services | Improved facilities are usable, separated for patients and staff, separated for women, provide menstrual hygiene facilities, and meet the needs of people with limited mobility | Improved sanitation facilities are present but are not usable or do not meet the needs of specific groups (staff, women, people with limited mobility) | Pit latrines without a slab or platform, hanging latrines, or no toilets or latrines at the facility |
| Hand hygiene services | Hand hygiene materials, either a basin with water and soap or alcohol hand rub, are available at points of care and toilet | Hand hygiene station at either point of care or toilets, but not both | Hand hygiene stations are absent, or present but with no soap or water |
| Waste management services | Waste is safely segregated into at least 3 bins in the consultation area, and sharps and infectious waste are safely treated and disposed of | Waste is segregated but not disposed of safely, or bins are in place but not used effectively | Waste is not segregated or safely treated and disposed of |

Adapted from the JMP service ladders for monitoring WASH in HCF in the SDGs