{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Toilets_form"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Toilets_form","index":0,"n_rows":61,"n_cols":47,"rows_kept":61,"flags":["formulas_cached_only"]}
[null,"#type","@name","@uiVersion","@version","@xmlns","label_toilet","tl_hw_dis","tl_hw_tprox","tl_san_fi_slab_crack","tl_san_fi_slab_material","tl_san_qa_blocked","tl_san_qa_clean","tl_san_qa_door","tl_san_qa_flies","tl_san_qa_light","tl_san_qa_smell","tl_san_qa_type","tl_san_qa_walls","tl_san_qn_imp","tl_san_qn_non","tl_san_qn_num","tl_san_sa_gen","tl_san_sa_lock","tl_san_sa_mh","tl_san_sa_rmob","tl_san_sa_srv","tl_san_sa_use","tl_san_qn_imst","tl_san_sa_neutral","tl_san_sa_srv_oth","case.@case_id","case.@date_modified","case.@user_id","case.@xmlns","meta.@xmlns","meta.appVersion","meta.app_build_version","meta.commcare_version","meta.deviceID","meta.drift","meta.geo_point","meta.instanceID","meta.timeEnd","meta.timeStart","meta.userID","meta.username"]
[28,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water_soap","water_soap","no","concrete","no","yes","all","none","yes","no","i_flush","no",2,0,3,"both_sep","no","no","no","outpat admin","both",1,"NA","NA","85bfbf94-8064-4b70-ad87-aace3a1c5b6e","2019-03-26T17:23:55.847000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","b8dd4fca-7130-4fce-9265-a0495d045a48","2019-03-26T17:23:55.847000Z","2019-03-26T17:21:39.890000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[58,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","NA","none_available","no","concrete","no","yes","all","some","no","yes","i_vip","no",6,0,15,"both_sep","no","no","yes","outpat inpat lab_del admin","both_sep",9,"NA","NA","303d19f9-3ab9-4d8f-a10c-dbbe6a21b2b6","2019-03-06T10:07:52.555000Z","bfb5402b40164fd79972461697cc77d0","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101174905,0,"NA","f9391d11-9d4c-4925-8684-3c6aad65e637","2019-03-06T10:07:52.555000Z","2019-03-06T10:00:53.006000Z","bfb5402b40164fd79972461697cc77d0","nal"]
[63,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","no","concrete","no","no","all","some","no","yes","i_slab","no",2,0,3,"both_sep","no","no","no","outpat inpat lab_del admin","both_sep",1,"NA","NA","32277f81-b07b-4fb0-a878-c49120793aaf","2019-03-07T12:36:41.432000Z","4863945666724523b39da5fe9b643354","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101180365,0,"NA","31769fde-7bb8-4503-a20d-6f94bce794a0","2019-03-07T12:36:41.432000Z","2019-03-07T12:34:42.950000Z","4863945666724523b39da5fe9b643354","aef"]
[61,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","NA","no_slab","no","yes","all","none","yes","no","i_vip","no",1,0,2,"both_sep","no","yes","no","outpat inpat lab_del admin","both",1,"NA","NA","73aceb7c-200e-4d61-bd8e-11c4f8fdb9f6","2019-03-11T18:23:21.968000Z","4863945666724523b39da5fe9b643354","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101180365,0,"NA","bbdb8916-892c-4b04-b021-c22c10d551ce","2019-03-11T18:23:21.968000Z","2019-03-11T18:20:37.462000Z","4863945666724523b39da5fe9b643354","aef"]
[55,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water","NA","no_slab","no","yes","all","none","yes","no","i_flush","no",3,0,6,"f","no","no","no","lab_del","both_sep",3,"NA","NA","f5ab4459-96ff-4e24-816f-c730b5577e92","2019-03-09T14:28:58.448000Z","bfb5402b40164fd79972461697cc77d0","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101174905,0,"NA","df9d8ea3-a20b-4bd2-9058-e73a91931049","2019-03-09T14:28:58.448000Z","2019-03-06T13:03:37.009000Z","bfb5402b40164fd79972461697cc77d0","nal"]
[5,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water","no","concrete","no","yes","all","none","no","no","i_slab","no",4,0,4,"both_sep","no","yes","no","outpat","pat","NA","NA","NA","29a1cc80-7837-49b1-ad61-b5f2d344b535","2019-04-01T16:31:55.378000Z","ac2930defd7345fca324fda6b2024bdf","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098880563,0,"NA","1aa454dd-3f7b-48bf-bfa6-34fcad00c2dd","2019-04-01T16:31:55.378000Z","2019-04-01T16:16:40.223000Z","ac2930defd7345fca324fda6b2024bdf","cto"]
[43,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water_soap","water_soap","no","plastic","no","yes","all","none","yes","no","i_flush","no",2,0,2,"both_sep","no","yes","no","outpat","pat","NA","NA","NA","6b9eaca4-ebf4-40ef-84be-dcba37ea0fd7","2019-03-07T12:52:30.974000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","6790a0ff-e516-45f8-af28-8af9ac36e07b","2019-03-07T12:52:30.974000Z","2019-03-07T12:51:06.825000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[46,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","concrete","no","yes","all","none","no","no","i_slab","no",5,0,5,"both_sep","no","no","yes","outpat inpat lab_del","pat","NA","NA","NA","b631da9c-d660-4be6-bbe6-6b47ff45a55b","2019-03-06T11:05:38.939000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","17cd8472-c895-4918-b07a-4ec78ad496de","2019-03-06T11:05:38.939000Z","2019-03-06T11:01:55.369000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[38,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","NA","none_available","no","concrete","no","yes","all","none","no","yes","i_vip","no",3,0,3,"both","yes_key","no","no","outpat inpat lab_del","pat","NA","no","NA","a549ba34-a026-4102-b097-370676fb8b86","2019-03-15T20:52:23.696000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","07f1bec0-e436-489a-be39-b93bbacb62c3","2019-03-15T20:52:23.696000Z","2019-03-15T20:49:38.654000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[9,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water","NA","no_slab","no","no","all","all","no","yes","u_pit","yes",3,0,3,"both","no","no","no","outpat inpat lab_del admin oth","both",0,"no","Community","004f32a5-2df5-4b20-b40b-90e3290f39cd","2019-03-13T18:35:20.350000Z","ac2930defd7345fca324fda6b2024bdf","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098880563,0,"NA","77a1b132-ea66-41ad-aa67-a0fb7088512b","2019-03-13T18:35:20.350000Z","2019-03-13T18:31:37.064000Z","ac2930defd7345fca324fda6b2024bdf","cto"]
[62,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water_soap","water_soap","NA","no_slab","no","yes","all","none","yes","no","i_flush","no",2,0,2,"both_sep","no","yes","yes","outpat","pat","NA","NA","NA","e05ec00c-c773-4f2e-88bc-a382aafbff1b","2019-03-11T07:05:53.926000Z","4863945666724523b39da5fe9b643354","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101180365,0,"NA","027596a9-28a4-4e49-b418-392f698f8e20","2019-03-11T07:05:53.926000Z","2019-03-11T07:01:16.620000Z","4863945666724523b39da5fe9b643354","aef"]
[56,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water","yes","concrete","no","no","all","all","no","yes","i_vip","no",2,0,3,"f","no","no","no","lab_del","both_sep",1,"NA","NA","7d0cfe96-5e01-4489-8d74-17221e5ad884","2019-03-09T13:54:21.876000Z","bfb5402b40164fd79972461697cc77d0","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101174905,0,"NA","066e4d45-4abe-4ef0-a9fd-36cf77f6f63c","2019-03-09T13:54:21.876000Z","2019-03-06T15:23:46.343000Z","bfb5402b40164fd79972461697cc77d0","nal"]
[47,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","NA","none_available","no","concrete","no","yes","all","some","no","yes","i_vip","no",8,12,20,"both_sep","no","no","no","outpat inpat lab_del","pat","NA","NA","NA","ddea40e5-99c7-4d66-ae75-46468a9d3cb7","2019-03-22T06:45:45.435000Z","bfb5402b40164fd79972461697cc77d0","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101174905,0,"NA","5633c4ed-c0a4-46c2-8b45-ff3321583ef5","2019-03-22T06:45:45.435000Z","2019-03-22T06:43:48.895000Z","bfb5402b40164fd79972461697cc77d0","nal"]
[6,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","concrete","no","no","all","some","no","yes","i_vip","yes",3,0,3,"both_sep","no","no","no","outpat inpat lab_del","pat","NA","NA","NA","d0f30780-597d-4190-85da-5d4e1fe043f9","2019-03-29T13:16:45.722000Z","ac2930defd7345fca324fda6b2024bdf","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098880563,0,"NA","3c29c01e-c72d-4950-9cf7-78ad7eb50561","2019-03-29T13:16:45.722000Z","2019-03-29T13:14:35.240000Z","ac2930defd7345fca324fda6b2024bdf","cto"]
[54,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","concrete","no","no","all","none","no","no","i_vip","no",2,0,2,"both_sep","no","no","no","outpat inpat lab_del","both_sep",1,"NA","NA","30077609-82d3-4809-aeff-fb8cfdd59887","2019-03-04T11:28:23.516000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","40caea10-63d5-4c5e-ba24-aa7869f31827","2019-03-04T11:28:23.516000Z","2019-03-04T11:23:57.231000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[31,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water_soap","water_soap","no","concrete","no","yes","all","none","yes","no","i_pour","no",2,0,4,"both_sep","no","no","no","outpat inpat lab_del","pat","NA","NA","NA","4350a610-4e5a-4d3a-8b5f-2e59c481e725","2019-03-26T17:06:28.815000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","d53bf6e1-6ef5-4e72-84dc-0fd6d660e1be","2019-03-26T17:06:28.815000Z","2019-03-26T17:02:24.684000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[45,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","concrete","no","yes","all","none","no","no","i_vip","no",5,0,6,"both_sep","no","no","no","outpat lab_del admin","both_sep",1,"NA","NA","1294f299-6494-4aa0-819c-8cb124e38fbf","2019-03-07T04:20:37.767000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","7e376cf5-c942-42ab-a67c-ac5c61d2bd85","2019-03-07T04:20:37.767000Z","2019-03-07T04:14:58.460000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[8,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","concrete","yes","yes","all","none","yes","yes","i_flush","no",6,0,6,"both_sep","no","no","no","outpat","both_sep",2,"NA","NA","d4647415-8bd7-476a-b71b-f3d28cccc54a","2019-03-19T09:41:57.037000Z","ac2930defd7345fca324fda6b2024bdf","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098880563,0,"NA","2a2e00f7-0bbb-46c5-ba08-8543f1a3ed73","2019-03-19T09:41:57.037000Z","2019-03-19T09:35:49.076000Z","ac2930defd7345fca324fda6b2024bdf","cto"]
[48,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water_soap","water_soap","no","concrete","no","yes","all","none","yes","no","i_flush","no",5,0,5,"both_sep","no","no","yes","outpat","both_sep",1,"NA","NA","927b3466-5828-4c35-b91b-0ac2b6f7dd4e","2019-03-14T12:02:47.953000Z","bfb5402b40164fd79972461697cc77d0","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101174905,0,"NA","16fe86ec-2c16-4b52-b582-a7b78cf32c17","2019-03-14T12:02:47.953000Z","2019-03-14T11:58:06.589000Z","bfb5402b40164fd79972461697cc77d0","nal"]
[67,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","NA","no_slab","no","yes","all","none","yes","yes","i_flush","no","NA",0,1,"both","no","yes","no","outpat inpat admin","stf",1,"yes","NA","7d7a6759-cbec-46e4-9aa4-d1d699405efd","2019-03-05T11:38:44.051000Z","4863945666724523b39da5fe9b643354","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101180365,0,"NA","a5ce0be9-d1a5-4426-8213-15c407207b37","2019-03-05T11:38:44.051000Z","2019-03-05T11:35:00.024000Z","4863945666724523b39da5fe9b643354","aef"]
[64,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","no","concrete","no","no","all","all","no","yes","i_flush","no",3,5,7,"both_sep","no","yes","yes","outpat inpat lab_del","both_sep",4,"NA","NA","d29c7279-3b3e-48d7-a3cb-18f2d71aa93e","2019-03-07T12:02:48.612000Z","4863945666724523b39da5fe9b643354","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101180365,0,"NA","97921a7a-7dae-48e0-941f-2a4324ccb2a1","2019-03-07T12:02:48.612000Z","2019-03-07T12:00:02.201000Z","4863945666724523b39da5fe9b643354","aef"]
[2,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","NA","NA","didnt_observe","didnt_observe","NA","NA","NA","NA","NA","NA","NA","NA","NA","NA","NA","f","yes","NA","NA","lab_del","both_sep","NA","NA","NA","9308cc9c-8d41-4250-93b0-c4cb480315fb","2019-04-18T13:49:45.996000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","731ec5a2-37ca-40c1-a196-a38a39284106","2019-04-18T13:49:45.996000Z","2019-04-18T13:47:29.515000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[13,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","didnt_observe","Available_nonfunctional","no","concrete","yes","yes","all","none","no","yes","u_pit","no",2,0,2,"both","no","no","no","outpat inpat lab_del admin oth","both",0,"no","the church school","0878b556-1b3b-4b0f-b6af-6efe4b29c1af","2019-03-07T09:56:48.509000Z","ac2930defd7345fca324fda6b2024bdf","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098880563,0,"NA","657da4c0-866c-42b5-afc1-a06d358a3f13","2019-03-07T09:56:48.509000Z","2019-03-07T09:53:53.429000Z","ac2930defd7345fca324fda6b2024bdf","cto"]
[29,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","didnt_observe","water_soap","no","concrete","no","yes","all","none","yes","no","i_pour","no",4,0,4,"both_sep","no","no","no","outpat","pat","NA","NA","NA","1a4b10d2-cd16-49a0-ba0c-735c9a3abd25","2019-03-26T17:16:46.048000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","230f6af5-5fe5-4d98-9402-647e54b56510","2019-03-26T17:16:46.048000Z","2019-03-26T17:13:42.994000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[53,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","NA","no_slab","no","yes","all","none","yes","no","i_flush","no",7,0,10,"f","yes_key","no","no","lab_del","both_sep",3,"NA","NA","2735d15d-aa09-4bac-8661-7dab415e332d","2019-03-09T17:03:14.445000Z","bfb5402b40164fd79972461697cc77d0","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101174905,0,"NA","1e7dfc29-2d98-4e06-9f99-9c27664ad803","2019-03-09T17:03:14.445000Z","2019-03-06T11:59:11.217000Z","bfb5402b40164fd79972461697cc77d0","nal"]
[42,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","concrete","no","yes","all","none","yes","no","i_flush","no",6,2,10,"both_sep","no","yes","yes","outpat inpat lab_del admin","both_sep",6,"NA","NA","a0001338-5dbc-4719-ae14-4908a9c6e12a","2019-03-11T09:42:11.532000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","356536dc-1109-45a7-911f-56a07ed2ec49","2019-03-11T09:42:11.532000Z","2019-03-11T09:35:19.771000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[44,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","concrete","no","yes","all","none","yes","no","i_pour","no",3,1,3,"both_sep","no","no","no","outpat","pat","NA","NA","NA","64a51393-1844-4e1c-b06a-c19a303fee0a","2019-03-07T04:53:15.336000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","a8b4f21a-c5e1-47ba-a073-6d72d44644a5","2019-03-07T04:53:15.336000Z","2019-03-07T04:49:32.831000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[32,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","didnt_observe","water","no","concrete","no","yes","all","none","yes","no","i_flush","no",2,1,2,"both","no","yes","didnt_observe","lab_del","pat","NA","didnt_observe","NA","90ec2b5d-fa7c-4fad-988d-262a5d53733c","2019-03-25T21:22:30.106000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","6ff2bc8a-85de-47a1-8175-6eaca4023623","2019-03-25T21:22:30.106000Z","2019-03-25T21:16:28.902000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[60,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","yes","concrete","no","no","all","some","no","yes","i_slab i_vip i_flush","no",2,0,5,"f","yes_key","no","no","lab_del","both_sep",2,"NA","NA","beabdcf2-def0-47f6-8542-f2e97d30308c","2019-03-05T18:19:07.386000Z","bfb5402b40164fd79972461697cc77d0","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101174905,0,"NA","c5bacc1f-4713-407c-85fc-5701172ec745","2019-03-05T18:19:07.386000Z","2019-03-05T14:16:27.222000Z","bfb5402b40164fd79972461697cc77d0","nal"]
[11,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","NA","no_slab","no","yes","all","none","no","yes","i_flush","no",4,1,4,"both","no","no","no","outpat","pat","NA","no","NA","47fbb28b-254b-4058-8299-0b6c0b6695d5","2019-03-11T10:35:46.661000Z","ac2930defd7345fca324fda6b2024bdf","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098880563,0,"NA","d09234d3-d7fb-462c-ba8b-1b264de89dc3","2019-03-11T10:35:46.661000Z","2019-03-11T10:33:19.498000Z","ac2930defd7345fca324fda6b2024bdf","cto"]
[69,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","no","concrete","no","yes","all","none","no","yes","i_vip","yes",6,0,6,"both_sep","yes_key","no","no","outpat inpat lab_del","pat","NA","NA","NA","e882b737-b2f8-4777-b45e-c5c1c99cdd0b","2019-03-04T10:02:58.140000Z","4863945666724523b39da5fe9b643354","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101180365,0,"NA","46198138-cc9e-43ea-a785-3b2669cbbfc8","2019-03-04T10:02:58.140000Z","2019-03-04T09:56:25.481000Z","4863945666724523b39da5fe9b643354","aef"]
[20,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","NA","none_available","no","concrete","no","yes","all","some","no","yes","i_vip","no",2,0,3,"both_sep","no","no","no","outpat admin","both",1,"NA","NA","f916b6f7-db2a-4520-93eb-696c3618e16b","2019-04-02T16:11:24.701000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","d76721a4-20e0-403c-acd4-89827a4c55a8","2019-04-02T16:11:24.701000Z","2019-04-02T16:02:23.835000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[59,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","didnt_observe","water_soap","yes","concrete","no","yes","all","none","no","no","i_slab","no",3,0,8,"both_sep","no","no","no","outpat inpat","pat","NA","NA","NA","30e93da6-b23c-4f0c-a368-af1b63320355","2019-03-05T19:34:31.006000Z","bfb5402b40164fd79972461697cc77d0","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101174905,0,"NA","244e62c9-4ff6-4fd9-949e-88e89a4a89b4","2019-03-05T19:34:31.006000Z","2019-03-05T13:50:39.703000Z","bfb5402b40164fd79972461697cc77d0","nal"]
[15,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","didnt_observe","didnt_observe","NA","no_slab","no","yes","all","none","yes","yes","i_flush","no",1,1,1,"both","no","no","no","outpat inpat lab_del admin","both",0,"no","NA","ae9b4d0d-4846-419c-9be5-9cf27a44bb49","2019-03-05T08:47:15.884000Z","ac2930defd7345fca324fda6b2024bdf","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098880563,0,"NA","09bbd080-1254-4655-8972-53ae7b98b2c2","2019-03-05T08:47:15.884000Z","2019-03-05T08:43:12.599000Z","ac2930defd7345fca324fda6b2024bdf","cto"]
[66,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","Available_nonfunctional","NA","no_slab","no","yes","all","some","yes","no","i_vip","no",3,0,3,"both_sep","no","yes","yes","outpat inpat lab_del","pat","NA","NA","NA","e7bab138-eed0-4bdc-b3f4-766c855de4b9","2019-03-06T09:20:14.182000Z","4863945666724523b39da5fe9b643354","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101180365,0,"NA","b0cfdc0e-d365-4094-a48d-5624b2ded851","2019-03-06T09:20:14.182000Z","2019-03-06T09:16:43.546000Z","4863945666724523b39da5fe9b643354","aef"]
[14,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","didnt_observe","water","no","concrete","no","yes","all","none","yes","no","i_flush","no",1,0,1,"f","no","no","no","lab_del","both",1,"NA","NA","2fd35b00-c544-408b-bb60-f1e5f64bdaeb","2019-03-06T09:31:29.955000Z","ac2930defd7345fca324fda6b2024bdf","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098880563,0,"NA","e646125a-17a0-4425-8897-889085f17185","2019-03-06T09:31:29.955000Z","2019-03-06T09:28:31.295000Z","ac2930defd7345fca324fda6b2024bdf","cto"]
[16,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","didnt_observe","water_soap","NA","no_slab","no","yes","all","none","yes","no","i_flush","no",7,0,7,"both_sep","no","yes","no","lab_del","pat","NA","NA","NA","58adf7c5-0975-4d83-b117-eb1a7b05456d","2019-03-04T12:03:27.356000Z","ac2930defd7345fca324fda6b2024bdf","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098880563,0,"NA","fc8c7a3b-2f48-48f0-907d-ab6c0c647cc4","2019-03-04T12:03:27.356000Z","2019-03-04T11:59:42.610000Z","ac2930defd7345fca324fda6b2024bdf","cto"]
[25,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","concrete","no","yes","all","some","no","yes","i_vip","no",4,0,4,"both_sep","no","no","no","outpat inpat lab_del","pat","NA","NA","NA","5b9684ca-0879-4c14-a30b-bb192a216c62","2019-03-29T11:50:54.003000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","2fd0c6a8-41f7-4d1b-8da6-85835ee28ff6","2019-03-29T11:50:54.003000Z","2019-03-29T11:48:25.324000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[17,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water","no","concrete","no","no","all","some","no","yes","i_vip","no",3,0,4,"both_sep","no","no","no","outpat inpat lab_del","pat","NA","NA","NA","e9e4d9ff-6f72-4c1c-829d-831122e0a3e5","2019-04-03T04:45:00.975000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","4527051b-7cd5-477d-98ea-0c16f063f7fc","2019-04-03T04:45:00.975000Z","2019-04-03T04:42:46.645000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[68,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","no","concrete","no","yes","all","all","yes","yes","i_vip","no",6,0,6,"both","yes_key","no","yes","outpat","pat","NA","yes","NA","e3ef110b-57ea-43c1-b12f-b09c06a16724","2019-03-04T13:13:17.986000Z","4863945666724523b39da5fe9b643354","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101180365,0,"NA","9564f624-0b6b-47c3-a96f-810924c61a26","2019-03-04T13:13:17.986000Z","2019-03-04T13:06:51.128000Z","4863945666724523b39da5fe9b643354","aef"]
[4,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","concrete","no","no","all","some","no","yes","i_vip","no",2,0,3,"both_sep","no","no","no","outpat lab_del admin","both_sep",1,"NA","NA","97909d79-3aef-4502-b191-c8a3fd92a383","2019-04-01T18:02:49.924000Z","ac2930defd7345fca324fda6b2024bdf","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098880563,0,"NA","8cf661d0-3e7c-49cb-9f91-530b5f9f6eab","2019-04-01T18:02:49.924000Z","2019-04-01T17:59:35.170000Z","ac2930defd7345fca324fda6b2024bdf","cto"]
[10,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","didnt_observe","water","NA","no_slab","no","yes","all","none","yes","yes","i_flush","no",1,0,1,"f","no","yes","no","lab_del","both",1,"NA","NA","5c44967a-6b89-4eb1-bff8-fee943c06c04","2019-03-11T11:23:49.979000Z","ac2930defd7345fca324fda6b2024bdf","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098880563,0,"NA","985bf637-247f-4df7-bbf7-95b63d155f1e","2019-03-11T11:23:49.979000Z","2019-03-11T11:21:02.654000Z","ac2930defd7345fca324fda6b2024bdf","cto"]
[51,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water","no","concrete","no","no","all","all","no","yes","i_slab","no",4,0,4,"both_sep","no","no","no","outpat inpat lab_del","pat","NA","NA","NA","ab7fb142-6264-4664-84be-b30aea8a2f88","2019-03-10T11:36:34.972000Z","bfb5402b40164fd79972461697cc77d0","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101174905,0,"NA","575046af-1d42-435f-9482-814686b47ffd","2019-03-10T11:36:34.972000Z","2019-03-10T11:30:52.372000Z","bfb5402b40164fd79972461697cc77d0","nal"]
[37,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","NA","none_available","yes","concrete","no","no","some","none","yes","yes","u_pit","yes",0,2,2,"both_sep","no","no","no","outpat inpat lab_del admin oth","both",0,"NA","everyone in and out of the hospital uses the same toilet","0604d06c-4e0b-4949-b5e2-12427b556980","2019-03-04T10:08:18.283000Z","499624ea57b047c5b3cc1c03fbdd7717","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098881983,0,"NA","11da61a5-4e5e-46c4-944a-74dfc1fd59d5","2019-03-04T10:08:18.283000Z","2019-03-04T10:04:56.521000Z","499624ea57b047c5b3cc1c03fbdd7717","tib"]
[65,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","no","concrete","no","no","all","none","no","yes","i_slab i_vip","no",2,1,4,"both_sep","no","no","no","outpat inpat lab_del admin","both_sep",2,"NA","NA","02e4ba41-d98f-49aa-ab76-223e15d1e2e9","2019-03-07T10:52:18.167000Z","4863945666724523b39da5fe9b643354","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",352779101180365,0,"NA","3f1a0011-87cc-4999-b135-4f923e427fdd","2019-03-07T10:52:18.167000Z","2019-03-07T10:49:36.451000Z","4863945666724523b39da5fe9b643354","aef"]
[40,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","no","concrete","no","yes","all","some","no","yes","i_vip","no",3,6,3,"both_sep","no","yes","yes","lab_del","pat","NA","NA","NA","eacc78a8-1a35-4e82-9bb8-2a053965f1fd","2019-03-15T15:46:42.502000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","b329fd4e-d8f7-4208-81e4-2d61832f693d","2019-03-15T15:46:42.502000Z","2019-03-15T15:44:26.329000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[18,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","concrete","no","no","all","some","no","yes","i_vip","no",4,0,6,"both_sep","no","no","no","outpat inpat lab_del admin","both",2,"NA","NA","8e060f18-7e3b-4c5b-b8da-4f12c361b94a","2019-04-03T03:36:02.847000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","3974e900-c941-4b7f-85ee-669319480767","2019-04-03T03:36:02.847000Z","2019-04-03T03:33:21.914000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[24,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","plastic","no","yes","all","none","yes","no","i_flush","no",3,0,3,"f","no","yes","no","lab_del","pat","NA","NA","NA","d0d2078c-3e81-4a29-b38c-b46a3d72efbd","2019-03-15T08:12:58.436000Z","499624ea57b047c5b3cc1c03fbdd7717","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098881983,0,"NA","8a38f0cf-778e-4d71-952d-cabcff0dd91b","2019-03-15T08:12:58.436000Z","2019-03-15T08:08:22.632000Z","499624ea57b047c5b3cc1c03fbdd7717","tib"]
[49,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","plastic","no","yes","all","none","yes","no","i_flush","no",4,1,4,"both_sep","no","yes","no","outpat","pat","NA","NA","NA","a4b63fcc-5c7b-466a-a2d8-50a02d9c5916","2019-03-05T10:55:37.911000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","3951820d-e748-4b45-ba67-7f9de39ce4d7","2019-03-05T10:55:37.911000Z","2019-03-05T10:52:43.158000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[33,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","no","concrete","no","no","some","some","yes","no","u_pit i_flush","no",2,2,2,"both","no","no","no","outpat","pat","NA","yes","NA","2e231792-1e7d-4934-a415-4846e75c23a1","2019-03-10T19:34:49.915000Z","499624ea57b047c5b3cc1c03fbdd7717","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098881983,0,"NA","cbf68012-b255-46f4-b23e-71d149071d9c","2019-03-10T19:34:49.915000Z","2019-03-10T19:32:35.012000Z","499624ea57b047c5b3cc1c03fbdd7717","tib"]
[30,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","no","concrete","no","yes","all","none","yes","no","u_pit i_flush","no",2,1,2,"both_sep","no","no","no","outpat lab_del","both",2,"NA","NA","7a62af1d-b461-4c5b-a009-32c995f0249e","2019-03-10T19:53:13.997000Z","499624ea57b047c5b3cc1c03fbdd7717","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098881983,0,"NA","fdbd27cb-2eb7-4973-aa0a-830aa6a16d6d","2019-03-10T19:53:13.997000Z","2019-03-10T19:51:21.655000Z","499624ea57b047c5b3cc1c03fbdd7717","tib"]
[26,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water_soap","water_soap","no","concrete","no","yes","some","none","yes","no","u_pit","no",2,1,2,"both_sep","no","no","no","outpat inpat","both",2,"NA","NA","325d48c4-f6ff-462b-b9b5-572dbce2d9ae","2019-03-11T08:20:22.370000Z","499624ea57b047c5b3cc1c03fbdd7717","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098881983,0,"NA","ace61478-ae0c-421e-a62e-93c09f1c91a5","2019-03-11T08:20:22.370000Z","2019-03-11T08:18:52.243000Z","499624ea57b047c5b3cc1c03fbdd7717","tib"]
[23,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water","NA","no_slab","no","yes","all","none","yes","no","i_flush","no",2,0,2,"both_sep","no","yes","yes","outpat inpat admin","both",2,"NA","NA","be9c54ca-f4e4-44c7-ac31-b24804f83097","2019-04-01T07:46:09.615000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","49e8c2e1-beec-4817-beae-a0d5f6626094","2019-04-01T07:46:09.615000Z","2019-04-01T07:42:08.275000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[36,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","NA","none_available","no","concrete","no","yes","all","none","yes","no","i_slab","no",4,0,4,"both_sep","no","no","no","outpat inpat lab_del","pat","NA","NA","NA","7a2570a9-6fb1-42dc-8d10-67ab43b0f5ab","2019-03-05T10:25:54.140000Z","499624ea57b047c5b3cc1c03fbdd7717","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098881983,0,"NA","ca62a84c-b3af-410e-8264-6a1b72035221","2019-03-05T10:25:54.140000Z","2019-03-05T10:21:02.584000Z","499624ea57b047c5b3cc1c03fbdd7717","tib"]
[3,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","no","concrete","no","yes","all","none","yes","yes","i_vip","no",6,0,6,"both_sep","no","no","no","outpat inpat lab_del","pat","NA","NA","NA","e7a3b1bc-441f-48f7-90e1-723c013f2b8e","2019-04-01T18:12:37.725000Z","ac2930defd7345fca324fda6b2024bdf","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098880563,0,"NA","10b7da8c-46e5-41bc-a6cc-4c4e82ed6800","2019-04-01T18:12:37.725000Z","2019-04-01T18:10:23.234000Z","ac2930defd7345fca324fda6b2024bdf","cto"]
[39,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water_soap","water_soap","no","concrete","no","yes","all","none","yes","no","i_vip i_flush i_pour","no",10,4,14,"both_sep","yes_key","yes","yes","outpat inpat","pat","NA","NA","NA","3a5ff124-cd91-498c-a89e-d32647f5030d","2019-03-15T20:03:02.020000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","5dfaf81b-4e41-4cee-953f-e0c6cf3ba7e4","2019-03-15T20:03:02.020000Z","2019-03-15T19:58:55.783000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[27,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water","water","no","concrete","no","yes","all","none","yes","no","u_pit i_flush","no",2,2,2,"both_sep","no","no","no","outpat lab_del admin","both",2,"NA","NA","5482c39d-3cce-4112-9017-2f60550aabe7","2019-03-10T20:14:55.646000Z","499624ea57b047c5b3cc1c03fbdd7717","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098881983,0,"NA","af75413b-4fbe-4234-a5ab-5dc5637a645f","2019-03-10T20:14:55.646000Z","2019-03-10T20:12:34.487000Z","499624ea57b047c5b3cc1c03fbdd7717","tib"]
[41,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water","no","concrete","no","yes","all","none","no","no","i_vip","no",5,0,5,"both_sep","no","yes","no","lab_del","pat","NA","NA","NA","ce90f887-a55c-4f27-b424-f51e4743f4ca","2019-03-15T07:53:25.445000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","13dbe2d4-75fa-4605-a57b-03061c8186c2","2019-03-15T07:53:25.445000Z","2019-03-15T07:51:27.326000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[50,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","none_available_reduced_mobility","water_soap","NA","no_slab","no","yes","all","none","no","no","u_pit","no",5,0,5,"both_sep","no","no","yes","outpat inpat lab_del admin","both",5,"NA","NA","26600cae-8a33-49e1-8261-43168391c87e","2019-03-05T08:31:33.000000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","201f836e-48f5-4f34-b4ef-7cf8c2a00db2","2019-03-05T08:31:33.000000Z","2019-03-05T08:26:32.088000Z","dc95e619879b4692b66b732445ee7634","wsd"]
[19,"data","Toilets",1,1,"http://openrosa.org/formdesigner/5173ACF5-8BCF-4DB8-B82D-7D0B8F489AA7","OK","water_soap","water_soap","NA","no_slab","no","yes","all","none","yes","no","i_flush","no",4,1,6,"both_sep","no","yes","no","outpat admin","both",2,"NA","NA","67a6fad8-6cc9-4a10-830d-3ae92d437b1a","2019-04-02T18:50:53.465000Z","dc95e619879b4692b66b732445ee7634","http://commcarehq.org/case/transaction/v2","http://openrosa.org/jr/xforms","CommCare Android, version \"2.44.5\"(452680). App v21. CommCare Version 2.44. Build 452680, built on: 2019-01-17",21,"2.44.5",357574098871984,0,"NA","915d077f-6ca0-485b-acdf-d93380aec944","2019-04-02T18:50:53.465000Z","2019-04-02T18:46:23.698000Z","dc95e619879b4692b66b732445ee7634","wsd"]