Bioactivity and phenolics profile of aqueous and ethyl acetate extracts of Satureja kitaibelii Wierzb. ex Heuff.

Kristina Gopčević, Slavica Grujić , Jelena Arsenijević, Ana Džamić,  Ivona Veličković,   Lidija Izrael-Živković,  Ana Medić,

Jelena Mudrić,  Marina Soković, Ana Đurić

Corresponding author: University of Belgrade, Faculty of Medicine, Institute of Chemistry in Medicine “Prof. dr Petar Matavuljˮ, Višegradska 26, 11000 Belgrade, Serbia kristina.gopcevic@med.bg.ac.rs

Supplementary Table 1. Calibration equations, correlation factors (R2), limits of detection (LOD) and limits of quantification (LOQ) values for chromatographic analysis of standard compounds.

| Standard | Measuring wavelength (nm) | Regression equationa | R2 | Linear range (mg/mL) | LODb (mg/mL) | LOQb (mg/mL) |
| --- | --- | --- | --- | --- | --- | --- |
| Chlorogenic acid | 320 | Y=29049·X-0.3 | 0.9998 | 0.004-0.073 | 0.001 | 0.004 |
| Rosmarinic acid | 320 | Y=25006·X-55.1 | 0.9997 | 0.011-0.540 | 0.013 | 0.038 |
| Luteolin 7-O-glucoside | 350 | Y=27990·X-5.2 | 0.9999 | 0.001-0.080 | 0.001 | 0.004 |
| Luteolin | 350 | Y=53831·X-31.4 | 0.9998 | 0.002-0.172 | 0.003 | 0.010 |

a, Y, peak area; X, concentration of the compound (mg/mL); b, LOD and LOQ are estimated according to the ICH Q2(R1) guideline