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Supplementary Table 1. Calibration equations, correlation factors (R2), limits of detection (LOD) and limits of quantification (LOQ) values for chromatographic analysis of standard compounds. 

	Standard 
	Measuring wavelength (nm)
	Regression
equationa
	R2
	Linear range (mg/mL)
	LODb (mg/mL)
	LOQb
(mg/mL)

	Chlorogenic acid
	320
	Y=29049·X-0.3
	0.9998
	0.004-0.073
	0.001
	0.004

	Rosmarinic acid
	320
	Y=25006·X-55.1
	0.9997
	0.011-0.540
	0.013
	0.038

	Luteolin 7-O-glucoside
	350
	Y=27990·X-5.2
	0.9999
	0.001-0.080
	0.001
	0.004

	Luteolin
	350
	Y=53831·X-31.4
	0.9998
	0.002-0.172
	0.003
	0.010



a, Y, peak area; X, concentration of the compound (mg/mL); b, LOD and LOQ are estimated according to the ICH Q2(R1) guideline

